INVITATION TO BID

DESCRIPTION:. CONSTRUCTION OF A RETAINING WALL, DRIVEWAY, ERECTION OF UNDERCOVER PARKING, TARRING OF PARKING LOT, REPAIRS TO FENCING AND INSTALLATION OF SLIDING GATE AT THE NEW IXOPO DISTRICT OFFICES.

COMPANY NAME 	: ________________________________________________________

Type of Bidder (Tick One Box)

| One-person Business/Sole Trader |  |
| --- | --- |
| Close corporation |  |
| PTY (Ltd) |  |
| Private Company |  |
| Partnership |  |
| Consortium/Joint Venture |  |
| Co-operative |  |

Participation Capacity (Tick One Box)

| Prime Contractor |  |
| --- | --- |
| Supplier/Sub-Contractor |  |

---------------------------------------------------------------------------------------------------------------------------

RETURN OF PROPOSAL

Proposal must be deposited in the Bid box situated at Department of Co-operative Governance and Traditional Affairs, Lift Area, 13th floor, North Tower, Natalia Building. 23 FEBRUARY 2018

A compulsory Site Inspection will take place on 14 FEBRUARY 2018 at 10:00 am at IXOPO OFFICES.

TABLE OF CONTENTS

| SECTION | CONTENTS | PAGE |
| --- | --- | --- |
| Section A –K– Standard Bid Documentation | Part A | Invitation to Bid | 3 |
|  | Part B | Terms and Conditions for Bidding | 4 |
|  | Section: C | Special Instructions and Notices to Bidders regarding the completion of Bidding Forms | 5 |
|  | Section: D | Enquiries Regarding the Bidding Procedure | 6 |
|  | Section: E | Declaration of Interest | 7-9 |
|  | Section: F | Preference Points Claim Form in Terms of the Preferential Procurement Regulations 2011 | 10-16 |
|  | Section: G | Conditions of bid | 17 |
|  | Section H | Price Page | 18 |
|  | Section: I | Authority to Sign a Bid | 19-22 |
|  | Section: J | Declaration of Bidders Past Supply Chain Management Practices. | 23 |
|  | Section: K | Certificate of Independent Bid Determination | 24-25 |
|  | Section: L | Special Conditions Of Contract | 26-31 |
|  | Section: M | Official briefing session/site inspection certificate | 32 |
|  | Annexure: A | Specification | 33-51 |
|  | Appendix 1 | Details for completion | 52 |
|  | Appendix 2 | Returnable Documents | 53 |
|  | Annexure B | General Conditions of Contract | 54-55 |

PART A

INVITATION TO BID

| YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF THE (NAME OF DEPARTMENT/ PUBLIC ENTITY) |
| --- |
| BID NUMBER: | ZNT 2046/2017 LG | CLOSING DATE: | 05 MARCH 2018 | CLOSING TIME: | 11:00 |
| DESCRIPTION | CONSTRUCTION OF A RETAINING WALL, DRIVEWAY, ERECTION OF UNDERCOVER PARKING, TARRING OF PARKING LOT, REPAIRS TO FENCING AND INSTALLATION OF SLIDING GATE AT THE NEW IXOPO DISTRICT OFFICES. |
| THE SUCCESSFUL BIDDER WILL BE REQUIRED TO FILL IN AND SIGN A WRITTEN CONTRACT FORM (SBD7). |
| BID RESPONSE DOCUMENTS MAY BE DEPOSITED IN THE BID BOX SITUATED AT (STREET ADDRESS) |  |  |
| DEPARTMENT OF CO-OPERATIVE GOVERNANCE AND TRADITIONAL AFFAIRS |
| 330 LANGALIBALELE STREET |
| NATALIA BUILDING |
| 13TH FLOOR, LIFT AREA, NORTH TOWER |
| SUPPLIER INFORMATION |
| NAME OF BIDDER |  |
| POSTAL ADDRESS |  |
| STREET ADDRESS |  |
| TELEPHONE NUMBER | CODE |  | NUMBER |  |
| CELLPHONE NUMBER |  |
| FACSIMILE NUMBER | CODE |  | NUMBER |  |
| E-MAIL ADDRESS |  |
| VAT REGISTRATION NUMBER |  |
|  | TCS PIN: |  | OR | CSD No: |  |
| B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE [TICK APPLICABLE BOX] | Yes No | B-BBEE STATUS LEVEL SWORN AFFIDAVIT | Yes No |
| IF YES, WHO WAS THE CERTIFICATE ISSUED BY? |  |
| AN ACCOUNTING OFFICER AS CONTEMPLATED IN THE CLOSE CORPORATION ACT (CCA) AND NAME THE APPLICABLE IN THE TICK BOX |  | AN ACCOUNTING OFFICER AS CONTEMPLATED IN THE CLOSE CORPORATION ACT (CCA) |
|  |  | A VERIFICATION AGENCY ACCREDITED BY THE SOUTH AFRICAN ACCREDITATION SYSTEM (SANAS) |
|  |  | A REGISTERED AUDITOR |
|  |  | NAME: |
| [A B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE/SWORN AFFIDAVIT(FOR EMEs& QSEs) MUST BE SUBMITTED IN ORDER TO QUALIFY FOR PREFERENCE POINTS FOR B-BBEE] |
| ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS /SERVICES /WORKS OFFERED? | Yes No [IF YES ENCLOSE PROOF] | ARE YOU A FOREIGN BASED SUPPLIER FOR THE GOODS /SERVICES /WORKS OFFERED? | Yes No [IF YES ANSWER PART B:3 BELOW ] |
| SIGNATURE OF BIDDER | ……………………………… | DATE |  |
| CAPACITY UNDER WHICH THIS BID IS SIGNED (Attach proof of authority to sign this bid; e.g. resolution of directors, etc.) |  |
| TOTAL NUMBER OF ITEMS OFFERED |  | TOTAL BID PRICE (ALL INCLUSIVE) |  |
| BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO: | TECHNICAL INFORMATION MAY BE DIRECTED TO: |
| DEPARTMENT/ PUBLIC ENTITY |  | CONTACT PERSON |  |
| CONTACT PERSON |  | TELEPHONE NUMBER |  |
| TELEPHONE NUMBER |  | FACSIMILE NUMBER |  |
| FACSIMILE NUMBER |  | E-MAIL ADDRESS |  |
| E-MAIL ADDRESS |  |  |

PART B

TERMS AND CONDITIONS FOR BIDDING

BID SUBMISSION:

BIDS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE BIDS WILL NOT BE ACCEPTED FOR CONSIDERATION. ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED–(NOT TO BE RE-TYPED) OR ONLINE BIDDERS MUST REGISTER ON THE CENTRAL SUPPLIER DATABASE (CSD) TO UPLOAD MANDATORY INFORMATION NAMELY: ( BUSINESS REGISTRATION/ DIRECTORSHIP/ MEMBERSHIP/IDENTITY NUMBERS; TAX COMPLIANCE STATUS; AND BANKING INFORMATION FOR VERIFICATION PURPOSES). B-BBEE CERTIFICATE OR SWORN AFFIDAVIT FOR B-BBEE MUST BE SUBMITTED TO BIDDING INSTITUTION. WHERE A BIDDER IS NOT REGISTERED ON THE CSD, MANDATORY INFORMATION NAMELY: (BUSINESS REGISTRATION/ DIRECTORSHIP/ MEMBERSHIP/IDENTITY NUMBERS; TAX COMPLIANCE STATUS MAY NOT BE SUBMITTED WITH THE BID DOCUMENTATION. B-BBEE CERTIFICATE OR SWORN AFFIDAVIT FOR B-BBEE MUST BE SUBMITTED TO BIDDING INSTITUTION. THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT 2000 AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2017, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER LEGISLATION OR SPECIAL CONDITIONS OF CONTRACT.

TAX COMPLIANCE REQUIREMENTS

BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS. BIDDERS ARE REQUIRED TO SUBMIT THEIR UNIQUE PERSONAL IDENTIFICATION NUMBER (PIN) ISSUED BY SARS TO ENABLE THE ORGAN OF STATE TO VIEW THE TAXPAYER’S PROFILE AND TAX STATUS. APPLICATION FOR TAX COMPLIANCE STATUS (TCS) OR PIN MAY ALSO BE MADE VIA E-FILING. IN ORDER TO USE THIS PROVISION, TAXPAYERS WILL NEED TO REGISTER WITH SARS AS E-FILERS THROUGH THE WEBSITE WWW.SARS.GOV.ZA. BIDDERS MAY ALSO SUBMIT A PRINTED TCS TOGETHER WITH THE BID. IN BIDS WHERE CONSORTIA / JOINT VENTURES / SUB-CONTRACTORS ARE INVOLVED, EACH PARTY MUST SUBMIT A SEPARATE PROOF OF TCS / PIN / CSD NUMBER. WHERE NO TCS IS AVAILABLE BUT THE BIDDER IS REGISTERED ON THE CENTRAL SUPPLIER DATABASE (CSD), A CSD NUMBER MUST BE PROVIDED.

QUESTIONNAIRE TO BIDDING FOREIGN SUPPLIERS

IS THE BIDDER A RESIDENT OF THE REPUBLIC OF SOUTH AFRICA (RSA)? YES NO DOES THE BIDDER HAVE A BRANCH IN THE RSA? YES NO DOES THE BIDDER HAVE A PERMANENT ESTABLISHMENT IN THE RSA? YES NO DOES THE BIDDER HAVE ANY SOURCE OF INCOME IN THE RSA? YES NO IF THE ANSWER IS “NO” TO ALL OF THE ABOVE, THEN, IT IS NOT A REQUIREMENT TO OBTAIN A TAX COMPLIANCE STATUS / TAX COMPLIANCE SYSTEM PIN CODE FROM THE SOUTH AFRICAN REVENUE SERVICE (SARS) AND IF NOT REGISTER AS PER 2.3 ABOVE.

NB: FAILURE TO PROVIDE ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID INVALID.

SECTION C (SBD 3)

SPECIAL INSTRUCTIONS AND NOTICES TO BIDDERS REGARDING THE

COMPLETION OF BIDDING FORMS

PLEASE NOTE THAT THIS BID IS SUBJECT TO TREASURY REGULATIONS 16A ISSUED

IN TERMS OF THE PUBLIC FINANCE MANAGEMENT ACT, 1991, THE KWAZULU-NATAL

SUPPLY CHAIN MANAGEMENT POLICY FRAMEWORK AND THE GENERAL CONDITIONS

OF CONTRACT.

1. 	Unless inconsistent with or expressly indicated otherwise by the context, the singular shall include the plural and visa versa and with words importing the masculine gender shall include the feminine and the neuter.

2. 	Under no circumstances whatsoever may the bid forms be retyped or redrafted.

Photocopies of the original bid documentation may be used, but an original signature must appear on such photocopies.

3. 	The bidder is advised to check the number of pages and to satisfy himself that none are missing or duplicated.

4.	 Bids submitted must be complete in all respects.

5. 	Bids shall be lodged at the address indicated not later than the closing time specified for their receipt, and in accordance with the directives in the bid documents.

6. 	Each bid shall be addressed in accordance with the directives in the bid documents and shall be lodged in a separate sealed envelope, with the name and address of the bidder, the bid number and closing date indicated on the envelope. The envelope shall not contain documents relating to any bid other than that shown on the envelope. If this provision is not complied with, such bids may be rejected as being invalid.

7. 	All bids received in sealed envelopes with the relevant bid numbers on the envelopes are kept unopened in safe custody until the closing time of the bids. Where, however, a bid is received open, it shall be sealed. If it is received without a bid number on the envelope, it shall be opened, the bid number ascertained, the envelope sealed and the bid number written on the envelope.

8. 	A specific box is provided for the receipt of bids, and no bid found in any other box or elsewhere subsequent to the closing date and time of bid will be considered.

9. 	No bid sent through the post will be considered if it is received after the closing date and time stipulated in the bid documentation, and proof of posting will not be accepted as proof of delivery.

10. 	No bid submitted by telefax, telegraphic or other electronic means will be considered.

11. 	Bidding documents must not be included in packages containing samples. Such bids may be rejected as being invalid.

12. 	Any alteration made by the bidder must be initialed.

13. 	Use of correcting fluid is prohibited

14. 	Bids will be opened in public as soon as practicable after the closing time of bid.

15. 	Where practical, prices are made public at the time of opening bids.

16. 	If it is desired to make more than one offer against any individual item, such offers should be given on a photocopy of the page in question. Clear indication thereof must be stated on the schedules attached.

ANY ENQUIRIES REGARDING THE BIDDING PROCEDURE MAY BE DIRECTED TO:

Department:   Co-operative Governance and Traditional Affairs

Contact Person:    Ms Sandisiwe Ndlovu

Tel:  033 395 2306

Fax:   086 642 8873/ 033 342 8830

Email: sandisiwe.ndlovu@kzncogta.gov.za

ANY ENQUIRIES REGARDING SPECIFICATION INFORMATION MAY BE DIRECTED TO:

Contact person: Mr. Makhombothi

Tel: 033 395 2778

Email: lindlela.makhombothi@kzncogta.gov.za

SECTION E (SBD 4)

DECLARATION OF INTEREST

1.	Any legal person, including persons employed by the state¹, or persons having a kinship with persons employed by the state, including a blood relationship, may make an offer or offers in terms of this invitation to bid (includes an advertised competitive bid, a limited bid, a proposal or written price quotation).  In view of possible allegations of favouritism, should the resulting bid, or part thereof, be awarded to persons employed by the state, or to persons connected with or related to them, it is required that the bidder or his/her authorised representative declare his/her position in relation to the evaluating/adjudicating authority where-

-	the bidder is employed by the state; and/or

-	the legal person on whose behalf the bidding document is signed, has a relationship with persons/a person who are/is involved in the evaluation and or adjudication of the bid(s), or where it is known that such a relationship exists between the person or persons for or on whose behalf the declarant acts and persons who are involved with the evaluation and or adjudication of the bid.

2.	In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

2.1	Full Name of bidder or his or her representative:  ………………………………………………………………………………..

  - Identity Number:………………………………………………………………………………………………………......................

  - Position occupied in the Company (director, trustee, shareholder², member): ………………………………………………..

  - Registration number of company, enterprise, close corporation, partnership agreement or trust:  …………………………

  - Tax Reference Number:  ……………………………………………………………………………………………………………..

  - VAT Registration Number:  ………………………………………………………………………………………...........................

2.6.1	The names of all directors / trustees / shareholders / members, their individual identity numbers, tax reference numbers and, if applicable, employee / PERSAL numbers must be indicated in paragraph 3 below.

¹“State” means –

(a)	any national or provincial department, national or provincial public entity or constitutional institution within the meaning of the Public Finance Management Act, 1991 (Act No. 1 of 1991);

(b)	any municipality or municipal entity;

(c)	provincial legislature;

(d)	national Assembly or the national Council of provinces; or

(e)	Parliament.

²”Shareholder” means a person who owns shares in the company and is actively involved in the management of the enterprise or business and exercises control over the enterprise.

2.7 	Are you or any person connected with the bidder		        	YES 	(	NO	(

presently employed by the state?

    - If so, furnish the following particulars:

Name of person / director / trustee / shareholder/ member:        ……....……………………………………………………….

Name of state institution at which you or the person …………………………………………………………………………….

connected to the bidder is employed :      ………………………………………………………………………………………..

Position occupied in the state institution:			        ………………………………………………………..

Any other particulars:			……………………………………………………………………………………

    - If you are presently employed by the state, did you obtain		YES 	(	NO	(

the appropriate authority to undertake remunerative

work outside employment in the public sector?

      - If yes, did you attach proof of such authority to the bid document?	YES 	(	NO	(

(Note: Failure to submit proof of such authority, where

applicable, may result in the disqualification of the bid.

      - If no, furnish reasons for non-submission of such proof:

…………………………………………………………………….

…………………………………………………………………….

…………………………………………………………………….

  - Did you or your spouse, or any of the company’s directors / 		YES 	(	NO	(

trustees / shareholders / members or their spouses conduct

business with the state in the previous twelve months?

    - If so, furnish particulars:

…………………………………………………………………..

…………………………………………………………………..

…………………………………………………………………...

  - Do you, or any person connected with the bidder, have		YES 	(	NO	(

any relationship (family, friend, other) with a person

employed by the state and who may be involved with

the evaluation and or adjudication of this bid?

2.9.1	If so, furnish particulars.

……………………………………………………………...

…………………………………………………………..….

………………………………………………………………

2.10        Are you, or any person connected with the bidder,			YES 	(	NO	(

aware of any relationship (family, friend, other) between

any other bidder and any person employed by the state

who may be involved with the evaluation and or adjudication

of this bid?

2.10.1   If so, furnish particulars.

………………………………………………………………

………………………………………………………………

………………………………………………………………

2.11	Do you or any of the directors / trustees / shareholders / members 	YES 	(	NO	(

of the company have any interest in any other related companies

whether or not they are bidding for this contract?

2.11.1	If so, furnish particulars:

…………………………………………………………………………….

…………………………………………………………………………….

…………………………………………………………………………….

# Full details of directors / trustees / members / shareholders.

| Full Name | Identity Number | Personal Income Tax Reference Number | State Employee Number / Persal Number |
| --- | --- | --- | --- |

# 4	DECLARATION

I, THE UNDERSIGNED (NAME)………………………………………………………………………

CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 2 and 3 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME SHOULD THIS  DECLARATION PROVE TO BE FALSE.

…………………………………..	 ..……………………………………………

Signature	                  Date

………………………………….	………………………………………………

Position                                                                   Name of bidder

## SECTION F

PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2017

This preference form must form part of all bids invited.  It contains general information and serves as a claim form for preference points for Broad-Based Black Economic Empowerment (B-BBEE) Status Level of Contribution

NB:	BEFORE COMPLETING THIS FORM, BIDDERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF B-BBEE, AS PRESCRIBED IN THE PREFERENTIAL PROCUREMENT REGULATIONS, 2017.

- GENERAL CONDITIONS

  - The following preference point systems are applicable to all bids:

- the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and

a) The value of this bid is estimated to not exceed R50 000 000 (all applicable taxes included) and therefore the 80/20 preference point system shall be applicable; or

  - Points for this bid shall be awarded for:

- Price; and

- B-BBEE Status Level of Contributor.

  - The maximum points for this bid are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE | 80 |
| B-BBEE STATUS LEVEL OF CONTRIBUTOR | 20 |
| Total points for Price and B-BBEE must not exceed | 100 |

  - Failure on the part of a bidder to submit proof of B-BBEE Status level of contributor together with the bid, will be interpreted to mean that preference points for B-BBEE status level of contribution are not claimed.

  - The purchaser reserves the right to require of a bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the purchaser.

- DEFINITIONS

- “B-BBEE” means broad-based black economic empowerment as defined in section 1 of the Broad-Based Black Economic Empowerment Act;

- “B-BBEE status level of contributor” means the B-BBEE status of an entity in terms of a code of good practice on black economic empowerment, issued in terms of section 9(1) of the Broad-Based Black Economic Empowerment Act;

- “bid” means a written offer in a prescribed or stipulated form in response to an invitation by an organ of state for the provision of goods or services, through price quotations, advertised competitive bidding processes or proposals;

- “Broad-Based Black Economic Empowerment Act” means the Broad-Based Black Economic Empowerment Act, 2003 (Act No. 53 of 2003);

- “EME” means an Exempted Micro Enterprise in terms of a code of good practice  on black economic empowerment issued in terms of section 9 (1) of the Broad-Based Black Economic Empowerment Act;

- “functionality” means the ability of a tenderer to provide goods or services in accordance with specifications as set out in the tender documents.

- “prices” includes all applicable taxes less all unconditional discounts;

- “proof of B-BBEE status level of contributor” means:

- B-BBEE Status level certificate issued by an authorized body or person;

- A sworn affidavit as prescribed by the B-BBEE Codes of Good Practice;

- Any other requirement prescribed in terms of the B-BBEE Act;

- “QSE” means a qualifying small business enterprise in terms of a code of good practice  on black economic empowerment issued in terms of section 9 (1) of the Broad-Based Black Economic Empowerment Act;

- “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes;

- POINTS AWARDED FOR PRICE

  - THE 80/20 PREFERENCE POINT SYSTEMS

A maximum of 80 points is allocated for price on the following basis:

# 80/20

Where

Ps	=	Points scored for price of bid under consideration

Pt	=	Price of bid under consideration

Pmin	=	Price of lowest acceptable bid

- POINTS AWARDED FOR B-BBEE STATUS LEVEL OF CONTRIBUTOR

  - In terms of Regulation 6 (2) and 7 (2) of the Preferential Procurement Regulations, preference points must be awarded to a bidder for attaining the B-BBEE status level of contribution in accordance with the table below:

| B-BBEE Status Level of Contributor | Number of points (80/20 system) |
| --- | --- |
| 1 | 20 |
| 2 | 18 |
| 3 | 14 |
| 4 | 12 |
| 5 | 8 |
| 6 | 6 |
| 7 | 4 |
| 8 | 2 |
| Non-compliant contributor | 0 |

- BID DECLARATION

  - Bidders who claim points in respect of B-BBEE Status Level of Contribution must complete the following:

- B-BBEE STATUS LEVEL OF CONTRIBUTOR CLAIMED IN TERMS OF PARAGRAPHS 1.4 AND 4.1

  - B-BBEE Status Level of Contributor:	.      =     ………(maximum of 10 or 20 points)

(Points claimed in respect of paragraph 7.1 must be in accordance with the table reflected in paragraph  4.1 and must be substantiated by relevant proof of B-BBEE status level of contributor.

- SUB-CONTRACTING

  - Will any portion of the contract be sub-contracted?

(Tick applicable box)

| YES |  | NO |  |
| --- | --- | --- | --- |

    - If yes, indicate:

- What percentage of the contract will be subcontracted............…………….…………%

- The name of the sub-contractor…………………………………………………………..

- The B-BBEE status level of the sub-contractor......................................……………..

- Whether the sub-contractor is an EME or QSE

(Tick applicable box)

| YES |  | NO |  |
| --- | --- | --- | --- |

- Specify, by ticking the appropriate box, if subcontracting with an enterprise in terms of Preferential Procurement Regulations,2017:

| Designated Group: An EME or QSE which is at last 51% owned by: | EME √ | QSE √ |
| --- | --- | --- |
| Black people |  |  |
| Black people who are youth |  |  |
| Black people who are women |  |  |
| Black people with disabilities |  |  |
| Black people living in rural or underdeveloped areas or townships |  |  |
| Cooperative owned by black people |  |  |
| Black people who are military veterans |  |  |
| OR |
| Any EME |  |  |
| Any QSE |  |  |

- DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm:…………………………………………………………………………….

  - VAT registration number:……………………………………….…………………………………

  - Company registration number:…………….……………………….…………………………….

  - TYPE OF COMPANY/ FIRM

(	Partnership/Joint Venture / Consortium

(	One person business/sole propriety

(	Close corporation

(	Company

(	(Pty) Limited

[Tick applicable box]

  - DESCRIBE PRINCIPAL BUSINESS ACTIVITIES

…………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………..

  - COMPANY CLASSIFICATION

(	Manufacturer

(	Supplier

(	Professional service provider

(	Other service providers, e.g. transporter, etc.

[Tick applicable box]

  - Total number of years the company/firm has been in business:……………………………

  - I/we, the undersigned, who is / are duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the B-BBE status level of contributor indicated in paragraphs 1.4 and 6.1 of the foregoing certificate, qualifies the company/ firm for the preference(s) shown and I / we acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 6.1, the contractor may be required to furnish documentary proof to the satisfaction of the purchaser that the claims are correct;

- If the B-BBEE status level of contributor has been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the purchaser may, in addition to any other remedy it may have –

  - disqualify the person from the bidding process;

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

  - recommend that the bidder or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted by the National Treasury from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution.

OWNERS/SHAREHOLDERS/PARTNERS/SOLE PROPRPRIETORS/TRUSTEES / BENEFIFICARIES.

(This information is required for statistical purposes only)

| FULL NAME | ID NUMBER | CAPACITY : MEMBER/PARTNER/ PROPRIETOR/SHARE-HOLDER/TRUSTEE/ BENEFICIARY | % OWNERSHIP/ PARTNERSHIP/TRUST/ CO-OPERATIVE | MALE/ FEMALE | HANDI- CAPPED YES/NO | AFRICAN (A) / COLOURED (C) / INDIAN (I) WHITE (W) | YOUTH YES/NO | % OF TIME DEVOTED TO THE FIRM |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

SECTION G

CONDITIONS OF BID

1.	I/We hereby bid to supply all or any of the supplies and/or to render all or any of the services described in the attached documents to the KwaZulu-Natal Provincial Administration (hereinafter called the “Province”) on the terms and conditions and be in accordance with the specifications stipulated in the bid documents (and which shall be taken as part of and be incorporated into this bid) at the prices and on the terms regarding time for delivery and/or execution inserted therein.

2.	I/we agree that:

(a)	the offer herein shall remain binding upon me and open for acceptance by the Province during the validity period indicated and calculated from the closing time of the bid;

(b)	this bid and its acceptance shall be subject to Treasury Regulations 16A issued in terms of the Public Finance Management Act, 1991, the KwaZulu-Natal Supply Chain Management Policy Framework, the Provincial Treasury issued Practice Notes, and the KwaZulu-Natal General Conditions of Contract, with which I/we am fully acquainted;

(c)	if I/we withdraw my bid within the period for which I/we have agreed that the bid shall remain open for acceptance, or fail to fulfil the contract when called upon to do so, the Province may, without prejudice to its other rights, agree to the withdrawal of my bid or cancel the contract that may have been entered into between me and the Province. I/we will then pay to the Province any additional expenses incurred by the Province having either to accept any less favourable bid or, if fresh bids have to be invited, the additional expenditure incurred by the invitation of fresh bids and by the subsequent acceptance of any less favourable bid.  The Province shall have the right to recover such additional expenditure by set-off against monies which may be due to me under this or any other bid or contract or against any guarantee or deposit that may have been furnished by me or on my behalf for the due fulfilment of this or any other bid or contract and pending the ascertainment of the amount of such additional expenditure to retain such monies, guarantee or deposit as security for any loss the Province may sustain by reason of my default;

(d)	if my bid is accepted, the acceptance may be communicated to me by registered post, and that the South African Post Office Limited shall be treated as delivery agent to me;

(e)	the law of the Republic of South Africa shall govern the contract created by the acceptance of my bid and I choose domicilium citandi et executandi in the Republic at (full physical address)

..................................................................................................................................................

..................................................................................................................................................

3.	I/we furthermore confirm that I/we have satisfied myself as to the correctness and validity of my bid: that the price(s), rate(s) and preference bid cover all of the work/item(s) and my obligations under a resulting contract, and I accept that any mistakes regarding the price(s) and calculations will be at my risk.

4.	I/we hereby accept full responsibility for the proper execution and fulfilment of all obligations and conditions devolving on me under this agreement, as the Principal(s) liable for the due fulfilment of this contract.

5.	I/we agree that any action arising from this contract may in all respects be instituted against me and I/we hereby undertake to satisfy fully any sentence or judgement which may be pronounced against me as a result of such action.

- I/we confirm that I/we have declared all and any interest that I or any persons related to my business has with regard to this bid or any related bids by completion of the Declaration of Interest Section.

SECTION H

PRICING PAGE – FIRM PRICES

(SERVICES)

N.B.: This form must be completed in detail, signed by the Bidder and bear the signature of a witness.  Failure to comply with these requirements may result in the bid being disregarded.

CLOSING DATE AND TIME: 05/03/2018 @ 11:00 VALIDITY PERIOD:  120 DAYS

| BID NO: ZNT 2046/2017 LG PERIOD : |
| --- |
| Item description: CONSTRUCTION OF A RETAINING WALL, DRIVEWAY, ERECTION OF UNDERCOVER PARKING, TARRING OF PARKING LOT, REPAIRS TO FENCING AND INSTALLATION OF SLIDING GATE AT THE NEW IXOPO DISTRICT OFFICES. | NAME AND ADDRESS OF BIDDER(FIRM) ......................................................................… ......................................................................… ......................................................................… TEL:................................................................... FAX:................................................................… |
| DOES OFFER COMPLY WITH THE SPECIFICATION? If not, furnish details of deviation in space provided for “Remarks” | YES / NO (Delete which is not applicable) |
| TOTAL BID PRICE ** (ALL APPLICABLE TAXES INCLUDED) | R |
| BID PRICE IN WORDS ** (ALL APPLICABLE TAXES INCLUDED) |  |
| REMARKS (If any): | .................................................…………………. (Signature of Bidder) DATE: …………………………………………. ..................................................................……… (Signature of Witness) DATE:.....................................................……….. |

NOTE:	ONLY FIRM PRICES WILL BE ACCEPTED. NON-FIRM PRICES (INCLUDING PRICES SUBJECT TO RATES OF EXCHANGE VARIATIONS) WILL NOT BE CONSIDERED

SECTION I (SBD 7)

AUTHORITY TO SIGN A BID

A. COMPANIES

If a Bidder is a company, a certified copy of the resolution by the board of directors, personally signed by the chairperson of the board, authorizing the person who signs this bid to do so, as well as to sign any contract resulting from this bid and any other documents and correspondence in connection with this bid and/or contract on behalf of the company must be submitted with this bid, that is before the closing time and date of the bid

AUTHORITY BY BOARD OF DIRECTORS

By resolution passed by the Board of Directors on …......................................... 20............,Mr/Mrs …………………………………………………………………………………………………whose signature appears below) has been duly authorized to sign all documents in connection with this bid on behalf of (Name of Company).....................................................................................................

IN HIS/HER CAPACITY AS: ………......................................................................................................

SIGNED ON BEHALF OF COMPANY: ………………………………………………………………………

(PRINT NAME)

SIGNATURE OF SIGNATORY: ................................................... DATE: ...................................

WITNESSES: 	1 ..................................................

2 ..................................................

____________________________________

B. SOLE PROPRIETOR (ONE - PERSON BUSINESS)

I, the undersigned.............................................................................. hereby confirm that I am the sole

owner of the business trading as ............................................................................................................

SIGNATURE……………………………………………………

DATE……………………………

C. PARTNERSHIP

The following particulars in respect of every partner must be furnished and signed by every partner:

Full name of partner 		Residential address 			Signature

........................................... 	........................................... 	...........................................

...........................................	............................................ 	...........................................

We, the undersigned partners in the business trading as....................................................

hereby authorize ...................................................................... to sign this bid as well as any contract resulting from the bid and any other documents and correspondence in connection with this bid and /or contract on behalf of (company name) …………………………………….

.....................................		..........................................	 .......................................

SIGNATURE 				SIGNATURE 				SIGNATURE

........................................... 		........................................... 	........................................

DATE 					DATE 					DATE

________________________________________

D. CLOSE CORPORATION

In the case of a close corporation submitting a bid, a certified copy of the Founding Statement of such corporation shall be included with the bid, together with the resolution by its members authorizing a member or other official of the corporation to sign the documents on their behalf.

By resolution of members at a meeting on ................................. 20........... at……………………

........................................ Mr/Ms.............................., whose signature appears below, has been authorized to sign all documents in connection with this bid on behalf of (Name of Close Corporation) ……………………………………………………………..................................

SIGNED ON BEHALF OF CLOSE CORPORATION: ……………………………

(PRINT NAME)

IN HIS/HER CAPACITY AS......................................... DATE: ..........................................

SIGNATURE OF SIGNATORY: .........................................................

WITNESSES: 	1.................................................     WITENSS:  2...............................................

E. CO-OPERATIVE

A certified copy of the Constitution of the co-operative must be included with the bid, together with the resolution by its members authoring a member or other official of the co-operative to sign the bid documents on their behalf.

By resolution of members at a meeting on ...............................…… 20............ at …….…......................

Mr/Ms..................................................................................., whose signature appears below, has been authorized to sign all documents in connection with this bid on behalf of (Name of cooperative)

…………………..................................................................……………………………………………………

SIGNED ON BEHALF OF CO-OPERATIVE:........................................................................................

(PRINT NAME)

IN HIS/HER CAPACITY AS: ................................................................…DATE:......................………..

SIGNATURE OF AUTHORISED REPRESENTATIVE/SIGNATORY: ......................................................

WITNESSES: 	1 .....................................................  	     WITNESS:- 2 ......................................

________________________________________

F. CONSORTIUM

If a bidder is a consortium, a certified copy of the resolution/agreement passed/reached signed by the duly authorized representatives of concerned enterprises, authorizing the representatives who sign this bid to do so, as well as to sign any contract resulting from this bid and any other documents and correspondence in connection with this bid and/or contract on behalf of the consortium must be submitted with this bid, before the closing time and date of the bid.

AUTHORITY TO SIGN 0N BEHALF OF THE CONSORTIUM

By resolution/agreement passed/reached by the consortium on ………………..…… 20 ……………

Mr/Mrs……………………………………………….…(whose signature appear below) have been duly authorised to sign all documents in connection with this bid on behalf of:

(Name of Consortium)………………………………………………………………………………………………..

SIGNED ON BEHALF OF CLOSE CORPORATION: …………………………………………………………….

(PRINT NAME)

IN HIS/HER CAPACITY AS ...................................................... DATE: ......................................................

SIGNATURE OF SIGNATORY: .........................................................

WITNESSES: 	1 ............................................    WITNESS: - 2 ...........................................

G. JOINT VENTURE

If a bidder is a joint venture, a certified copy of the resolution/agreement passed/reached signed by the duly authorized representatives of the enterprises, authorizing the representatives who sign this bid to do so, as well as to sign any contract resulting from this bid and any other documents and correspondence in connection with this bid and/or contract on behalf of the joint venture must be submitted with this bid, before the closing time and date of the bid.

AUTHORITY TO SIGN ON BEHALF OF THE JOINT VENTURE

By resolution/agreement passed/reached by the joint venture partners on……………20……………………….

Mr/Mrs……………………………………………….,Mr/Mrs………………………………………………………….

Mr/Mrs……………………………………………and Mr/Mrs…………………………………………………………

(whose signatures appear below) have been duly authorized to sign all documents in connection with this bid on behalf of:(Name of Joint Venture)…………………………………………………………………………..

IN HIS/HER CAPACITY AS: ………………………………………………………………………………………..

SIGNED ON BEHALF OF (COMPANY NAME): …………………………………………………………………..

(PRINT NAME)

SIGNATURE:………………………………………………..... DATE: ……………………………………………….

IN HIS/HER CAPACITY AS:……………………………………………………………………………………………

SIGNED ON BEHALF OF (COMPANY NAME): …………………………………………………………………….

(PRINT NAME)

SIGNATURE :…………………………………………… DATE: …………………………………………………….

IN HIS/HER CAPACITY AS:…………………………………………………………………………………………….

SIGNED ON BEHALF OF (COMPANY NAME): ……………………………………………………………………..

(PRINT NAME)

SIGNATURE :………………………………………………. DATE: ………………………………………………..

IN HIS/HER CAPACITY AS:…………………………………………………………………………………………..

SIGNED ON BEHALF OF (COMPANY NAME): ……………………………………………………………………

(PRINT NAME)

SIGNATURE :………………………………………………. DATE: …………………………………………………

IN HIS/HER CAPACITY AS:……………………………………………………………………………………………

SECTION J (SBD 8)

# DECLARATION OF BIDDER’S PAST SUPPLY CHAIN MANAGEMENT PRACTICES

- This Standard Bidding Document must form part of all bids invited.

- It serves as a declaration to be used by institutions in ensuring that when goods and services are being procured, all reasonable steps are taken to combat the abuse of the supply chain management system.

- The bid of any bidder may be disregarded if that bidder, or any of its directors have-

- Abused the institution’s supply chain management system; committed fraud or any other improper conduct in relation to such system; or failed to perform on any previous contract.

- In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

| Item | Question | Yes | No |
| --- | --- | --- | --- |
| 4.1 | Is the bidder or any of its directors listed on the National Treasury’s Database of Restricted Suppliers as companies or persons prohibited from doing business with the public sector? (Companies or persons who are listed on this Database were informed in writing of this restriction by the Accounting Officer/Authority of the institution that imposed the restriction after the audi alteram partem rule was applied). The Database of Restricted Suppliers now resides on the National Treasury’s website (www.treasury.gov.za)and can be accessed by clicking on its link at the bottom of the home pg | Yes | No |
| 4.1.1 | If so, furnish particulars:…………………………………………………………………………………………............................ ………………………………………………………………………………………………………………………………………….. |
| 4.2 | Is the bidder or any of its directors listed on the Register for Tender Defaulters in terms of section 29 of the Prevention and Combating of Corrupt Activities Act (No 12 of 2004)? The Register for Tender Defaulters can be accessed on the National Treasury’s website (www.treasury.gov.za) by clicking on its link at the bottom of the home page. | Yes | No |
| 4.2.1 | If so, furnish particulars:………………………………………………………………………………………….............................. ………………………………………………………………………………………………………………………………………….. |
| 4.3 | Was the bidder or any of its directors convicted by a court of law (including a court outside of the Republic of South Africa) for fraud or corruption during the past five years? | Yes | No |
| 4.3.1 | If so, furnish particulars:…………………………………………………………………………………………... ……………………………………………………………………………………………………………………… |
| 4.4 | Was any contract between the bidder and any organ of state terminated during the past five years on account of failure to perform on or comply with the contract? | Yes | No |
| 4.4.1 | If so, furnish particulars:…………………………………………………………………………………………... ……………………………………………………………………………………………………………………… |

CERTIFICATION

I, THE UNDERSIGNED (FULL NAME)……………………………………………………………………….……………………….

CERTIFY THAT THE INFORMATION FURNISHED ON THIS DECLARATION FORM IS TRUE AND CORRECT.

I ACCEPT THAT, IN ADDITION TO CANCELLATION OF A CONTRACT, ACTION MAY BE TAKEN AGAINST ME SHOULD THIS DECLARATION PROVE TO BE FALSE.

………………………………………...			…………………………..

Signature 						Date

……………………………………….			…………………………..

Position						Name of Bidder

SECTION K (SBD 9)

CERTIFICATE OF INDEPENDENT BID DETERMINATION

1	This Standard Bidding Document (SBD) must form part of all bids¹ invited.

2	Section 4 (1) (b) (iii) of the Competition Act No. 89 of 1991, as amended, prohibits an agreement between, or concerted practice by, firms, or a decision by an association of firms, if it is between parties in a horizontal relationship and if it involves collusive bidding (or bid rigging).² Collusive bidding is a pe se prohibition meaning that it cannot be justified under any grounds.

3	Treasury Regulation 16A9 prescribes that accounting officers and accounting authorities must take all reasonable steps to prevent abuse of the supply chain management system and authorizes accounting officers and accounting authorities to:

a.	disregard the bid of any bidder if that bidder, or any of its directors have abused the institution’s supply chain management system and or committed fraud or any other improper conduct in relation to such system.

b.	cancel a contract awarded to a supplier of goods and services if the supplier committed any corrupt or fraudulent act during the bidding process or the execution of that contract.

- This SBD serves as a certificate of declaration that would be used by institutions to ensure that, when bids are considered, reasonable steps are taken to prevent any form of bid-rigging.

- In order to give effect to the above, the attached Certificate of Bid Determination (SBD 9) must be completed and submitted with the bid:

¹ Includes price quotations, advertised competitive bids, limited bids and proposals.

² Bid rigging (or collusive bidding) occurs when businesses, that would otherwise be expected to compete, secretly conspire to raise prices or lower the quality of goods and / or services for purchasers who wish to acquire goods and / or services through a bidding process.  Bid rigging is, therefore, an agreement between competitors not to compete.

I, the undersigned, in submitting the accompanying bid:

________________________________________________________________________

(Bid Number and Description)

in response to the invitation for the bid made by:

________________________________________________________________________

(Name of Institution)

do hereby make the following statements that I certify to be true and complete in every respect:

I certify, on behalf of: _____________________________________________________that:

(Name of Bidder)

- I have read and I understand the contents of this Certificate;

- I understand that the accompanying bid will be disqualified if this Certificate is found not to be true and complete in every respect;

- I am authorized by the bidder to sign this Certificate, and to submit the accompanying bid, on behalf of the bidder;

- Each person whose signature appears on the accompanying bid has been authorized by the bidder to determine the terms of, and to sign the bid, on behalf of the bidder;

- For the purposes of this Certificate and the accompanying bid, I understand that the word “competitor” shall include any individual or organization, other than the bidder, whether or not affiliated with the bidder, who:

(a) 	has been requested to submit a bid in response to this bid invitation;

(b) 	could potentially submit a bid in response to this bid invitation, based on their qualifications, abilities or experience; and

(c)	provides the same goods and services as the bidder and/or is in the same line of business as the bidder

- The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However communication between partners in a joint venture or consortium³ will not be construed as collusive bidding.

- In particular, without limiting the generality of paragraphs 6 above, there has been no consultation, communication, agreement or arrangement with any competitor regarding:

- prices;

- geographical area where product or service will be rendered (market allocation)

(c) 	methods, factors or formulas used to calculate prices;

(d)	 the intention or decision to submit or not to submit, a bid;

(e)	 the submission of a bid which does not meet the specifications and conditions of the bid; or

(f)        bidding with the intention not to win the bid.

- In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications and conditions or delivery particulars of the products or services to which this bid invitation relates.

- The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

10.	I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1991 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

…………………………………………………			…………………………………

Signature								Date

………………………………………………….			…………………………………

Position 								Name of Bidder

³ Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.

SECTION L

SPECIAL CONDITIONS OF CONTRACT

SECTION 1: DEFINITION OF TERMS

  - SERVICE

The consultancy services to be rendered by professional service providers must be

rendered in terms of this contract.

  - CONTRACTOR

The person or persons, partnership, close corporation, firm or company, whose bid for this service was accepted.

  - AGREEMENT

This comprises the agreement signed by parties, the conditions of bid, the bid and the specifications.

  - AGREEMENT PERIOD

The period during which the service is to be rendered and originally determined in the agreement, or as amended, extended or renewed in accordance with stipulations of the agreement.

  - PARTIES

The parties to this contract are The Head of Co-operative Governance and Traditional Affairs in the KwaZulu-Natal Provincial Administration and Contractor.

1.8		DEPARTMENT

KwaZulu-Natal department of Co-operative Governance and Traditional Affairs.

1.9		CURTAILMENT OF SERVICE

The Department reserves the right to withdraw from the service any part/s of the contract as a whole, with one month’s written notification to the contractor. In a case such as this, the contract sum will be adjusted pro rata from the date of withdrawal.

SECTION 2:	IMPORTANT INFORMATION TO NOTE

2.1		This bid is invited and will be awarded and administered in terms of the following:-

  - KwaZulu-Natal Supply Chain Management Policy Framework,

  - Section 217 of the Constitution,

  - The PFMA and its Regulations in general,

  - The Preferential Procurement Policy Framework Act,

  - National Treasury guidelines, and

  - Provincial Treasury’s Supply Chain Management Practice Notes and guidelines

  - REQUIRED COMPULSORY INFORMATION

2.2.1	The bidder shall ensure that all the required information is furnished; viz:-

    - Declaration of interest (SECTION E)

    - Tax Compliance Status Requirements,

    - Compulsory Briefing Session (SECTION M )

    - Authority to sign a bid (SECTION I),

    - Conditions of Bid (SECTION G)

    - Tax Compliance Status.

    - Each party to a Consortium/Group of sub-contractors must obtain separate Tax Clearance Certificate(s) and also be registered on the Suppliers Database.

    - A valid certified copy of B-BBEE Status Level Verification Certificate/ Letter from Sworn Affidavit must be submitted with the proposal.

NOTE:	Failure to submit the required information may invalidate the entire proposal.

SECTION 3: SPECIAL CONDITIONS OF CONTRACT

3.1		ACCEPTANCE OF BID

3.1.1	This bid has been invited, and will be adjudicated in terms of the KwaZulu-Natal Supply Chain Management Policy Framework and the KwaZulu-Natal Provincial Treasury’s Practice Notes. Co-operative Governance and Traditional Affairs’ Bid Adjudication Committee is under no obligation to accept the lowest or any bid.

3.1.2	The financial standing of bidders and their ability to manufacture or to supply goods or render services may be examined before their bids are considered for acceptance.

3.2	 	APPEALS

3.2.1	Entities aggrieved by a decision of a departmental Bid Adjudication Committee or a delegate of an   accounting officer, may appeal to the Bid Appeals Tribunal in the prescribed manner by the Supply Chain Management Policy Framework

3.3		AMENDMENT OF CONTRACT

3.3.1	Any amendment to or renunciation of the provisions of the contract shall at all times be done in writing and shall be signed by both parties subject to  the Legal Services screening the amendment before it is signed.

3.4 		CHANGE OF ADDRESS

3.4.1	Bidders must advise the Department should their address (domicilium citandi et executandi) details change from the time of bidding to the expiry of the contract.

3.5  	COMMUNICATION

3.5.1    All correspondence with regard to this bid must be addressed or hand delivered to the:

The Head SCM Unit,

Department Co-operative Governance and Traditional Affairs,

Private Bag X9078,

Pietermaritzburg

3200

ENQUIRIES: 	Ms Lindiwe Madlala	TEL.: 033-395 2174

3.6   	COMPLETENESS OF BID

3.6.1   	Bids will only be considered if correctly completed and accompanied by all relevant certificates and other necessary applicable information.

3.7  	COMPLETION OF SPECIFICATION

3.7.1	Where specifications are designed in such a way that responses would be required from bidders, these forms must be completed and submitted as part of the bid document.

3.8    	CONDITIONS OF BID

3.8.1	The successful Contractor must be in a position to assume duty on the date stipulated in the letter of acceptance.

3.8.2	No bid received by telegram, telex, or facsimile will be considered.

3.8.3	It shall be noted that the Department is under no obligation to accept the lowest or 	any bid.

3.8.4	The offer shall be made strictly according to the specification. No alternative offers will be considered.

3.8.5	Bidders must provide the following particulars about themselves as part of the bid:

3.8.5.1	Where they have their Headquarters

3.8.5.2	Where they have their Regional Office.

3.8.5.3	Name, address and telephone number of bankers together with their bank account number.

3.8.5.4	The names, identity numbers and street addresses of all partners in cases where persons, a partnership, or a firm consists of a partnership.

3.9	In cases where a person or persons, a partnership, close corporation, firm or company enters business for the very first time, the following particulars shall be provided:

3.9.1	By whom, or with whose assistance, was the business plan drafted?

3.9.2	By whom, or with whose assistance, were the bid prices calculated?

3.9.3	Whose advice is relied on?

3.9.4	Who will provide financial support?

3.10	A list of references must accompany this bid. Particulars shall be submitted regarding similar agreements completed successfully or of projects which the bidder is engaged in.

3.11	CONFIDENTIALITY

The contractor’s staff that comes into contact with the Department’s confidential information and documents may be required to sign confidentiality agreements so as to protect the Department’s information.

3.12	CONTRACT PERIOD

3.12. 1 The contract period shall remain in force for a period of 06 months from date of signing of official contracts.

3.12.2	The Department of Co-operative Governance and Traditional Affairs reserves the right to terminate the contract with any contractor should the contractor fail to fulfil his/her contractual obligations in terms of the contract.

3.13	DETAILS OF CURRENT CONTRACTS HELD BY THE BIDDER

3.13.1The bidder must furnish the following details of all current contracts:

(i)	Date of commencement of contract/s;

(ii)	Expiry date/s;

(iii)	Value per contract; and

(iv)	Contract details.  That is, with whom held, phone number and address/s of the company.

3.14	EQUAL BIDS

3.14.1	In the event that two or more bids have equal total points, the successful bid will be the one scoring the highest number of preference points for specified goals. Should two or more bids be equal in all respects, the Adjudication shall be decided by the drawing of lots.

3.15	EXECUTION CAPACITY

3.15.1	The bidder will be required to provide an efficient and effective service. Therefore, the bidder is required to submit proof that he/she has the required capacity to execute the contract tendered for successfully. The bidder must supply references or state his/her experience as a company to undertake the contract.   References of past experience of owners/employees of new entities must accompany the bid document.

3.16	EXTENSION OF CONTRACT

3.16.1	An extension of contract may be considered.  It is the normal policy that contracts are not extended.  However, circumstances may arise whereby a contract cannot be renewed in time. If this is found to be the case, the right is reserved to approach existing contractor(s) to extend the contract for such period agreed to.

3.17 	GENERAL EVALUATION CRITERIA

The Bid Evaluation Committee will assess offers and adhere to the following basic guidelines when evaluating.

  - Whether all the required information called for in the bid document has been submitted by the bidder.

  - Has the bidder supplied references or stated his/her experience as a Company to undertake the contract. References of past experience must accompany the bid document.

  - The financial standing of the bidder and ability to render a service may be examined before an award of bid take place.

  - Preferences will be taken into consideration by the Department in terms of the B-BBEE Scorecard.

  - Documented reports received from an institution/s pertaining to past bad performance by a company who is tendering, may be taken into consideration.

  - Did the bidder attend the site inspection?

  - Will the bidder be in a position to successfully execute the contract?

  - The 80/20 Point System will apply in the evaluation of this bid.

3.18	IRREGULARITIES

2.18.1	Companies are encouraged to advise the Department timeously of any possible irregularities which might come to their notice in connection with this or other contracts.

3.19	JOINT VENTURES

3.19.1	In terms of the Supply Chain Management Policy Framework, a consortium or joint venture may, based on the percentage of the contract value managed or executed 	by respective members.

3.19.2	Should this bid be submitted by a joint venture, a certified copy of the joint venture agreement must accompany the bid document before the closing date and time of bid. The joint venture agreement must clearly specify the percentage of the contract to be undertaken by each company participating therein.

3.19.3	A trust, consortium or joint-venture must obtain and submit a consolidated B-BBEE

Status Level Verification Certificate.  The non-submission of a consolidated B-BBEE Certificate by a company will result in preference points not being allocated to such company.  Failure to submit the joint venture Agreement will result in preference points not being allocated to all companies participating in the joint venture.

3.20	LATE BIDS

3.20.1	Bids are late if they are received at the address indicated in the bid documents after the closing date and time.

3.20.2	A late bid shall not be considered and, where practicable, shall be returned unopened to the Bidder, accompanied by an explanation.

3.21	NOTIFICATION OF ADJUDICATION OF BIDDER & ADVERTISING OF RESULTS

3.21.1	Notification of the Adjudication of bid shall be in writing by a duly authorized official of Co-operative Governance and Tradition Affairs’ Supply Chain Management unit.

3.22	PRO RATA DECREASE OF COMPENSATION

3.22.1	Should the services not be rendered to the satisfaction of the Department and unsatisfactory items/ aspects/ events have already, in writing, been brought to the attention of the Contractor, the Department reserves the right in terms of paragraph 3.27 hereunder, to retain payment to the Contractor for as long as the unsatisfactory service continues.

3.23	CENTRAL SUPPLIERS DATABASE

2.23.1	A bidder submitting an offer must be registered on the Central Suppliers Database. 	A bidder who has submitted an offer and is not registered on the Central Suppliers Database will not be considered.

3.23.2	Each party to a Joint Venture/Consortium must be registered on the Central Suppliers Database at the time of submitting the bid.

3.24 	SUBMISSIONS AND COMPLETION OF SBD 6.1

3.24.1	Bidders are to complete SBD 6.1 document where applicable. Failure by the bidder to submit a valid B-BBEE status level verification certificate will result in the bidder not being considered for preference points allocation.  If the information required is not applicable to the business, clearly insert the symbols “N/A” in the appropriate space.  If the space provided is left blank, it will be regarded as information   that is still outstanding and the SBD 6.1 will not be processed further.

3.25    	TERMINATION OF SERVICES

3.25.1	Should the Contractor fail to meet the conditions of this contract, or continue rendering unsatisfactory service, the Employer reserves the right to terminate the contract, after written notification has been served on the Contractor, with retention of the right to recover from the Contractor any losses which the 	Employer may suffer/ incur as a result of the failure, without prejudicing any other rights it may have.

3.26	TAX CLEARANCE CERTIFICATE

3.26.1	The original Tax Clearance Certificate must be submitted with the bid before the closing date and time of the bid. Failure to submit a valid Tax Clearance Certificate will invalidate your bid unless a valid, as at the closing date of this bid, original Tax Clearance Certificate is already in the possession of the Departments Supply Chain Management Unit.  In this regard, a clear reference must be provided e.g. bid number.

3.26.2	Each party to a Joint Venture/Consortium must submit an original valid Tax Clearance Certificate together with the bid before the closing date and time of bid.

3.27	UNSATISFACTORY PERFORMANCE

3.27.1	Unsatisfactory performance occurs when performance is not in accordance with the contract conditions.

(i)	Before any action is taken, the Department shall warn the contractor by registered/certified mail that action will be taken in accordance with the contract conditions unless the contractor complies with the contract conditions and delivers satisfactory supplies or services within a specified reasonable time (7 days minimum).   If the contractor does not perform satisfactorily despite the warning the Department will:

(a)	take action in terms of its delegated powers

(b)	make a recommendation for cancellation of the contract concerned.

3.28	VALIDITY PERIOD AND EXTENSION THEREOF

3.28.1	The validity (binding) period for the bid must be 120 days from close of bid. However, circumstances may arise whereby this Department may request the 	bidders to extend the validity (binding) period. Should this occur, the Department will request bidders to extend the validity (binding) period under the same terms and conditions as originally tendered for by bidders. This request will be done before the expiry of the original validity (binding) period.

3.29	VAT

2.29.1	Bid prices must be inclusive of VAT.

2.29.2	A tax invoice shall be in the currency of the Republic of South Africa and shall contain the following particulars:

(a)	The name, address and registration number of the supplier;

(b)	the name and address of the recipient;

(c)	an individual serialized number and the date upon which the tax invoice is issued;

(d)	a description of the goods or services supplied;

(e)	the quantity or volume of the goods or services supplied;

(f)	either :–

(i)	the value of the supply, the amount of tax charged and the consideration for the 	supply; or

(ii)  where the amount of tax charged is calculated by applying the tax fraction to the consideration, the consideration for the supply and either the amount of the tax charged, or a statement that it includes a charge in respect of the tax and the rate at which the tax was charged.

3.30	REGISTERED ADDRESS

The Department provides the following:

Street address as it’s domicillium citandi et executandi in respect of any lawsuit which might result from or bears relevance to this contract, as well as for purposes of notice to :

The Head SCM Unit, KwaZulu-Natal Co-operative Governance and Traditional Affairs

| , 14th floor, South Tower, Natalia Building. 330 Langalibalele Street PIETERMARITZBURG 3200 | Private Bag X9078, PIETERMARITZBURG 3200 |
| --- | --- |

SECTION M

OFFICIAL BRIEFING SESSION/SITE INSPECTION CERTIFICATE

Site/building/institution involved: IXOPO OFFICES

Bid No: ZNT 2046/2017 LG

Service:  CONSTRUCTION OF A RETAINING WALL, DRIVEWAY, ERECTION OF UNDERCOVER PARKING, TARRING OF PARKING LOT, REPAIRS TO FENCING AND INSTALLATION OF SLIDING GATE AT THE NEW IXOPO DISTRICT OFFICES

*******************************************************

THIS IS TO CERTIFY THAT (NAME): .......................................................................................

ON BEHALF OF: .......................................................................................................................

ATTENDED THE BRIEFING SESSION ON:  12 FEBRUARY 2018 at 10:00am at IXOPO OFFICES

AND IS THEREFORE FAMILIAR WITH THE CIRCUMSTANCES AND THE SCOPE OF THE SERVICE TO BE RENDERED.

.......................................................................................................................

SIGNATURE OF BIDDER OR AUTHORISED REPRESENTATIVE

(PRINT NAME)

DATE: ....................................................

.......................................................................................................................

SIGNATURE OF DEPARTMENTAL REPRESENTATIVE

(PRINT NAME)

.......................................................................................................................

DEPARTMENTAL STAMP:

(COMPULSORY)

DATE: ..........................................

SPECIFICATIONS

BID NUMBER: 2046/2017LG

DESCRIPTION: CONSTRUCTION OF A RETAINING WALL, DRIVEWAY, ERECTION OF UNDERCOVER PARKING, TARRING OF PARKING LOT, REPAIRS TO FENCING AND INSTALLATION OF SLIDING GATE AT THE NEW IXOPO DISTRICT OFFICES.

TERMS OF REFERENCE FOR WORK TO BE DONE IN THE YARD OF THE NEW IXOPO DISTRICT OFFICE.

OBJECTIVE:

The Department of Co-Operative Governance and Traditional Affairs requires the following at Portion 15R( of 8) of the Farm Landsdowne No. 2227, High Street (Next to RTI offices, testing ground):

(i)  construction of a retaining wall

(ii) erection of undercover parking

(iii) building of a tarred driveway and tarring of the parking area

(iv) repairs to fencing and installation of a sliding gate

SCOPE OF WORK

1. RETAINING WALL

(i)  Construct two retaining walls; back wall = 2.5m-4.9m x34.1m; front wall = 5.1m x 8.8m

using interlocking blocks in accordance with SANS 10400.  The contractor is to ensure that

the retaining wall is designed and built by a competent person, preferably an engineer,

and for plans to be drawn up and submitted to the relevant local authority for approval before

building begins.

2.  CONSTRUCTION OF DRIVEWAY AND TARRING OF PARKING LOT

(i). Excavate total area (driveway = 196sqm and parking lot = 648sqm), including ripping and

scarifying as necessary and compacting the entire area to a density of at least 95% Mod.

AASHTO maximum density and remove all waste from site.

(ii). Install required edging /kerb stones bedded on and backed with concrete,
            Lay edging/kerb stones on a bed of 100mm of concrete and haunch both back and front

with concrete for added support. The levels and all edgings must be installed to the required

falls and cross falls to assist water escape on the finished surface.

(iii). Treat total area with Bromosil or other approved herbecide registered by Pest Control

Company and install a weed preventive and weight stabilising membrane to total area,

(iv). Lay required depth of crushed foundation to form falls and cross falls to assist water

escape machine rolled,
             150-200mm of a certified MOT type crushed limestone or equivalent material should be

used and must be compacted using the right weight of compactor, generally this would be a

twin drum ride on roller.

(v). Adjust all iron works to required levels,
            Iron work relates to any manhole chambers, water/gas stop tap boxes etc. The iron works

should be adjusted in height to the required finish surface level suiting the relevant falls and

cross falls to assist water escape, the work would involve adjusting the height by means of

hiring /lowering where required on a sand and cement mix with suitable spacing materials/

packing pieces as required.

(vi). Lay to total area required specification of binder and surface course tarmacadam

machine rolled,
             Lay 50mm of 20mm binder course tarmacadam and 25mm of 6mm surface course

tarmacadam.  Both materials would be laid to the required area and machine rolled using

the required weight of roller.

(vii). Tar all joints to seal where new surface meets surrounding surfaces with hot pored

bitumen.

3. UNDERCOVER PARKING

(i)  Excavate for concrete bases  450X450X500mm deep all ready to receive concrete

elsewhere measured

(ii)  Supply and fix pre galvanised tubing post 100x100mmx2mm with 5mm thick bracket

welded to top of post with 2 holes drilled per post

Size: 100x100x2mmx 2.6m long

Size: 100x100x2mmx 2.8m long

Cast 20 Mpa 19mm stone concrete per bases.

(iii)  Supply and fix pre galvanised lipped channel (150x50x20mm) over metal post and beams.

Including welding of 5mm thick L shaped brackets, drilling and fixing using 10mm diameter

high tensile nuts and bolts

Size 150x50x20x2.5mm

Size 150x50x20x2mm

Extra 50x50x3mm pre-galvanised steel angle iron fixed mid-span to underside of purlins to

assist with alignment of same

(iv)  Supply and fit 0,5mm IBR single spelter Z200 galvanised steel sheeting with 25 micron

Colomet baked enamel finish both sides fixed to purlins using approved "TEK" screws

(v) Contractor to close off ends of lipped channel by using 3mm thick metal plate. Thereafter

apply 1 coat of cold galvanised.

Fix metal barges using 1.2mm x 300mm galvanised sheeting

(vi)  Paint parking bay line and number of each parking bay using approved road marking paint

Setting out parking bays and paint 100mm wide lines

Setting out numbering of each parking bay A1, A2, - A42

4.  REPAIRS TO FENCING AND INSTALLATION OF A DOUBLE GATE

(i)  Repair fencing at sections where it is broken.

(ii)  Install a 9.8m wide, manually operated, palisade cantilever or track sliding gate with guiding

and supporting posts, at entrance.

On completion remove all waste material and cart away to a suitable dumping site

NOTE TO TENDERERS

All measurements and dimensions to be verified on site prior to tendering.

Pre-qualification criteria for preferential procurement

QUALIFICATION CRITERIA

PHASE ONE: SUBMISSION OF STATUTORY AND ESSENTIAL INFORMATION

| CRITERIA | KEY DELIVERABLES | CRITERIA DESCRIPTION | Attached as proof |
| --- | --- | --- | --- |
| B-BBEE 1 level | Attach a valid certified proof issued by an accredited agent or professional or institution. | A valid certified proof issued by either an accredited agent or professional or institution. (SANAS Accredited agent or IRBA Registered Auditor or DTI) | Yes No |
| EME or QSE | Affidavit | A valid certified sworn in certificate. | Yes No |
| Financial Standing and Rating and Letter of Good Standing. | The submission of all financial documents/ requirements as stipulated in the tender document. | Letter of Good Standing from the Department of Labour with Compensation commissioner. Credit references confirming credit limits from key material supplier. Letter to be current and original. A letter will be acceptable if the bulk material supply is from a single source. | Yes No Yes No |
| Competency, Experience, Resource Capacity, OHS Compliance and References of similar jobs. | The Tenderer to demonstrate their technical competency, human resource capacity, compliance to OHS and relevant project experience in projects of a similar nature, value, complexity and time-frame. | 1. CIDB registration as per the required grade of 3GB minimum.. 2. Detailed schedule of key resource at an organization level including his/her experience. 3. One reference letter on a client’s company letterhead detailing the nature and quality of work done on similar projects. 4. OHS management, compliance and reporting. 5. Contractor’s safety, Health and Environmental Declaration. | Yes No Yes No Yes No Yes No Yes No |

NOTE:

- Note 1: A tender that fails to meet the qualifying criteria stipulated in this tender document is an unacceptable tender.

LOCAL PRODUCTION CONTENT

Only locally produced goods or locally manufactured goods, meeting the stipulated minimum threshold for local production and content, will be considered.

The condition referred to above is in accordance with the standards determined by the Department of Trade and Industry after consultation with the National Treasury.

A tender that fails to meet this condition for local production and content is an unacceptable tender.

FUNCTIONALITY

This tender will not be evaluated on functionality.

PREFERENCE POINT SYSTEM

The formula stated in regulation 6(1) of the PPPFA 2000: TR 2017 will be used to calculate the points out of 80 for price in respect of a tender with a Rand value equal to or above R30 000 and up to a Rand value of R50 million, inclusive of all applicable taxes.

The table stated in regulation 6(2) of the PPPFA 2000: TR 2017 will be used to calculate the score out of 20 for BBBEE.

All other conditions per regulation 6(3) – 6(9) of the PPPFA 2000: TR 2017 are applicable.

FINANCIAL STANDING AND OTHER RESOURCES OF BUSINESS DECLARATION

| PROJECT TITLE |  |
| --- | --- |
| BID NO. |  |

ATTACH COMPANY PROFILE TO THIS PAGE IF ALL THE RELEVANT INFORMATION REQUESTED ON THIS FORM IS DEALT WITH IN SAID COMPANY PROFILE

(a)   Based on the track record determined on the Minimum Average Annual Turnover coupled to the

assessed Works Capabilities of Contracting Enterprises, the Construction Industry Development Board

(CIDB) awards Grading Designations and accordingly registers it on the system.

This confirms that a Contractor has, at the time of registration, in the absence of any supply side

interventions, sufficient working capital to commence the Works for a single contract and render due

performance.

(b)   However, it regularly occurs that a contractor will at the same time submit bids for a number of

projects that are advertised during an overlapping period. Moreover, the Contractor may be busy with

a contract that is of the registered CIDB Grading Designation (value) or is even attending to a number

of smaller valued Contracts.

(c)   It therefore becomes prerogative of a Bidder in such instances to prove to the Department that the Enterprise has

the capacity in every respect to attend to more than (1) contract at a time.

(d)   A Bidder who wishes to be considered for this Bid Contract award, over and above other Bids that they have

submitted, shall submit when requested by the Department the necessary proof that:

(i) he/she has access to additional finance (inclusive of a PERFORMANCE GUARANTEE BY A REGISTERED

FINANCIAL INSTITUTION).

(ii) he/she has additional Human Recourses available to successfully complete this project.

(iii) he/she has adequate Equipment, Plant and Machinery that all of the above can, undoubtedly, be sourced for this

Bid (please submit to the Department the name and contact details of the supplier if the Bidder is going to hire

Equipment, Plant or Machinery, when requested).

I, the undersigned,   ______________________________________________________________________________

(name of person authorized to sign on behalf of the Bidder)

Understand that it is the responsibility of the Bidder to prove and provide when requested by the Department, evidence of the good Financial Standing of the Business to complete the Contract successfully.

Furthermore, it is understood that failure to provide when requested by the Department, at least the information as stated in paragraphs (d)(i)(ii) AND (iii) above will not enable the Evaluation Team to assess the CURRENT financial standing of the Business and the failure to provide said information when requested will, therefore, invalidate the Bid.

I accept and understand that the Department, as a representative of the Provincial Administration of KwaZulu-Natal in this Bid, may act against me and the Bidder, jointly and severely should this declaration and/or any information provided found to be false.

Duly signed at…………………………………………………on this the……..day of………………………………………201….

___________________________________                   ___________________________________________________

Full name of signatory                                                       Name of enterprise

__________________________________                    ____________________________________________________

Capacity of signatory                                                          Signature of authorized representative

CAPACITY OF BIDDERS

| Project title: | ALTERATIONS AND ADDITIONS TO VARIOUS FLOORS AND TOWERS AT NATALIA BUILDING – PIETERMARITZBURG |
| --- | --- |
| Bid no.: |  |

1.             WORK CAPACITY: (The Bidder is requested to furnish the following capacity particulars and to attach additional pages if more space is required. Failure		       to furnish the particulars may result in the Bid being disregarded.

1.1.	Artisans and Employees: (Artisans and Employees to be, or are, employed for this project)

| Categories of Employee- Key personnel (part of business enterprise) | Professional Registration no. | Date of employment | Number |
| --- | --- | --- | --- |
| Site Agent |  |  |  |
| Project Manager |  |  |  |
| Foreman (complete attached page as well) |  |  |  |
| Quality Control & safety officer- construction supervisor |  |  |  |
| Artisans (attach company profile if convenient) |  |  |  |
| Registered electrical contractor (complete attached page as well) |  |  |  |
| Registered Plumber (complete attached page as well) |  |  |  |
| Unskilled employees (attach company profile if convenient) |  |  |  |
| Financial Manager |  | Attach company profile if convenient |  |
| Administrative Employees |  | Attach company profile if convenient |  |
| Others (Attach company profile if convenient) |  |  |  |

1.2.	Provide full particulars of the following assets: (Assets owned and to be hired – Indicated owned assets)

| Machinery | Plant | Equipment | Vehicles |
| --- | --- | --- | --- |

1.3.	Workshops:

| Address of main workshop: | Address of Regional Workshop (if applicable) |
| --- | --- |

1.4.	Other offers submitted at time of this Bid for which results are pending: (Any other client bid must also be included)

| Bid no. | Project name | Client name & Contact no. | Value Bid in R’s | Date Bid submitted | Contact Detail |
| --- | --- | --- | --- | --- | --- |

2.	      PARTICULARS OF THE BIDDERS CURRENT AND PREVIOUSLY COMPLETED COMMENTS:

2.1. Current Projects: (List the 5 projects closed to the contractor grading designation of this project)

*scheduled date of completion

| 1 | Project name |  | Date of commencement |  |
| --- | --- | --- | --- | --- |
|  | Place(town) |  | Contract Amount(R) |  |
|  | Reference/Contact person |  | Contract Period |  |
|  | Contact Tel No. |  | *Date of completion |  |
| 2 | Project name |  | Date of commencement |  |
|  | Place(town) |  | Contract Amount(R) |  |
|  | Reference/Contact person |  | Contract Period |  |
|  | Contact Tel No. |  | *Date of completion |  |
| 3 | Project name |  | Date of commencement |  |
|  | Place(town) |  | Contract Amount(R) |  |
|  | Reference/Contact person |  | Contract Period |  |
|  | Contact Tel No. |  | *Date of completion |  |
| 4 | Project name |  | Date of commencement |  |
|  | Place(town) |  | Contract Amount(R) |  |
|  | Reference/Contact person |  | Contract Period |  |
|  | Contact Tel No. |  | *Date of completion |  |
| 5 | Project name |  | Date of commencement |  |
|  | Place(town) |  | Contract Amount(R) |  |
|  | Reference/Contact person |  | Contract Period |  |
|  | Contact Tel No. |  | *Date of completion |  |

2.2.	Previously completed projects: (List 5 projects closest to the contractor grading designation of this product)

| 1 | Project name |  | Date of commencement |  |
| --- | --- | --- | --- | --- |
|  | Place(town) |  | Contract Amount(R) |  |
|  | Reference/Contact person |  | Contract Period |  |
|  | Contact Tel. No. |  | Date of completion |  |
| 2 | Project name |  | Date of commencement |  |
|  | Place(town) |  | Contract Amount(R) |  |
|  | Reference/Contact person |  | Contract Period |  |
|  | Contact Tel. No. |  | Date of completion |  |
| 3 | Project name |  | Date of commencement |  |
|  | Place(town) |  | Contract Amount(R) |  |
|  | Reference/Contact person |  | Contract Period |  |
|  | Contact Tel. No. |  | Date of completion |  |
| 4 | Project name |  | Date of commencement |  |
|  | Place(town) |  | Contract Amount(R) |  |
|  | Reference/Contact person |  | Contract Period |  |
|  | Contact Tel. No. |  | Date of completion |  |
| 5 | Project name |  | Date of commencement |  |
|  | Place(town) |  | Contract Amount(R) |  |
|  | Reference/Contact person |  | Contract Period |  |
|  | Contact Tel. No. |  | Date of completion |  |

| Name of authorised representative | Signature | Date |
| --- | --- | --- |

CONTRACTOR’S SAFETY, HEALTH AND ENVIRONMENTAL DECLARATION

| PROJECT TITLE |  |
| --- | --- |
| BID NO. |  |

INTRODUCTION

In terms of regulation 4(4) of the Construction Regulations of July 2003 a Contractor may only be appointed to perform construction work if the client is satisfied that the Contractor has the necessary competencies and resources to carry out the work safely in accordance with the Occupational Health and Safety Act, Act 85 of 1993 and the Construction Regulations of July 2003. In line with this requirement the Contractor is required to read through this document carefully, sign it and submit it with his/her Bid.

DECLARATION

- I, the undersigned hereby declare and confirm that I am fully conversant with the Occupational Health  and Safety Act, Act 85 of 1993 and the Construction Regulations of July 2003 and the generic construction safety,

Health and Environmental Specifications.

- I hereby declare that my company and its employees has the necessary competency and resources to safety

carry out the construction works under this contract in compliance with the Occupational Health and Safety Act,

Act 85 of 1993, the Construction Regulations of July 2003 and the Generic Construction safety, Health and

Environmental Specifications.

- I hereby confirm that adequate provisions have been made in my Bid to cover the cost of all safety. Health and

Environmental duties and responsibilities imposed on me by the Occupational Health and Safety Act, Act 85 of

1993, the Construction Regulations of July 2003 and the Generic Construction safety, Health and Environmental

Specifications.

- I hereby undertake that if my Bid is accepted, to provide before commencement of the Works under the contract or as required by the Conditions of the Contract, a suitable and sufficiently documented Construction safety Health and Environmental Management Plan in accordance with Regulations 5(1) of the Construction Regulations of July 2003, which shall be subject to approval by the client.

- I confirm that I may not commence with any part of construction work under the contract until my Construction Safety Health and Environmental Management Plan has been approved in writing by the Client.

- I hereby confirm that copies of the following documentation will be kept on site for viewing and inspection purposes for the duration of the construction work:

  - Client’s Construction Safety, Health and Environmental Specification

  - Approved Construction Safety, Health and Environmental Plan

  - Occupational Health and safety Act, Act 85 of 1993.

  - Construction Regulations of July 2003

- I agree that my failure to complete and execute this declaration to the satisfaction of the client will mean that I am unable to comply with the requirements of the Occupational Health and Safety Act, Act 85 of 1993, the Construction Regulations of July 2003, and accept that my Bid will be rejected.

Duly signed at………………………………………………on this the……..day of………………………………………201….

______________________________________              __________________________________________________

Full name of signatory                                                       Name of enterprise

______________________________________             __________________________________________________

Capacity of signatory                                                          Signature of authorized representative

APPENDIX 1

DETAILS FOR COMPLETION OF AN ENVELOPE FOR A BID/QUOTATION

Section 1 paragraph 6 of this bid/quotation document indicates the requirements for addressing of an envelope when a bid/quotation is submitted to the Department. Kindly ensure the envelope is addressed correctly because if it is not properly addressed the bid/quotation may be rejected as being invalid and returned to the respective bidder. The correct manner in which it is to be addressed is detailed below:

EXAMPLE FORMAT

FRONT SIDE OF ENVELOPE Name and address of bidder: XYZ Consultants, PO Box 1234, Durban 4000 Bid/Quotation Number: ZNT 2021/2016 LG Description: PANEL OF SERVICE PROVIDERS TO RENDER PROFESSIONAL ENGINEERING SERVICES FOR THE KZN COGTA FUNDED PROJECTS OVER A 3 YEAR PERIOD Closing date: 12 SEPTEMBER 2017 Closing time: 11:00

REVERSE SIDE OF ENVELOPE Department’s details and address: The Head: Supply Chain Management Department of Co-operative Governance and Traditional Affairs 13th Floor, North Tower Natalia Building 330 Langalibalele Street Pietermaritzburg 3201

APPENDIX 2

RETURNABLE DOCUMENTS

BIDDERS ARE REQUIRED TO ATTACH THE FOLLOWING DOCUMENT TOGETHER WITH THEIR PROPOSAL ON THE CLOSIND DATE OF THE BID:

CERTIFIED COPY OF B-BBEE STATUS VERIFICATION CERTIFICATE

VALID ORIGINAL TAX CLEARANCE CERTIFICATE / STATUS PIN VALID FOR 12 MONTHS

COMPANY PROFILE

PROOF OF REGISTRATION WITH CENTRAL SUPPLIER DATABASE (CSD)

CERTIFFIED COPIES OF DIRECTORS OF THE COMPANY

CERTIFIED COPY OF CIPRO REGISTRATION

ANNEXURE “B”

GENERAL CONDITIONS OF CONTRACT

THE NATIONAL TREASURY

Republic of South Africa

_____________________________________________________________________

GOVERNMENT PROCUREMENT:

GENERAL CONDITIONS OF CONTRACT

July 2010

NOTES

The purpose of this document is to:

(i) Draw special attention to certain general conditions applicable to government bids, contracts and orders; and

(ii)To ensure that clients be familiar with regard to the rights and obligations of all parties involved in doing                  business with government.

In this document words in the singular also mean in the plural and vice versa and words in the masculine also mean in the feminine and neuter.

1. The General Conditions of Contract will form part of all bid documents and may not be amended.

2. Special Conditions of Contract (SCC) relevant to a specific bid, should be compiled separately for every bid (if

(applicable) and will supplement the General Conditions of Contract. Whenever there is a conflict, the provisions in the SCC shall prevail.

GENERAL CONDITIONS OF CONTRACT

TABLE OF CLAUSES

1. Definitions

2. Application

3. General

4. Standards

5. Use of contract documents and information; inspection

6. Patent rights

7. Performance security

8. Inspections, tests and analysis

9. Packing

10. Delivery and documents

11. Insurance

12. Transportation

13. Incidental services

14. Spare parts

15. Warranty

16. Payment

17. Prices

18. Contract amendments

19. Assignment

20. Subcontracts

21. Delays in the supplier’s performance

22. Penalties

23. Termination for default

24. Dumping and countervailing duties

25. Force Majeure

26. Termination for insolvency

27. Settlement of disputes

28. Limitation of liability

29. Governing language

30. Applicable law

31. Notices

32. Taxes and duties

33. National Industrial Participation Programme (NIPP)

34. Prohibition of restrictive practices

# Footnotes

A copy of the complete document set containing the General Conditions of Contract is available on www.kzncogta.gov.za/bids

# Text boxes

# Bid No. : ZNT 2046/2017 LG

……………………………………….

SIGNATURE(S) OF BIDDERS(S)

DATE:		…………………………………..

ADDRESS	…………………………………..

…………………………………..

…………………………………..

WITNESSES

- ……………………………………..

- …………………………………….