INVITATION TO BID

DESCRIPTION:. APPOINTMENT OF A PANEL OF SERVICE PROVIDERS TO SUPPLY AND INSTALL LIGHNING CONDUCTORS IN THE PROVINCE FOR A PERIOD OF 3 YEARS

COMPANY NAME 	: ________________________________________________________

Type of Bidder (Tick One Box)

| One-person Business/Sole Trader |  |
| --- | --- |
| Close corporation |  |
| PTY (Ltd) |  |
| Private Company |  |
| Partnership |  |
| Consortium/Joint Venture |  |
| Co-operative |  |

Participation Capacity (Tick One Box)

| Prime Contractor |  |
| --- | --- |
| Supplier/Sub-Contractor |  |

---------------------------------------------------------------------------------------------------------------------------

RETURN OF PROPOSAL

Proposal must be deposited in the Bid box situated at Department of Co-operative Governance and Traditional Affairs, Lift Area, 13th floor, North Tower, Natalia Building. 330 Langalibalele Street, Pietermaritzburg,3201 or received by post to The Senior Manager: Supply Chain Management, Private Bag

X 9078, Pietermaritzburg, 3200 Tel: (033) 395 3134 before 11h00 on 15 JANUARY 2019

A compulsory Site Inspection will take place on 07 December 2018 at 09:00 am at 121 CHIEF ALBERT LUTHULI STREET, CAPITAL TOWERS 3rd FLOOR, BOARDROOM 309, PIETERMARITZBURG.

TABLE OF CONTENTS

| SECTION | CONTENTS | PAGE |
| --- | --- | --- |
|  | Part A | Invitation to Bid | 3 |
|  | Part B | Terms and Conditions for Bidding | 4 |
|  | Section: A | Invitation to Bid | 5-7 |
|  | Section: B | Tax Clearance Certificate Requirement | 8 |
|  | Section: C | Special Instructions and Notices to Bidders regarding the completion of Bidding Forms | 9 |
|  | Section: D | Declaration that Information on Provincial Supplier Database is Correct and up to date. | 10 |
|  | Section: E | Declaration of Interest | 11-13 |
|  | Section: F | Preference Points Claim Form in Terms of the Preferential Procurement Regulations 2011 | 14-18 |
|  | Section: G | Conditions of bid | 19 |
|  | Section H | Price Page | 20-21 |
|  | Section: I | Authority to Sign a Bid | 22-26 |
|  | Section: J | Declaration of Bidders Past Supply Chain Management Practices. | 27 |
|  | Section: K | Certificate of Independent Bid Determination | 28-30 |
|  | Section: L | Special Conditions Of Contract | 31-37 |
|  | Section : M | Official briefing session/site inspection certificate | 38 |
|  | Annexure: A | Specification | 39-48 |
|  | Appendix 1 | Details for completion | 49 |
|  | Appendix 2 | Returnable Documents | 50 |
|  | Appendix 3 | Contract Form - Rendering of Services | 51-52 |
|  | Annexure B | General Conditions of Contract | 53-58 |

PART A

INVITATION TO BID

| YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF THE (NAME OF DEPARTMENT/ PUBLIC ENTITY) |
| --- |
| BID NUMBER: | ZNT 1911/2018 LG | CLOSING DATE: | 15 JANUARY 2018 | CLOSING TIME: | 11:00 |
| DESCRIPTION | APPOINTMENT OF A PANEL OF SERVICE PROVIDERS TO SUPPLY AND INSTALL LIGHNING CONDUCTORS IN THE PROVINCE FOR A PERIOD OF 3 YEARS |
| THE SUCCESSFUL BIDDER WILL BE REQUIRED TO FILL IN AND SIGN A WRITTEN CONTRACT FORM (SBD7). |
| BID RESPONSE DOCUMENTS MAY BE DEPOSITED IN THE BID BOX SITUATED AT (STREET ADDRESS) |  |  |
| 330 LANGALIBALELE STREET |
| 13TH FLOOR LIFT AREA NORTH TOWER |
| NATALIA BUILDING |
| PIETERMARITZBURG |
| SUPPLIER INFORMATION |
| NAME OF BIDDER |  |
| POSTAL ADDRESS |  |
| STREET ADDRESS |  |
| TELEPHONE NUMBER | CODE |  | NUMBER |  |
| CELLPHONE NUMBER |  |
| FACSIMILE NUMBER | CODE |  | NUMBER |  |
| E-MAIL ADDRESS |  |
| VAT REGISTRATION NUMBER |  |
|  | TCS PIN: |  | OR | CSD No: |  |
| B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE [TICK APPLICABLE BOX] | Yes No | B-BBEE STATUS LEVEL SWORN AFFIDAVIT | Yes No |
| IF YES, WHO WAS THE CERTIFICATE ISSUED BY? |  |
| AN ACCOUNTING OFFICER AS CONTEMPLATED IN THE CLOSE CORPORATION ACT (CCA) AND NAME THE APPLICABLE IN THE TICK BOX |  | AN ACCOUNTING OFFICER AS CONTEMPLATED IN THE CLOSE CORPORATION ACT (CCA) |
|  |  | A VERIFICATION AGENCY ACCREDITED BY THE SOUTH AFRICAN ACCREDITATION SYSTEM (SANAS) |
|  |  | A REGISTERED AUDITOR |
|  |  | NAME: |
| [A B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE/SWORN AFFIDAVIT(FOR EMEs& QSEs) MUST BE SUBMITTED IN ORDER TO QUALIFY FOR PREFERENCE POINTS FOR B-BBEE] |
| ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS /SERVICES /WORKS OFFERED? | Yes No [IF YES ENCLOSE PROOF] | ARE YOU A FOREIGN BASED SUPPLIER FOR THE GOODS /SERVICES /WORKS OFFERED? | Yes No [IF YES ANSWER PART B:3 BELOW ] |
| SIGNATURE OF BIDDER | ……………………………… | DATE |  |
| CAPACITY UNDER WHICH THIS BID IS SIGNED (Attach proof of authority to sign this bid; e.g. resolution of directors, etc.) |  |
| TOTAL NUMBER OF ITEMS OFFERED |  | TOTAL BID PRICE (ALL INCLUSIVE) |  |
| BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO: | TECHNICAL INFORMATION MAY BE DIRECTED TO: |
| DEPARTMENT/ PUBLIC ENTITY | Department of COGTA | CONTACT PERSON | Mr Jonty Ndlazi |
| CONTACT PERSON | Ms Lindiwe Madlala | TELEPHONE NUMBER | 033 846 9006 |
| TELEPHONE NUMBER | 033 395 2174 | FACSIMILE NUMBER |  |
| FACSIMILE NUMBER |  | E-MAIL ADDRESS | jonty.ndlazi@kzncogta.gov.za |
| E-MAIL ADDRESS | Lindiwe.madlala@kazncogta.gov.za |  |

PART B

TERMS AND CONDITIONS FOR BIDDING

BID SUBMISSION:

BIDS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE BIDS WILL NOT BE ACCEPTED FOR CONSIDERATION. ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED–(NOT TO BE RE-TYPED) OR ONLINE BIDDERS MUST REGISTER ON THE CENTRAL SUPPLIER DATABASE (CSD) TO UPLOAD MANDATORY INFORMATION NAMELY: ( BUSINESS REGISTRATION/ DIRECTORSHIP/ MEMBERSHIP/IDENTITY NUMBERS; TAX COMPLIANCE STATUS; AND BANKING INFORMATION FOR VERIFICATION PURPOSES). B-BBEE CERTIFICATE OR SWORN AFFIDAVIT FOR B-BBEE MUST BE SUBMITTED TO BIDDING INSTITUTION. WHERE A BIDDER IS NOT REGISTERED ON THE CSD, MANDATORY INFORMATION NAMELY: (BUSINESS REGISTRATION/ DIRECTORSHIP/ MEMBERSHIP/IDENTITY NUMBERS; TAX COMPLIANCE STATUS MAY NOT BE SUBMITTED WITH THE BID DOCUMENTATION. B-BBEE CERTIFICATE OR SWORN AFFIDAVIT FOR B-BBEE MUST BE SUBMITTED TO BIDDING INSTITUTION. THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT 2000 AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2017, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER LEGISLATION OR SPECIAL CONDITIONS OF CONTRACT.

TAX COMPLIANCE REQUIREMENTS

BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS. BIDDERS ARE REQUIRED TO SUBMIT THEIR UNIQUE PERSONAL IDENTIFICATION NUMBER (PIN) ISSUED BY SARS TO ENABLE THE ORGAN OF STATE TO VIEW THE TAXPAYER’S PROFILE AND TAX STATUS. APPLICATION FOR TAX COMPLIANCE STATUS (TCS) OR PIN MAY ALSO BE MADE VIA E-FILING. IN ORDER TO USE THIS PROVISION, TAXPAYERS WILL NEED TO REGISTER WITH SARS AS E-FILERS THROUGH THE WEBSITE WWW.SARS.GOV.ZA. BIDDERS MAY ALSO SUBMIT A PRINTED TCS TOGETHER WITH THE BID. IN BIDS WHERE CONSORTIA / JOINT VENTURES / SUB-CONTRACTORS ARE INVOLVED, EACH PARTY MUST SUBMIT A SEPARATE PROOF OF TCS / PIN / CSD NUMBER. WHERE NO TCS IS AVAILABLE BUT THE BIDDER IS REGISTERED ON THE CENTRAL SUPPLIER DATABASE (CSD), A CSD NUMBER MUST BE PROVIDED.

QUESTIONNAIRE TO BIDDING FOREIGN SUPPLIERS

IS THE BIDDER A RESIDENT OF THE REPUBLIC OF SOUTH AFRICA (RSA)? YES NO DOES THE BIDDER HAVE A BRANCH IN THE RSA? YES NO DOES THE BIDDER HAVE A PERMANENT ESTABLISHMENT IN THE RSA? YES NO DOES THE BIDDER HAVE ANY SOURCE OF INCOME IN THE RSA? YES NO IF THE ANSWER IS “NO” TO ALL OF THE ABOVE, THEN, IT IS NOT A REQUIREMENT TO OBTAIN A TAX COMPLIANCE STATUS / TAX COMPLIANCE SYSTEM PIN CODE FROM THE SOUTH AFRICAN REVENUE SERVICE (SARS) AND IF NOT REGISTER AS PER 2.3 ABOVE.

NB: FAILURE TO PROVIDE ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID INVALID.

SBD 1

STANDARD BID DOCUMENTATION

SECTION A

INVITATION TO BID

YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF THE DEPARTMENT OF CO-OPERATIVE GOVERNANCE AND TRADITIONAL AFFAIRS

| BID NUMBER: | ZNT 1911/2018 LG | CLOSING DATE: | 15/01/2019 | CLOSING TIME: | 11:00 |
| --- | --- | --- | --- | --- | --- |

DESCRIPTION: APPOINTMENT OF A PANEL OF SERVICE PROVIDERS TO SUPPLY AND INSTALL LIGHNING CONDUCTORS IN THE PROVINCE FOR A PERIOD OF 3 YEARS

CONTRACT PERIOD: 3 YEARS

VALIDITY PERIOD: 120 DAYS

The successful bidder will be required to fill in and sign a written Contract Form (SBD 13.2)

| BID DOCUMENTS MAY BE POSTED TO: The Head SCM Unit, Department Co-operative Governance and Traditional Affairs, Private Bag X9078, Pietermaritzburg, 3200 | NOTE: THE POST IS CLEARED FROM THE PIETERMARITZBURG POST OFFICE BEFORE 10:00 ON DUE DATE |
| --- | --- |

OR

| BID DOCUMENTS DELIVERED BY HAND MUST BE DEPOSITED IN THE BID BOX SITUATED AT: Department of Co-operative Governance and Traditional Affairs, Lift Area, 13th floor, North Tower, Natalia Building. 330 Langalibalele Street, Pietermaritzburg | THE BID BOX IS AVAILABLE ON THE FOLLOWING DAYS AND TIME: MONDAY TO FRIDAY (EXCLUDING PUBLIC HOLIDAYS) 08:00 TO 16:00 |
| --- | --- |

Bidders should ensure that bids are delivered timeously to the correct address. If the bid is late, it will not be accepted for consideration.

# ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS – (NOT TO BE RE-TYPED)

THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2011, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT.

THE FOLLOWING PARTICULARS MUST BE FURNISHED (FAILURE TO DO SO WILL RESULT IN YOUR BID BEING DISQUALIFIED)

NAME OF BIDDER……………………………………………………………………………………………………………

PROVINCIAL SUPPLIER DATABASE REGISTRATION NO: ......................................................................................................................

POSTAL ADDRESS……………………………………………………………………………………………………………

STREET ADDRESS……………………………………………………………………………………………………………

TELEPHONE NUMBER	CODE……………NUMBER……………………………………………………………………………

### CELLPHONE NUMBER	……………………………………………………………………………………………………………

FACSIMILE NUMBER	CODE…………NUMBER……………………………………………………………………………

E-MAIL ADDRESS……………………………………………………………………………………………………………

VAT REGISTRATION NUMBER……………………………………………………………………………………………………………

HAS AN ORIGINAL AND VALID TAX CLEARANCE CERTIFICATE BEEN SUBMITTED? (Section B)    YES (	NO	(

HAS A B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE BEEN SUBMITTED? (Section F)               YES 	(	NO    (

IF YES, WHO WAS THE CERTIFICATE ISSUED BY?

[TICK APPLICABLE BOX]

AN ACCOUNTING OFFICER AS CONTEMPLATED IN THE CLOSE CORPORATION ACT (CCA)…….…………….………………. .(

A VERIFICATION AGENCY ACCREDITED BY THE SOUTH AFRICAN ACCREDITATION SYSTEM (SANAS); OR………………… (

A REGISTERED AUDITOR ………………………………...……….. (

(A B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE MUST BE SUBMITTED IN ORDER TO QUALIFY FOR PREFERENCE POINTS FOR B-BBEE)

#### ARE YOU THE ACCREDITED REPRESENTATIVE

IN SOUTH AFRICA FOR THE GOODS / SERVICES / WORKS OFFERED?			YES 	(	NO  (

[IF YES ENCLOSE PROOF]

SIGNATURE OF BIDDER …………………………………………………………………………………………………………..

DATE………………………CAPACITYUNDER WHICH THIS BID IS SIGNED	…………………………………………

TOTAL BID PRICE: R…………………………………………………………………………………………………………………………………..

___________________________________________________________________________________________________________

ANY ENQUIRIES REGARDING THE BIDDING PROCEDURE MAY BE DIRECTED TO:

Department:   Co-operative Governance and Traditional Affairs

Contact Person:    Ms Lindiwe Madlala

Tel:  033 395 2174

Fax:   086 642 8873/ 033 342 8830

Email: lindiwe.madlala@kzncogta.gov.za

ANY ENQUIRIES REGARDING SPECIFICATION INFORMATION MAY BE DIRECTED TO:

Contact Person: Mr Jonty Ndlazi

Unit: Provincial Disaster Management Centre

Tel:  033 846 9006

Cel: ………………………………….

Email: jonty.ndlazi@kzncogta.gov.za

SECTION B (SBD 2

TAX CLEARANCE CERTIFICATE REQUIREMENTS

It is a condition of bid that the taxes of the successful bidder must be in order, or that

satisfactory arrangements have been made with South African Revenue Service (SARS) to meet the bidder’s tax obligations.

1 In order to meet this requirement bidders are required to complete in full the attached form TCC 001

“Application for a Tax Clearance Certificate” and submit it to any SARS branch office nationally. The Tax

Clearance Certificate Requirements are also applicable to foreign bidders / individuals who wish to submit

bids.

2 SARS will then furnish the bidder with a Tax Clearance Certificate that will be valid for a period of 1 (one) year from the date of approval.

3 The original Tax Clearance Certificate must be submitted together with the bid. Failure to submit the original

and valid Tax Clearance Certificate will result in the invalidation of the bid. Certified copies of the Tax

Clearance Certificate will not be acceptable.

4 In bids where Consortia / Joint Ventures / Sub-contractors are involved, each party must submit a separate

Tax Clearance Certificate.

5 Copies of the TCC 001 “Application for a Tax Clearance Certificate” form are available from any SARS branch office nationally or on the website www.sars.gov.za.

6 Applications for the Tax Clearance Certificates may also be made via eFiling. In order to use this provision,

taxpayers will need to register with SARS as eFilers through the website www.sars.gov.za.

Jeyrel:\Mdk416-SBD2 tax clearance

# I HAVE READ, UNDERSTOOD AND COMPLY WITH THE SPECIAL INSTRUCTIONS ABOVE:

……………………………………………………………………………		………………………..

SURNAME AND INITIALS OF COMPANY REPRESENTATIVE			DATE

……………………………..

SIGNATURE

SECTION C (SBD 3)

SPECIAL INSTRUCTIONS AND NOTICES TO BIDDERS REGARDING THE

COMPLETION OF BIDDING FORMS

PLEASE NOTE THAT THIS BID IS SUBJECT TO TREASURY REGULATIONS 16A ISSUED

IN TERMS OF THE PUBLIC FINANCE MANAGEMENT ACT, 1991, THE KWAZULU-NATAL

SUPPLY CHAIN MANAGEMENT POLICY FRAMEWORK AND THE GENERAL CONDITIONS

OF CONTRACT.

1. 	Unless inconsistent with or expressly indicated otherwise by the context, the singular shall include the plural and visa versa and with words importing the masculine gender shall include the feminine and the neuter.

2. 	Under no circumstances whatsoever may the bid forms be retyped or redrafted.

Photocopies of the original bid documentation may be used, but an original signature must appear on such photocopies.

3. 	The bidder is advised to check the number of pages and to satisfy himself that none are missing or duplicated.

4.	 Bids submitted must be complete in all respects.

5. 	Bids shall be lodged at the address indicated not later than the closing time specified for their receipt, and in accordance with the directives in the bid documents.

6. 	Each bid shall be addressed in accordance with the directives in the bid documents and shall be lodged in a separate sealed envelope, with the name and address of the bidder, the bid number and closing date indicated on the envelope. The envelope shall not contain documents relating to any bid other than that shown on the envelope. If this provision is not complied with, such bids may be rejected as being invalid.

7. 	All bids received in sealed envelopes with the relevant bid numbers on the envelopes are kept unopened in safe custody until the closing time of the bids. Where, however, a bid is received open, it shall be sealed. If it is received without a bid number on the envelope, it shall be opened, the bid number ascertained, the envelope sealed and the bid number written on the envelope.

8. 	A specific box is provided for the receipt of bids, and no bid found in any other box or elsewhere subsequent to the closing date and time of bid will be considered.

9. 	No bid sent through the post will be considered if it is received after the closing date and time stipulated in the bid documentation, and proof of posting will not be accepted as proof of delivery.

10. 	No bid submitted by telefax, telegraphic or other electronic means will be considered.

11. 	Bidding documents must not be included in packages containing samples. Such bids may be rejected as being invalid.

12. 	Any alteration made by the bidder must be initialed.

13. 	Use of correcting fluid is prohibited

14. 	Bids will be opened in public as soon as practicable after the closing time of bid.

15. 	Where practical, prices are made public at the time of opening bids.

16. 	If it is desired to make more than one offer against any individual item, such offers should be given on a photocopy of the page in question. Clear indication thereof must be stated on the schedules attached.

SECTION D

REGISTRATION ON THE CENTRAL SUPPLIERS DATABASE

- In terms of the KwaZulu-Natal Supply Chain Management Policy Framework, all suppliers of goods and services to the Province of KwaZulu-Natal are required to register on the Central Suppliers Database.

- If you wish to apply for registration, forms may be downloaded from the website, http://www.kzntreasury.gov.za, (click on “Document Library” and then choose “Forms”) or obtained by phoning the toll free number 0800 201 049.  This number is also available for general enquiries relating to Provincial supply chain management issues.

- If a business is registered on the Database and it is found subsequently that false or incorrect information has been supplied, then the Department may, without prejudice to any other legal rights or remedies it may have;

3.1	de-register the supplier from the Database,

3.2	cancel a bid or a contract awarded to such supplier, and the supplier would become liable for any damages if a less favourable bid is accepted or less favourable arrangements are made.

- The same principles as set out in paragraph 3 above are applicable should the supplier fail to request updating of its information on the Suppliers Database, relating to changed particulars or circumstances.

DECLARATION THAT INFORMATION ON CENTRAL SUPPLIER DATABASE IS

CORRECT AND UP TO DATE

(To be completed by bidder)

THIS IS TO CERTIFY THAT I (name of bidder/authorized representative)

………………………………………………………………………………………………………………………..

WHO REPRESENTS (state name of bidder)…………………………………………………………………….

AM AWARE OF THE CONTENTS OF THE KWAZULU-NATAL SUPPLIER DATABASE WITH RESPECT TO THE BIDDER’S DETAILS AND REGISTRATION INFORMATION, AND THAT THE SAID INFORMATION IS CORRECT AND UP TO DATE AS ON THE DATE OF

SUBMITTING THIS BID.

AND I AM AWARE THAT INCORRECT OR OUTDATED INFORMATION MAY BE A CAUSE

FOR DISQUALIFICATION OF THIS BID FROM THE BIDDING PROCESS, AND/OR

POSSIBLE CANCELLATION OF THE CONTRACT THAT MAY BE AWARDED ON THE BASIS OF THIS BID.

KZN CENTRAL TREASURY DATABASE NO…………………………………………………….

.......................................................................

SIGNATURE OF BIDDER OR AUTHORISED REPRESENTATIVE

DATE :....................................................

SECTION E (SBD 4)

DECLARATION OF INTEREST

1.	Any legal person, including persons employed by the state¹, or persons having a kinship with persons employed by the state, including a blood relationship, may make an offer or offers in terms of this invitation to bid (includes an advertised competitive bid, a limited bid, a proposal or written price quotation).  In view of possible allegations of favouritism, should the resulting bid, or part thereof, be awarded to persons employed by the state, or to persons connected with or related to them, it is required that the bidder or his/her authorised representative declare his/her position in relation to the evaluating/adjudicating authority where-

-	the bidder is employed by the state; and/or

-	the legal person on whose behalf the bidding document is signed, has a relationship with persons/a person who are/is involved in the evaluation and or adjudication of the bid(s), or where it is known that such a relationship exists between the person or persons for or on whose behalf the declarant acts and persons who are involved with the evaluation and or adjudication of the bid.

2.	In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

2.1	Full Name of bidder or his or her representative:  ………………………………………………………………………………..

  - Identity Number:………………………………………………………………………………………………………......................

  - Position occupied in the Company (director, trustee, shareholder², member): ………………………………………………..

  - Registration number of company, enterprise, close corporation, partnership agreement or trust:  …………………………

  - Tax Reference Number:  ……………………………………………………………………………………………………………..

  - VAT Registration Number:  ………………………………………………………………………………………...........................

2.6.1	The names of all directors / trustees / shareholders / members, their individual identity numbers, tax reference numbers and, if applicable, employee / PERSAL numbers must be indicated in paragraph 3 below.

¹“State” means –

(a)	any national or provincial department, national or provincial public entity or constitutional institution within the meaning of the Public Finance Management Act, 1991 (Act No. 1 of 1991);

(b)	any municipality or municipal entity;

(c)	provincial legislature;

(d)	national Assembly or the national Council of provinces; or

(e)	Parliament.

²”Shareholder” means a person who owns shares in the company and is actively involved in the management of the enterprise or business and exercises control over the enterprise.

2.7 	Are you or any person connected with the bidder		        	YES 	(	NO	(

presently employed by the state?

    - If so, furnish the following particulars:

Name of person / director / trustee / shareholder/ member:        ……....……………………………………………………….

Name of state institution at which you or the person …………………………………………………………………………….

connected to the bidder is employed :      ………………………………………………………………………………………..

Position occupied in the state institution:			        ………………………………………………………..

Any other particulars:			……………………………………………………………………………………

    - If you are presently employed by the state, did you obtain		YES 	(	NO	(

the appropriate authority to undertake remunerative

work outside employment in the public sector?

      - If yes, did you attach proof of such authority to the bid document?	YES 	(	NO	(

(Note: Failure to submit proof of such authority, where

applicable, may result in the disqualification of the bid.

      - If no, furnish reasons for non-submission of such proof:

…………………………………………………………………….

…………………………………………………………………….

…………………………………………………………………….

  - Did you or your spouse, or any of the company’s directors / 		YES 	(	NO	(

trustees / shareholders / members or their spouses conduct

business with the state in the previous twelve months?

    - If so, furnish particulars:

…………………………………………………………………..

…………………………………………………………………..

…………………………………………………………………...

  - Do you, or any person connected with the bidder, have		YES 	(	NO	(

any relationship (family, friend, other) with a person

employed by the state and who may be involved with

the evaluation and or adjudication of this bid?

2.9.1	If so, furnish particulars.

……………………………………………………………...

…………………………………………………………..….

………………………………………………………………

2.10        Are you, or any person connected with the bidder,			YES 	(	NO	(

aware of any relationship (family, friend, other) between

any other bidder and any person employed by the state

who may be involved with the evaluation and or adjudication

of this bid?

2.10.1   If so, furnish particulars.

………………………………………………………………

………………………………………………………………

………………………………………………………………

2.11	Do you or any of the directors / trustees / shareholders / members 	YES 	(	NO	(

of the company have any interest in any other related companies

whether or not they are bidding for this contract?

2.11.1	If so, furnish particulars:

…………………………………………………………………………….

…………………………………………………………………………….

…………………………………………………………………………….

# Full details of directors / trustees / members / shareholders.

| Full Name | Identity Number | Personal Income Tax Reference Number | State Employee Number / Persal Number |
| --- | --- | --- | --- |

# 4	DECLARATION

I, THE UNDERSIGNED (NAME)………………………………………………………………………

CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 2 and 3 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME SHOULD THIS  DECLARATION PROVE TO BE FALSE.

…………………………………..	 ..……………………………………………

Signature	                  Date

………………………………….	………………………………………………

Position                                                                   Name of bidder

## SECTION F

PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2017

This preference form must form part of all bids invited.  It contains general information and serves as a claim form for preference points for Broad-Based Black Economic Empowerment (B-BBEE) Status Level of Contribution

NB:	BEFORE COMPLETING THIS FORM, BIDDERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF B-BBEE, AS PRESCRIBED IN THE PREFERENTIAL PROCUREMENT REGULATIONS, 2017.

- GENERAL CONDITIONS

  - The following preference point systems are applicable to all bids:

- the 80/20 system for requirements with a Rand value of up to R50 000 000.00 (all applicable taxes included); and

a) The value of this bid is estimated to not exceed R50 000 000.00 (all applicable taxes included) and therefore the (80/20) preference point system shall be applicable; or

  - Points for this bid shall be awarded for:

- Price; and

- B-BBEE Status Level of Contributor.

  - The maximum points for this bid are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE | 80 |
| B-BBEE STATUS LEVEL OF CONTRIBUTOR | 20 |
| Total points for Price and B-BBEE must not exceed | 100 |

  - Failure on the part of a bidder to submit proof of B-BBEE Status level of contributor together with the bid, will be interpreted to mean that preference points for B-BBEE status level of contribution are not claimed.

  - The purchaser reserves the right to require of a bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the purchaser.

- DEFINITIONS

- “B-BBEE” means broad-based black economic empowerment as defined in section 1 of the Broad-Based Black Economic Empowerment Act;

- “B-BBEE status level of contributor” means the B-BBEE status of an entity in terms of a code of good practice on black economic empowerment, issued in terms of section 9(1) of the Broad-Based Black Economic Empowerment Act;

- “bid” means a written offer in a prescribed or stipulated form in response to an invitation by an organ of state for the provision of goods or services, through price quotations, advertised competitive bidding processes or proposals;

- “Broad-Based Black Economic Empowerment Act” means the Broad-Based Black Economic Empowerment Act, 2003 (Act No. 53 of 2003);

- “EME” means an Exempted Micro Enterprise in terms of a code of good practice  on black economic empowerment issued in terms of section 9 (1) of the Broad-Based Black Economic Empowerment Act;

- “functionality” means the ability of a tenderer to provide goods or services in accordance with specifications as set out in the tender documents.

- “prices” includes all applicable taxes less all unconditional discounts;

- “proof of B-BBEE status level of contributor” means:

- B-BBEE Status level certificate issued by an authorized body or person;

- A sworn affidavit as prescribed by the B-BBEE Codes of Good Practice;

- Any other requirement prescribed in terms of the B-BBEE Act;

- “QSE” means a qualifying small business enterprise in terms of a code of good practice  on black economic empowerment issued in terms of section 9 (1) of the Broad-Based Black Economic Empowerment Act;

- “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes;

- POINTS AWARDED FOR PRICE

  - THE 80/20  PREFERENCE POINT SYSTEMS

A maximum of 80 points is allocated for price on the following basis:

# 80/20

Where

Ps	=	Points scored for price of bid under consideration

Pt	=	Price of bid under consideration

Pmin	=	Price of lowest acceptable bid

- POINTS AWARDED FOR B-BBEE STATUS LEVEL OF CONTRIBUTOR

  - In terms of Regulation 6 (2) and 7 (2) of the Preferential Procurement Regulations, preference points must be awarded to a bidder for attaining the B-BBEE status level of contribution in accordance with the table below:

| B-BBEE Status Level of Contributor | Number of points (80/20 system) |
| --- | --- |
| 1 | 20 |
| 2 | 18 |
| 3 | 14 |
| 4 | 12 |
| 5 | 8 |
| 6 | 6 |
| 7 | 4 |
| 8 | 2 |
| Non-compliant contributor | 0 |

- BID DECLARATION

  - Bidders who claim points in respect of B-BBEE Status Level of Contribution must complete the following:

- B-BBEE STATUS LEVEL OF CONTRIBUTOR CLAIMED IN TERMS OF PARAGRAPHS 1.4 AND 4.1

  - B-BBEE Status Level of Contributor:	.      =     ………(maximum of 10 or 20 points)

(Points claimed in respect of paragraph 7.1 must be in accordance with the table reflected in paragraph  4.1 and must be substantiated by relevant proof of B-BBEE status level of contributor.

- SUB-CONTRACTING

  - Will any portion of the contract be sub-contracted?

(Tick applicable box)

| YES |  | NO |  |
| --- | --- | --- | --- |

    - If yes, indicate:

- What percentage of the contract will be subcontracted............…………….…………%

- The name of the sub-contractor…………………………………………………………..

- The B-BBEE status level of the sub-contractor......................................……………..

- Whether the sub-contractor is an EME or QSE

(Tick applicable box)

| YES |  | NO |  |
| --- | --- | --- | --- |

- Specify, by ticking the appropriate box, if subcontracting with an enterprise in terms of Preferential Procurement Regulations,2017:

| Designated Group: An EME or QSE which is at last 51% owned by: | EME √ | QSE √ |
| --- | --- | --- |
| Black people |  |  |
| Black people who are youth |  |  |
| Black people who are women |  |  |
| Black people with disabilities |  |  |
| Black people living in rural or underdeveloped areas or townships |  |  |
| Cooperative owned by black people |  |  |
| Black people who are military veterans |  |  |
| OR |
| Any EME |  |  |
| Any QSE |  |  |

- DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm:…………………………………………………………………………….

  - VAT registration number:……………………………………….…………………………………

  - Company registration number:…………….……………………….…………………………….

  - TYPE OF COMPANY/ FIRM

(	Partnership/Joint Venture / Consortium

(	One person business/sole propriety

(	Close corporation

(	Company

(	(Pty) Limited

[Tick applicable box]

  - DESCRIBE PRINCIPAL BUSINESS ACTIVITIES

…………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………..

  - COMPANY CLASSIFICATION

(	Manufacturer

(	Supplier

(	Professional service provider

(	Other service providers, e.g. transporter, etc.

[Tick applicable box]

  - Total number of years the company/firm has been in business:……………………………

  - I/we, the undersigned, who is / are duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the B-BBE status level of contributor indicated in paragraphs 1.4 and 6.1 of the foregoing certificate, qualifies the company/ firm for the preference(s) shown and I / we acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 6.1, the contractor may be required to furnish documentary proof to the satisfaction of the purchaser that the claims are correct;

- If the B-BBEE status level of contributor has been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the purchaser may, in addition to any other remedy it may have –

  - disqualify the person from the bidding process;

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

  - recommend that the bidder or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted by the National Treasury from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution.

OWNERS/SHAREHOLDERS/PARTNERS/SOLE PROPRPRIETORS/TRUSTEES / BENEFIFICARIES.

(This information is required for statistical purposes only)

| FULL NAME | ID NUMBER | CAPACITY : MEMBER/PARTNER/ PROPRIETOR/SHARE-HOLDER/TRUSTEE/ BENEFICIARY | % OWNERSHIP/ PARTNERSHIP/TRUST/ CO-OPERATIVE | MALE/ FEMALE | HANDI- CAPPED YES/NO | AFRICAN (A) / COLOURED (C) / INDIAN (I) WHITE (W) | YOUTH YES/NO | % OF TIME DEVOTED TO THE FIRM |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

SECTION G

CONDITIONS OF BID

1.	I/We hereby bid to supply all or any of the supplies and/or to render all or any of the services described in the attached documents to the KwaZulu-Natal Provincial Administration (hereinafter called the “Province”) on the terms and conditions and be in accordance with the specifications stipulated in the bid documents (and which shall be taken as part of and be incorporated into this bid) at the prices and on the terms regarding time for delivery and/or execution inserted therein.

2.	I/we agree that:

(a)	the offer herein shall remain binding upon me and open for acceptance by the Province during the validity period indicated and calculated from the closing time of the bid;

(b)	this bid and its acceptance shall be subject to Treasury Regulations 16A issued in terms of the Public Finance Management Act, 1991, the KwaZulu-Natal Supply Chain Management Policy Framework, the Provincial Treasury issued Practice Notes, and the KwaZulu-Natal General Conditions of Contract, with which I/we am fully acquainted;

(c)	if I/we withdraw my bid within the period for which I/we have agreed that the bid shall remain open for acceptance, or fail to fulfil the contract when called upon to do so, the Province may, without prejudice to its other rights, agree to the withdrawal of my bid or cancel the contract that may have been entered into between me and the Province. I/we will then pay to the Province any additional expenses incurred by the Province having either to accept any less favourable bid or, if fresh bids have to be invited, the additional expenditure incurred by the invitation of fresh bids and by the subsequent acceptance of any less favourable bid.  The Province shall have the right to recover such additional expenditure by set-off against monies which may be due to me under this or any other bid or contract or against any guarantee or deposit that may have been furnished by me or on my behalf for the due fulfilment of this or any other bid or contract and pending the ascertainment of the amount of such additional expenditure to retain such monies, guarantee or deposit as security for any loss the Province may sustain by reason of my default;

(d)	if my bid is accepted, the acceptance may be communicated to me by registered post, and that the South African Post Office Limited shall be treated as delivery agent to me;

(e)	the law of the Republic of South Africa shall govern the contract created by the acceptance of my bid and I choose domicilium citandi et executandi in the Republic at (full physical address)

................................................................................................................................................

................................................................................................................................................

3.	I/we furthermore confirm that I/we have satisfied myself as to the correctness and validity of my bid: that the price(s), rate(s) and preference bid cover all of the work/item(s) and my obligations under a resulting contract, and I accept that any mistakes regarding the price(s) and calculations will be at my risk.

4.	I/we hereby accept full responsibility for the proper execution and fulfilment of all obligations and conditions devolving on me under this agreement, as the Principal(s) liable for the due fulfilment of this contract.

5.	I/we agree that any action arising from this contract may in all respects be instituted against me and I/we hereby undertake to satisfy fully any sentence or judgement which may be pronounced against me as a result of such action.

- I/we confirm that I/we have declared all and any interest that I or any persons related to my business has with regard to this bid or any related bids by completion of the Declaration of Interest Section.

SECTION H

PRICING PAGE – FIRM PRICES

(GOODS)

N.B.: This form must be completed in detail, signed by the Bidder and bear the signature of a witness.  Failure to comply with these requirements may result in the bid being disregarded.

CLOSING DATE AND TIME: 14/01/2019 @ 11:00 VALIDITY PERIOD:  120 DAYS

| BID NO: ZNT 1911/2018 LG PERIOD : 3 YEARS |
| --- |
| Item description: APPOINTMENT OF A PANEL OF SERVICE PROVIDERS TO SUPPLY AND INSTALL LIGHNING CONDUCTORS IN THE PROVINCE FOR A PERIOD OF 3 YEARS | NAME AND ADDRESS OF BIDDER(FIRM) ......................................................................… ......................................................................… ......................................................................… TEL:................................................................... FAX:................................................................… |
| DOES OFFER COMPLY WITH THE SPECIFICATION? If not, furnish details of deviation in space provided for “Remarks” | YES / NO (Delete which is not applicable) |
| TOTAL BID PRICE ** (ALL APPLICABLE TAXES INCLUDED) CATEGORY A : RDP HOUSE – WITHOUT CONDUCTIVE ROOF (TILED ROOF AND / ASBESTOS) – (20m² and less) | R |
| TOTAL BID PRICE ** (ALL APPLICABLE TAXES INCLUDED) CATEGORY B : RDP HOUSE – WITH CONDUCTIVE ROOF (TILED ROOF AND / ASBESTOS) – (20m² and less) |  |
| TOTAL BID PRICE ** (ALL APPLICABLE TAXES INCLUDED) CATEGORY C : TRADITIONAL HOMESTEAD (DEPENDS ON THE AREA OF THE YARD) |  |
| TOTAL BID PRICE ** (ALL APPLICABLE TAXES INCLUDED) CATEGORY D - Schools (20m2 and less) |  |
| TOTAL BID PRICE ** (ALL APPLICABLE TAXES INCLUDED) CATEGORY E : Cluster of Homesteads (Depending on the size of the area ) |  |
| REMARKS (If any): | .................................................…………………. (Signature of Bidder) DATE: …………………………………………. ..................................................................……… (Signature of Witness) DATE:.....................................................……….. |

NOTE:	ONLY FIRM PRICES WILL BE ACCEPTED. NON-FIRM PRICES (INCLUDING PRICES SUBJECT TO RATES OF EXCHANGE VARIATIONS) WILL NOT BE CONSIDERED

**all applicable taxes” includes  value- added tax, pay as you earn, income tax, unemployment insurance fund contributions and skills development levies.

SECTION I (SBD 7)

AUTHORITY TO SIGN A BID

A. COMPANIES

If a Bidder is a company, a certified copy of the resolution by the board of directors, personally signed by the chairperson of the board, authorizing the person who signs this bid to do so, as well as to sign any contract resulting from this bid and any other documents and correspondence in connection with this bid and/or contract on behalf of the company must be submitted with this bid, that is before the closing time and date of the bid

AUTHORITY BY BOARD OF DIRECTORS

By resolution passed by the Board of Directors on …......................................... 20............,Mr/Mrs …………………………………………………………………………………………………whose signature appears below) has been duly authorized to sign all documents in connection with this bid on behalf of (Name of Company).....................................................................................................

IN HIS/HER CAPACITY AS: ………......................................................................................................

SIGNED ON BEHALF OF COMPANY: ………………………………………………………………………

(PRINT NAME)

SIGNATURE OF SIGNATORY: ................................................... DATE: ...................................

WITNESSES: 	1 ..................................................

2 ..................................................

________________________________________

B. SOLE PROPRIETOR (ONE - PERSON BUSINESS)

I, the undersigned.............................................................................. hereby confirm that I am the sole

owner of the business trading as ............................................................................................................

SIGNATURE……………………………………………………

DATE……………………………

C. PARTNERSHIP

The following particulars in respect of every partner must be furnished and signed by every partner:

Full name of partner 		Residential address 			Signature

........................................... 	........................................... 	...........................................

...........................................	............................................ 	...........................................

........................................... 	........................................... 	...........................................

........................................... 	........................................... 	...........................................

We, the undersigned partners in the business trading as....................................................

hereby authorize ...................................................................... to sign this bid as well as any contract resulting from the bid and any other documents and correspondence in connection with this bid and /or contract on behalf of (company name) …………………………………….

.....................................		..........................................	 .......................................

SIGNATURE 				SIGNATURE 				SIGNATURE

........................................... 		........................................... 	........................................

DATE 					DATE 					DATE

________________________________________

D. CLOSE CORPORATION

In the case of a close corporation submitting a bid, a certified copy of the Founding Statement of such corporation shall be included with the bid, together with the resolution by its members authorizing a member or other official of the corporation to sign the documents on their behalf.

By resolution of members at a meeting on ................................. 20........... at……………………

........................................ Mr/Ms.............................., whose signature appears below, has been authorized to sign all documents in connection with this bid on behalf of (Name of Close Corporation) ……………………………………………………………..................................

SIGNED ON BEHALF OF CLOSE CORPORATION: ……………………………

(PRINT NAME)

IN HIS/HER CAPACITY AS......................................... DATE: ..........................................

SIGNATURE OF SIGNATORY: .........................................................

WITNESSES: 	1.................................................     WITENSS:  2...............................................

E. CO-OPERATIVE

A certified copy of the Constitution of the co-operative must be included with the bid, together with the resolution by its members authoring a member or other official of the co-operative to sign the bid documents on their behalf.

By resolution of members at a meeting on ...............................…… 20............ at …….…......................

Mr/Ms..................................................................................., whose signature appears below, has been authorized to sign all documents in connection with this bid on behalf of (Name of cooperative)

…………………..................................................................……………………………………………………

SIGNED ON BEHALF OF CO-OPERATIVE:........................................................................................

(PRINT NAME)

IN HIS/HER CAPACITY AS: ................................................................…DATE:......................………..

SIGNATURE OF AUTHORISED REPRESENTATIVE/SIGNATORY: ......................................................

WITNESSES: 	1 .....................................................  	     WITNESS:- 2 ......................................

________________________________________

F. CONSORTIUM

If a bidder is a consortium, a certified copy of the resolution/agreement passed/reached signed by the duly authorized representatives of concerned enterprises, authorizing the representatives who sign this bid to do so, as well as to sign any contract resulting from this bid and any other documents and correspondence in connection with this bid and/or contract on behalf of the consortium must be submitted with this bid, before the closing time and date of the bid.

AUTHORITY TO SIGN 0N BEHALF OF THE CONSORTIUM

By resolution/agreement passed/reached by the consortium on ………………..…… 20 ……………

Mr/Mrs……………………………………………….…(whose signature appear below) have been duly authorised to sign all documents in connection with this bid on behalf of:

(Name of Consortium)………………………………………………………………………………………………..

SIGNED ON BEHALF OF CLOSE CORPORATION: …………………………………………………………….

(PRINT NAME)

IN HIS/HER CAPACITY AS ...................................................... DATE: ......................................................

SIGNATURE OF SIGNATORY: .........................................................

WITNESSES: 	1 ............................................    WITNESS: - 2 ...........................................

G. JOINT VENTURE

If a bidder is a joint venture, a certified copy of the resolution/agreement passed/reached signed by the duly authorized representatives of the enterprises, authorizing the representatives who sign this bid to do so, as well as to sign any contract resulting from this bid and any other documents and correspondence in connection with this bid and/or contract on behalf of the joint venture must be submitted with this bid, before the closing time and date of the bid.

AUTHORITY TO SIGN ON BEHALF OF THE JOINT VENTURE

By resolution/agreement passed/reached by the joint venture partners on……………20……………………….

Mr/Mrs……………………………………………….,Mr/Mrs………………………………………………………….

Mr/Mrs……………………………………………and Mr/Mrs…………………………………………………………

(whose signatures appear below) have been duly authorized to sign all documents in connection with this bid on behalf of:(Name of Joint Venture)…………………………………………………………………………..

IN HIS/HER CAPACITY AS: ………………………………………………………………………………………..

SIGNED ON BEHALF OF (COMPANY NAME): …………………………………………………………………..

(PRINT NAME)

SIGNATURE:………………………………………………..... DATE: ……………………………………………….

IN HIS/HER CAPACITY AS:……………………………………………………………………………………………

SIGNED ON BEHALF OF (COMPANY NAME): …………………………………………………………………….

(PRINT NAME)

SIGNATURE :…………………………………………… DATE: …………………………………………………….

IN HIS/HER CAPACITY AS:…………………………………………………………………………………………….

SIGNED ON BEHALF OF (COMPANY NAME): ……………………………………………………………………..

(PRINT NAME)

SIGNATURE :………………………………………………. DATE: ………………………………………………..

IN HIS/HER CAPACITY AS:…………………………………………………………………………………………..

SIGNED ON BEHALF OF (COMPANY NAME): ……………………………………………………………………

(PRINT NAME)

SIGNATURE :………………………………………………. DATE: …………………………………………………

IN HIS/HER CAPACITY AS:……………………………………………………………………………………………

SECTION J (SBD 8)

# DECLARATION OF BIDDER’S PAST SUPPLY CHAIN MANAGEMENT PRACTICES

- This Standard Bidding Document must form part of all bids invited.

- It serves as a declaration to be used by institutions in ensuring that when goods and services are being procured, all reasonable steps are taken to combat the abuse of the supply chain management system.

- The bid of any bidder may be disregarded if that bidder, or any of its directors have-

- Abused the institution’s supply chain management system; committed fraud or any other improper conduct in relation to such system; or failed to perform on any previous contract.

- In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

| Item | Question | Yes | No |
| --- | --- | --- | --- |
| 4.1 | Is the bidder or any of its directors listed on the National Treasury’s Database of Restricted Suppliers as companies or persons prohibited from doing business with the public sector? (Companies or persons who are listed on this Database were informed in writing of this restriction by the Accounting Officer/Authority of the institution that imposed the restriction after the audi alteram partem rule was applied). The Database of Restricted Suppliers now resides on the National Treasury’s website (www.treasury.gov.za)and can be accessed by clicking on its link at the bottom of the home pg | Yes | No |
| 4.1.1 | If so, furnish particulars:…………………………………………………………………………………………............................ ……………………………………………………………………………………………………………………………… |
| 4.2 | Is the bidder or any of its directors listed on the Register for Tender Defaulters in terms of section 29 of the Prevention and Combating of Corrupt Activities Act (No 12 of 2004)? The Register for Tender Defaulters can be accessed on the National Treasury’s website (www.treasury.gov.za) by clicking on its link at the bottom of the home page. | Yes | No |
| 4.2.1 | If so, furnish particulars:………………………………………………………………………………………….............................. ………………………………………………………………………………………………………………………………………….. |
| 4.3 | Was the bidder or any of its directors convicted by a court of law (including a court outside of the Republic of South Africa) for fraud or corruption during the past five years? | Yes | No |
| 4.3.1 | If so, furnish particulars:…………………………………………………………………………………………... ……………………………………………………………………………………………………………………… |
| 4.4 | Was any contract between the bidder and any organ of state terminated during the past five years on account of failure to perform on or comply with the contract? | Yes | No |
| 4.4.1 | If so, furnish particulars:…………………………………………………………………………………………... ……………………………………………………………………………………………………………………… |

CERTIFICATION

I, THE UNDERSIGNED (FULL NAME)……………………………………………………………………….……………………….

CERTIFY THAT THE INFORMATION FURNISHED ON THIS DECLARATION FORM IS TRUE AND CORRECT.

I ACCEPT THAT, IN ADDITION TO CANCELLATION OF A CONTRACT, ACTION MAY BE TAKEN AGAINST ME SHOULD THIS DECLARATION PROVE TO BE FALSE.

………………………………………...			…………………………..

Signature 						Date

……………………………………….			…………………………..

Position						Name of Bidder

SECTION K (SBD 9)

CERTIFICATE OF INDEPENDENT BID DETERMINATION

1	This Standard Bidding Document (SBD) must form part of all bids¹ invited.

2	Section 4 (1) (b) (iii) of the Competition Act No. 89 of 1991, as amended, prohibits an agreement between, or concerted practice by, firms, or a decision by an association of firms, if it is between parties in a horizontal relationship and if it involves collusive bidding (or bid rigging).² Collusive bidding is a pe se prohibition meaning that it cannot be justified under any grounds.

3	Treasury Regulation 16A9 prescribes that accounting officers and accounting authorities must take all reasonable steps to prevent abuse of the supply chain management system and authorizes accounting officers and accounting authorities to:

a.	disregard the bid of any bidder if that bidder, or any of its directors have abused the institution’s supply chain management system and or committed fraud or any other improper conduct in relation to such system.

b.	cancel a contract awarded to a supplier of goods and services if the supplier committed any corrupt or fraudulent act during the bidding process or the execution of that contract.

- This SBD serves as a certificate of declaration that would be used by institutions to ensure that, when bids are considered, reasonable steps are taken to prevent any form of bid-rigging.

- In order to give effect to the above, the attached Certificate of Bid Determination (SBD 9) must be completed and submitted with the bid:

¹ Includes price quotations, advertised competitive bids, limited bids and proposals.

² Bid rigging (or collusive bidding) occurs when businesses, that would otherwise be expected to compete, secretly conspire to raise prices or lower the quality of goods and / or services for purchasers who wish to acquire goods and / or services through a bidding process.  Bid rigging is, therefore, an agreement between competitors not to compete.

I, the undersigned, in submitting the accompanying bid:

________________________________________________________________________

(Bid Number and Description)

in response to the invitation for the bid made by:

________________________________________________________________________

(Name of Institution)

do hereby make the following statements that I certify to be true and complete in every respect:

I certify, on behalf of: _____________________________________________________that:

(Name of Bidder)

- I have read and I understand the contents of this Certificate;

- I understand that the accompanying bid will be disqualified if this Certificate is found not to be true and complete in every respect;

- I am authorized by the bidder to sign this Certificate, and to submit the accompanying bid, on behalf of the bidder;

- Each person whose signature appears on the accompanying bid has been authorized by the bidder to determine the terms of, and to sign the bid, on behalf of the bidder;

- For the purposes of this Certificate and the accompanying bid, I understand that the word “competitor” shall include any individual or organization, other than the bidder, whether or not affiliated with the bidder, who:

(a) 	has been requested to submit a bid in response to this bid invitation;

(b) 	could potentially submit a bid in response to this bid invitation, based on their qualifications, abilities or experience; and

(c)	provides the same goods and services as the bidder and/or is in the same line of business as the bidder

- The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However communication between partners in a joint venture or consortium³ will not be construed as collusive bidding.

- In particular, without limiting the generality of paragraphs 6 above, there has been no consultation, communication, agreement or arrangement with any competitor regarding:

- prices;

- geographical area where product or service will be rendered (market allocation)

(c) 	methods, factors or formulas used to calculate prices;

(d)	 the intention or decision to submit or not to submit, a bid;

(e)	 the submission of a bid which does not meet the specifications and conditions of the bid; or

(f)        bidding with the intention not to win the bid.

- In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications and conditions or delivery particulars of the products or services to which this bid invitation relates.

- The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

- I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1991 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

Signature						Date

…………………………………………		…………………………………

Position 						Name of Bidder

……………………………………….                      …………………………………

³ Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.

SECTION L

SPECIAL CONDITIONS OF CONTRACT

SECTION 1: DEFINITION OF TERMS

  - SERVICE

The consultancy services to be rendered by professional service providers must be

rendered in terms of this contract.

  - CONTRACTOR

The person or persons, partnership, close corporation, firm or company, whose bid for this service was accepted.

  - AGREEMENT

This comprises the agreement signed by parties, the conditions of bid, the bid and the specifications.

  - AGREEMENT PERIOD

The period during which the service is to be rendered and originally determined in the agreement, or as amended, extended or renewed in accordance with stipulations of the agreement.

  - PARTIES

The parties to this contract are The Head of Co-operative Governance and Traditional Affairs in the KwaZulu-Natal Provincial Administration and Contractor.

1.8		DEPARTMENT

KwaZulu-Natal department of Co-operative Governance and Traditional Affairs.

1.9		CURTAILMENT OF SERVICE

The Department reserves the right to withdraw from the service any part/s of the contract as a whole, with one month’s written notification to the contractor. In a case such as this, the contract sum will be adjusted pro rata from the date of withdrawal.

SECTION 2:	IMPORTANT INFORMATION TO NOTE

2.1		This bid is invited and will be awarded and administered in terms of the following:-

  - KwaZulu-Natal Supply Chain Management Policy Framework,

  - Section 217 of the Constitution,

  - The PFMA and its Regulations in general,

  - The Preferential Procurement Policy Framework Act,

  - National Treasury guidelines, and

  - Provincial Treasury’s Supply Chain Management Practice Notes and guidelines

  - REQUIRED COMPULSORY INFORMATION

2.2.1	The bidder shall ensure that all the required information is furnished; viz:-

    - Declaration that information on Provincial Supplier Database is correct and up to date (SECTION D)

    - Declaration of interest (SECTION E)

    - Tax Clearance Certificate Requirements (SECTION B),

    - Compulsory Briefing Session (SECTION M )

    - Authority to sign a bid (SECTION I),

    - Conditions of Bid (SECTION G)

    - The original Tax Clearance Certificate(s) (and not a copy thereof) must be submitted together with the bid document.

    - Each party to a Consortium/Group of sub-contractors must obtain separate Tax Clearance Certificate(s) and also be registered on the Suppliers Database.

    - Should a supplier have submitted an original Tax Clearance Certificate within the last twelve (12) months to the Department, it will not be necessary to resubmit it, however, same must be indicated in the bid document.

    - A valid certified copy of B-BBEE Status Level Verification Certificate/ Letter from an auditor confirming EME status must be submitted with the proposal.

NOTE:	Failure to submit the required information may invalidate the entire proposal.

SECTION 3: SPECIAL CONDITIONS OF CONTRACT

3.1		ACCEPTANCE OF BID

3.1.1	This bid has been invited, and will be adjudicated in terms of the KwaZulu-Natal Supply Chain Management Policy Framework and the KwaZulu-Natal Provincial Treasury’s Practice Notes. Co-operative Governance and Traditional Affairs’ Bid Adjudication Committee is under no obligation to accept the lowest or any bid.

3.1.2	The financial standing of bidders and their ability to manufacture or to supply goods or render services may be examined before their bids are considered for acceptance.

3.2	 	APPEALS

3.2.1	Entities aggrieved by a decision of a departmental Bid Adjudication Committee or a delegate of an   accounting officer, may appeal to the Bid Appeals Tribunal in the prescribed manner by the Supply Chain Management Policy Framework

3.3		AMENDMENT OF CONTRACT

3.3.1	Any amendment to or renunciation of the provisions of the contract shall at all times be done in writing and shall be signed by both parties subject to  the Legal Services screening the amendment before it is signed.

3.4 		CHANGE OF ADDRESS

3.4.1	Bidders must advise the Department should their address (domicilium citandi et executandi) details change from the time of bidding to the expiry of the contract.

3.5  	COMMUNICATION

3.5.1    All correspondence with regard to this bid must be addressed or hand delivered to the:

The Head SCM Unit,

Department Co-operative Governance and Traditional Affairs,

Private Bag X9078,

Pietermaritzburg

3200

ENQUIRIES: 	Ms Lindiwe Madlala	TEL.: 033-395 2174

3.6   	COMPLETENESS OF BID

3.6.1   	Bids will only be considered if correctly completed and accompanied by all relevant certificates and other necessary applicable information.

3.7  	COMPLETION OF SPECIFICATION

3.7.1	Where specifications are designed in such a way that responses would be required from bidders, these forms must be completed and submitted as part of the bid document.

3.8    	CONDITIONS OF BID

3.8.1	The successful Contractor must be in a position to assume duty on the date stipulated in the letter of acceptance.

3.8.2	No bid received by telegram, telex, or facsimile will be considered.

3.8.3	It shall be noted that the Department is under no obligation to accept the lowest or 	any bid.

3.8.4	The offer shall be made strictly according to the specification. No alternative offers will be considered.

3.8.5	Bidders must provide the following particulars about themselves as part of the bid:

3.8.5.1	Where they have their Headquarters

3.8.5.2	Where they have their Regional Office.

3.8.5.3	Name, address and telephone number of bankers together with their bank account number.

3.8.5.4	The names, identity numbers and street addresses of all partners in cases where persons, a partnership, or a firm consists of a partnership.

3.9	In cases where a person or persons, a partnership, close corporation, firm or company enters business for the very first time, the following particulars shall be provided:

3.9.1	By whom, or with whose assistance, was the business plan drafted?

3.9.2	By whom, or with whose assistance, were the bid prices calculated?

3.9.3	Whose advice is relied on?

3.9.4	Who will provide financial support?

3.10	A list of references must accompany this bid. Particulars shall be submitted regarding similar agreements completed successfully or of projects which the bidder is engaged in.

3.11	CONFIDENTIALITY

The contractor’s staff that comes into contact with the Department’s confidential information and documents may be required to sign confidentiality agreements so as to protect the Department’s information.

3.12	CONTRACT PERIOD

3.12. 1 The contract period shall remain in force for a period of 36 months from date of signing of official contracts.

3.12.2	The Department of Co-operative Governance and Traditional Affairs reserves the right to terminate the contract with any contractor should the contractor fail to fulfil his/her contractual obligations in terms of the contract.

3.13	DETAILS OF CURRENT CONTRACTS HELD BY THE BIDDER

3.13.1The bidder must furnish the following details of all current contracts:

(i)	Date of commencement of contract/s;

(ii)	Expiry date/s;

(iii)	Value per contract; and

(iv)	Contract details.  That is, with whom held, phone number and address/s of the company.

3.14	EQUAL BIDS

3.14.1	In the event that two or more bids have equal total points, the successful bid will be the one scoring the highest number of preference points for specified goals. Should two or more bids be equal in all respects, the Adjudication shall be decided by the drawing of lots.

3.15	EXECUTION CAPACITY

3.15.1	The bidder will be required to provide an efficient and effective service. Therefore, the bidder is required to submit proof that he/she has the required capacity to execute the contract tendered for successfully. The bidder must supply references or state his/her experience as a company to undertake the contract.   References of past experience of owners/employees of new entities must accompany the bid document.

3.16	EXTENSION OF CONTRACT

3.16.1	An extension of contract may be considered.  It is the normal policy that contracts are not extended.  However, circumstances may arise whereby a contract cannot be renewed in time. If this is found to be the case, the right is reserved to approach existing contractor(s) to extend the contract for such period agreed to.

3.17 	GENERAL EVALUATION CRITERIA

The Bid Evaluation Committee will assess offers and adhere to the following basic guidelines when evaluating.

  - Whether all the required information called for in the bid document has been submitted by the bidder.

  - Has the bidder supplied references or stated his/her experience as a Company to undertake the contract. References of past experience must accompany the bid document.

  - The financial standing of the bidder and ability to render a service may be examined before an award of bid take place.

  - Preferences will be taken into consideration by the Department in terms of the B-BBEE Scorecard.

  - Documented reports received from an institution/s pertaining to past bad performance by a company who is tendering, may be taken into consideration.

  - Did the bidder attend the site inspection?

  - Will the bidder be in a position to successfully execute the contract?

  - The 80/20 Point System will apply in the evaluation of this bid.

3.18	IRREGULARITIES

2.18.1	Companies are encouraged to advise the Department timeously of any possible irregularities which might come to their notice in connection with this or other contracts.

3.19	JOINT VENTURES

3.19.1	In terms of the Supply Chain Management Policy Framework, a consortium or joint venture may, based on the percentage of the contract value managed or executed 	by respective members.

3.19.2	Should this bid be submitted by a joint venture, a certified copy of the joint venture agreement must accompany the bid document before the closing date and time of bid. The joint venture agreement must clearly specify the percentage of the contract to be undertaken by each company participating therein.

3.19.3	A trust, consortium or joint-venture must obtain and submit a consolidated B-BBEE

Status Level Verification Certificate.  The non-submission of a consolidated B-BBEE Certificate by a company will result in preference points not being allocated to such company.  Failure to submit the joint venture Agreement will result in preference points not being allocated to all companies participating in the joint venture.

3.20	LATE BIDS

3.20.1	Bids are late if they are received at the address indicated in the bid documents after the closing date and time.

3.20.2	A late bid shall not be considered and, where practicable, shall be returned unopened to the Bidder, accompanied by an explanation.

3.21	NOTIFICATION OF ADJUDICATION OF BIDDER & ADVERTISING OF RESULTS

3.21.1	Notification of the Adjudication of bid shall be in writing by a duly authorized official of Co-operative Governance and Tradition Affairs’ Supply Chain Management unit.

3.22	PRO RATA DECREASE OF COMPENSATION

3.22.1	Should the services not be rendered to the satisfaction of the Department and unsatisfactory items/ aspects/ events have already, in writing, been brought to the attention of the Contractor, the Department reserves the right in terms of paragraph 3.27 hereunder, to retain payment to the Contractor for as long as the unsatisfactory service continues.

3.23	CENTRAL SUPPLIERS DATABASE

2.23.1	A bidder submitting an offer must be registered on the Central Suppliers Database. 	A bidder who has submitted an offer and is not registered on the Central Suppliers Database will not be considered.

3.23.2	Each party to a Joint Venture/Consortium must be registered on the Central Suppliers Database at the time of submitting the bid.

3.24 	SUBMISSIONS AND COMPLETION OF SBD 6.1

3.24.1	Bidders are to complete SBD 6.1 document where applicable. Failure by the bidder to submit a valid B-BBEE status level verification certificate will result in the bidder not being considered for preference points allocation.  If the information required is not applicable to the business, clearly insert the symbols “N/A” in the appropriate space.  If the space provided is left blank, it will be regarded as information   that is still outstanding and the SBD 6.1 will not be processed further.

3.25    	TERMINATION OF SERVICES

3.25.1	Should the Contractor fail to meet the conditions of this contract, or continue rendering unsatisfactory service, the Employer reserves the right to terminate the contract, after written notification has been served on the Contractor, with retention of the right to recover from the Contractor any losses which the 	Employer may suffer/ incur as a result of the failure, without prejudicing any other rights it may have.

3.26	TAX CLEARANCE CERTIFICATE

3.26.1	The original Tax Clearance Certificate must be submitted with the bid before the closing date and time of the bid. Failure to submit a valid Tax Clearance Certificate will invalidate your bid unless a valid, as at the closing date of this bid, original Tax Clearance Certificate is already in the possession of the Departments Supply Chain Management Unit.  In this regard, a clear reference must be provided e.g. bid number.

3.26.2	Each party to a Joint Venture/Consortium must submit an original valid Tax Clearance Certificate together with the bid before the closing date and time of bid.

3.27	UNSATISFACTORY PERFORMANCE

3.27.1	Unsatisfactory performance occurs when performance is not in accordance with the           contract conditions.

(i)	Before any action is taken, the Department shall warn the contractor by registered/certified mail that action will be taken in accordance with the contract conditions unless the contractor complies with the contract conditions and delivers satisfactory supplies or services within a specified reasonable time (7 days minimum).   If the contractor does not perform satisfactorily despite the warning the Department will:

(a)	take action in terms of its delegated powers

(b)	make a recommendation for cancellation of the contract concerned.

3.28	VALIDITY PERIOD AND EXTENSION THEREOF

3.28.1	The validity (binding) period for the bid must be 120 days from close of bid. However, circumstances may arise whereby this Department may request the 	bidders to extend the validity (binding) period. Should this occur, the Department will request bidders to extend the validity (binding) period under the same terms and conditions as originally tendered for by bidders. This request will be done before the expiry of the original validity (binding) period.

3.29	VAT

2.29.1	Bid prices must be inclusive of VAT.

2.29.2	A tax invoice shall be in the currency of the Republic of South Africa and shall contain the following particulars:

(a)	The name, address and registration number of the supplier;

(b)	the name and address of the recipient;

(c)	an individual serialized number and the date upon which the tax invoice is issued;

(d)	a description of the goods or services supplied;

(e)	the quantity or volume of the goods or services supplied;

(f)	either :–

(i)	the value of the supply, the amount of tax charged and the consideration for the 	supply; or

(ii)  where the amount of tax charged is calculated by applying the tax fraction to the consideration, the consideration for the supply and either the amount of the tax charged, or a statement that it includes a charge in respect of the tax and the rate at which the tax was charged.

3.30	REGISTERED ADDRESS

The Department provides the following:

Street address as it’s domicillium citandi et executandi in respect of any lawsuit which might result from or bears relevance to this contract, as well as for purposes of notice to :

The Head SCM Unit, KwaZulu-Natal Co-operative Governance and Traditional Affairs

| , 14th floor, South Tower, Natalia Building. 330 Langalibalele Street PIETERMARITZBURG 3200 | Private Bag X9078, PIETERMARITZBURG 3200 |
| --- | --- |

SECTION M

OFFICIAL BRIEFING SESSION/SITE INSPECTION CERTIFICATE

Site/building/institution involved: 121 CHIEF ALBERT LUTHULI STREET, CAPITAL TOWERS 3rd FLOOR, BOARDROOM 309, PIETERMARITZBURG.

Bid No: ZNT 1911/2018 LG

Service:  APPOINTMENT OF A PANEL OF SERVICE PROVIDERS TO SUPPLY AND INSTALL LIGHNING CONDUCTORS IN THE PROVINCE FOR A PERIOD OF 3 YEARS

*******************************************************

THIS IS TO CERTIFY THAT (NAME): .......................................................................................

ON BEHALF OF: .......................................................................................................................

ATTENDED THE BRIEFING SESSION ON:  07 DECEMBER 2018 at 09:00 am at 121 CHIEF ALBERT LUTHULI STREET, CAPITAL TOWERS 3rd FLOOR, BOARDROOM 309, PIETERMARITZBURG.

AND IS THEREFORE FAMILIAR WITH THE CIRCUMSTANCES AND THE SCOPE OF THE SERVICE TO BE RENDERED.

.......................................................................................................................

SIGNATURE OF BIDDER OR AUTHORISED REPRESENTATIVE

(PRINT NAME)

DATE: ....................................................

.......................................................................................................................

SIGNATURE OF DEPARTMENTAL REPRESENTATIVE

(PRINT NAME)

.......................................................................................................................

DEPARTMENTAL STAMP:

(COMPULSORY)

DATE: ........................................

In terms of the Copyright Act No. 98 of 1978, no part of this document may be reproduced or transmitted in any form or by any means, electronic or mechanical, including photocopying, recording or by any information storage and retrieval system, without permission in writing from KZN Province Department of Cooperative Governance and Traditional Affairs.

SPECIFICATION

CONDITIONS OF CONTRACT

SECTION 1: DEFINITION OF TERMS

The following definitions of terms will apply in respect of this contract.

1.	AGREEMENT

This comprises the agreement signed by the parties, the conditions of the bid, the bid and the accepted document, the agreement conditions and the specifications.

2.	CONTRACT PERIOD

The period during which the service is to be rendered and originally determined in the agreement, or as amended, extended or renewed in accordance with the stipulations of the agreement.

3.	CONTRACTOR

The person/s, partnership, closed corporation, firm or company, whose bid was accepted for this service.

4.	CONTACT PERSON

The Department of Co-operative  and Traditional Affairs shall appoint an Official who shall be the contact person on all matters pertaining to this contract.

5.	DEPARTMENT

The Department is the Department of Co-operative Governance and Traditional Affairs.

6.	PARTIES

The Department of Co-operative Governance and Traditional Affairs on the one part and the Contractor on the other part.

7.	SERVICE

The supply and delivery of lightning conductors should be in terms of the scope of work for this

contract.

SECTION 2: NOTES AND CONDITIONS TO THE BIDDER

- APPROACH

  - The Department of Co-operative Governance and Traditional Affairs shall enter into a Memorandum of Agreement with the successful service provider(s) for a specified period to implement the program in specific areas as will be determined by the risk profile of the Province on lightning strikes

  - Based on the cost estimates, as will be provided by the service provider (s), the Provincial Disaster Management Centre, in liaison with District Disaster Management Centres and local municipalities, will determine pockets of vulnerable areas for the implementation of the program with specific beneficiaries across the Province. The service provider will then be requested to render services as will be specified by the beneficiary list compiled and verified by the Provincial Disaster Management Centre.

  - Installation of the Lightning Conductors will then be required to take place in specific sites as per the category that the order shall specify, following the beneficiary list to be developed by the PDMC in conjunction with the District and Local Municipalities.

- Delivery :

- The delivery period must be within 5 working days of the date of the order.

- In emergency situations the successful supplier may be called upon for an earlier delivery, i.e. in the event of a disaster.

- It must be noted that should the supplier not be able to meet the earlier delivery in an emergency situation, the Department reserves the right to approach another supplier to provide the Department with its requirements.

- Resource requirements :

In executing the outputs of the service, the bidder must ensure that they are adequately resourced in terms of :

- GPS equipment (for taking co-ordinates upon erection of lightning conductors )

- Digital Camera

- Cell phones (for easy contact between client, department and municipalities)

- MS Project software (For updating beneficiary information )

- Appropriate vehicle

- Resource provisions

The department will provide beneficiary list and local municipal champions for liaison during the implementation of the project.

- The successful Contractor will be required to enter into a contract with the Department of Co-operative Governance and Traditional Affairs. The contract shall take the form of a Memorandum of Agreement (MOA).

- Representatives of the Department may at any time inspect the Service Providers work and / or performance.  Should the Department consider the standard objectionable, the Contractor will be notified accordingly in writing and the Contractor shall cause the objectionable situation to be rectified to the standard required by the Contract Specifications within five working days of such notification, at his/her own cost and charge. In the event of the Contractor disregarding such notification for a period of five (5) working days, the Department shall be at liberty to forthwith to employ other workmen to perform the work or cause the work to be performed, and to charge any expense thereby incurred to the Service Provider, and to deduct it from any sum due or to become due to the Service Provider.

- Should the Contractor fail to meet any conditions of this contract or continue rendering unsatisfactory service, the Department reserves the right to terminate the contract, after written notification has been served on the Service Provider, with retention of the right to recover from the Contractor any losses which the Department may have suffered/incurred as a result of the failure, without prejudicing any other rights it may have.  The Department may also impose such penalties as provided in the SCM General Conditions of Contract.

- As compensation for the services to be rendered by the Service Provider, the Department hereby agrees to and undertakes to pay the Contractor the amount as expounded in the contract.

- Payment shall be made within thirty (30) days from the receipt of an agreed invoice by the Department.  Any query regarding late payments must be directed and addressed to the contact person.

- The bid price as originally determined, or possibly adjusted in terms of the applicable provisions of the contract, shall be applicable for the full duration of the contract period.

- The prospective Contractor must state whether he/she has other current similar contracts and where these are, so that the standard of his/her work may be inspected.  If unable, he/she should state his/her qualifications/experience for undertaking this contract as well as supplying suitable references. This will be taken into consideration during the bid evaluation process by the Department.

- Extension of this contract will only be considered by the Department of Co-operative Governance and Traditional Affairs in circumstances which are unavoidable. The Department reserves the right to approach the Contractor with the view to extending the contract by a period not exceeding four (4) months under the same terms and conditions.

SECTION 3: SCOPE OF WORK

  - Task breakdown

- Supply and delivery of equipment and material for the lightning conductors, in accordance with the specific order , to specific areas; and

- Installation of the lighting conductors in specific sites as per the category that the order shall specify, following the beneficial list to be developed by the PDMC in conjunction with the District and Local Municipalities.

  - Technical Specifications per category

    - Category A

| CATEGORY A : RDP HOUSE – WITHOUT CONDUCTIVE ROOF (TILED ROOF AND / ASBESTOS) – (20m² and less) |
| --- |
| 1. | Type of equipment | Earth mat built on top of non-conductive roof, bonded to earth rods through Down conductors |
| 2. | Type of material to be utilized | Solid aluminum conductors as air termination Approved crimping joints, washers & bolts. Approved wire ways (as protection for down conductors) Test point inspection boxes. Copper galvanized earth rods complete with clamps Approved material as down conductor Bonding to electrical, water & gas system if any. |
| 3. | Area to be protected | The building itself and area next to the building structure |

    - Category B

| CATEGORY B : RDP HOUSE – WITH CONDUCTIVE ROOF (TILED ROOF AND / ASBESTOS) – (20m² and less) |
| --- |
| 1. | Type of equipment to be used | Conductive roof bonded to earth rods through Down conductors |
| 2. | Type of material to be utilized | Approved crimping joints, washers & bolts. Approved wire ways (as protection for down conductors) Test point inspection boxes. Copper /galvanized earth rods complete with clamps Approved material as down conductor Bonding to electrical, water & gas system if any. |
| 3. | Area to be protected | The building itself and area next to the building structure |

    - Category C

| CATEGORY C : TRADITIONAL HOMESTEAD (DEPENDS ON THE AREA OF THE YARD) |
| --- |
| 1. | Type of equipment to be used | External LPS using – Air termination mast |
| 2. | Type of material to be utilized | High masts Earth rods Conductors |
| 3. | Area to be protected | All buildings and area within the radius of protected area Size of the termination rod to be determined by the size of the homestead yard (Reference Plane) |

    - Category D

| CATEGORY D - Schools (20m2 and less) |
| --- |
| 1.Type of equipment to be used | Depending on the material used for roofing |
|  | None conductive roof as in category A above – Earth mat built on top of non-conductive roof bonded to earth rods through Down conductors. | Conductive Material as in Category B above- Conductive roof bonded to earth rods through Down conductors. |
| 2.Type of material to be utilized | Solid aluminuim conductors as air termination Approved crimping joints, washers & bolts. Approved wire ways (as protection for down conductors) Test point inspection boxes. Copper galvanized earth rods complete with clamps Approved material as down conductor Bonding to electrical, water & gas system if any. | Approved crimping joints, washers & bolts. Approved wire ways (as protection for down conductors) Test point inspection boxes. Copper galvanized earth rods complete with clamps Approved material as down conductor Bonding to electrical, water & gas system if any.) |
| 3.Area to be protected | The building itself and area next to the building structure |

    - Category E

| CATEGORY E : Cluster of Homesteads (Depending on the size of the area ) |
| --- |
| 1.Type of equipment to be used | Very high mast |
| 2.Type of material to be utilized | High masts designed by a structural engineer Earth conductor Earth rods as well as cranes |
| 3.Area to be protected | All homesteads and area within the radius of protected area |

  - Document of Evidence for Qualification of Bid

The following table provides additional documents of evidence over and above the standard bid documents which must be provided by the bidder when submitting his/her bid document. Failure to include the documentation will result in the disqualification of the service providers bid.

| Additional documents of evidence for qualification | YES/NO |
| --- | --- |
| Organisational Requirements | Proof of BBBEE level 1 of Contribution |  |
|  | Proof of QSE or EME |  |
|  | Company experience with at least one reference letter of work successfully completed in the cathodic protection or similar field |  |
|  | Key personnel must possess at least a qualification in electrical engineering |  |
|  | Company must be a member of Electrical Contractors Association (ECA) or similar body |  |

PORTFOLIO OF EVIDENCE

NAME OF SERVICE PROVIDER: _______________________

| CLIENT | CONTACT PERSON | CONTACT NUMBER (CLIENT) | DURATION OF CONTRACT |
| --- | --- | --- | --- |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |

COMPANY REPRESENTATIVE

____________________________________

NAME AND SURNAME

____________________________________

SIGNATURE

- Briefing Session

- There will be a compulsory formal briefing sessions to inform potential bidders of the scope of work and  related matters such as time frames which need to be met.

- The briefing sessions will be held 07 December 2018 at 09:00 at 121 Chief Albert Luthuli Street, Capital Towers, 3rd Floor, Boardroom 309, PMB.

- Bidders who are not aware of how to get to the venue where the briefing session will be held must contact Ms Lindiwe Madlala on 033 395 2174

- Bidders are to ensure that the briefing session certificate contained in the bid document is signed at the meeting.  Failure to do so will invalidate the bid.

- Contract Period

  - The contract shall be for a period of 36 months (3 Years). On award of the bid the successful service provider, in conjunction with the Department, will be required to complete a Section R – SBD 13.2 conditions of contract form for rendering of services in respect of a service related contract. The aforesaid documents must be signed before the contract may commence. In addition to the foregoing form, the successful Contractor will also be required to enter into a contract with the Department of Co-operative Governance and Traditional Affairs in the form of a Memorandum of Agreement, the pro forma of which is attached as Appendix3. Details specific to the project will be finalised on appointment.

  - The contract may be extended by mutual consent of both parties.

  - Any extension to this contract for a further term will be subject to annual price increases and suitable adjustments as agreed by both parties.

- Remuneration

- The Department shall remunerate the Contractor in respect of its services in accordance with the appropriate conditions as set forth.

- The Contractor agrees hereto that responsibility of payment for services rendered to the Department shall vest in the Service Provider, who shall on a monthly basis submit an invoice to the Department.

- The Contractor shall submit to the Department a tax invoice for each month, and the Department

shall pay to the Contractor the amount of invoice within 30 (thirty days) of receipt of an agreed

invoice. All supporting documents must be attached to all invoices submitted.

- In the event that the Department is not satisfied with the performance of the Service Provider, the Department shall give written notice to this effect to the Contractor providing sufficient detail and a reasonable time frame to enable the Contractor to rectify such performance.

- In the event of the entire amount or a portion of the invoice being disputed by the Department, only that portion in dispute shall be held for payment, until the dispute is resolved. The undisputed portion shall be paid to the Contractor within the stipulated time frames.

- The Contractor shall immediately give notice of any circumstances preventing it from completing its obligations in terms of the contract.

- Enquiries

All enquiries regarding bid matters should be directed to:

SUPPLY CHAIN MANAGEMENT

DEPARTMENT OF COOPERATIVE GOVERNANCE AND TRADITIONAL AFFAIRS

PRIVATE BAG X 9078

PIETERMARITZBURG

3201

ATTENTION: Ms Lindiwe Madlala

TEL: 033 395 2174

All enquiries relating to the scope of work must be addressed to

THE HEAD OF DEPARTMENT

DEPARTMENT OF COOPERATIVE GOVERNANCE AND TRADITIONAL AFFAIRS

PRIVATE BAG X 9078

PIETERMARITZBURG

3201

ATTENTION: Mr JM Ndlazi

TEL: 033- 846 9006

APPENDIX 1

DETAILS FOR COMPLETION OF AN ENVELOPE FOR A BID/QUOTATION

Section 1 paragraph 6 of this bid/quotation document indicates the requirements for addressing of an envelope when a bid/quotation is submitted to the Department. Kindly ensure the envelope is addressed correctly because if it is not properly addressed the bid/quotation may be rejected as being invalid and returned to the respective bidder. The correct manner in which it is to be addressed is detailed below:

EXAMPLE FORMAT

FRONT SIDE OF ENVELOPE Name and address of bidder: XYZ Consultants, PO Box 1234, Durban 4000 Bid/Quotation Number: ZNT 1911/2018 LG Description: APPOINTMENT OF A PANEL OF SERVICE PROVIDERS TO SUPPLY AND INSTALL LIGHNING CONDUCTORS IN THE PROVINCE FOR A PERIOD OF 3 YEARS Closing date: 15 JANUARY 2019 Closing time: 11:00

REVERSE SIDE OF ENVELOPE Department’s details and address: The Head: Supply Chain Management Department of Co-operative Governance and Traditional Affairs 13th Floor, North Tower Natalia Building 330 Langalibalele Street Pietermaritzburg 3201

APPENDIX 2

RETURNABLE DOCUMENTS

BIDDERS ARE REQUIRED TO ATTACH THE FOLLOWING DOCUMENT TOGETHER WITH THEIR PROPOSAL ON THE CLOSIND DATE OF THE BID:

CERTIFIED COPY OF B-BBEE STATUS VERIFICATION CERTIFICATE

VALID PIN STATUS FROM SARS VALID FOR A MINIMUM OF 12 MONTHS

WRITTEN REFERENCES FOR CONTRACTS NOT OLDER THAN 12 MONTHS (MINIMUM OF 3 REFERENCES NOT OLDER THAN 12 MONTHS)

PROOF THAT THE TENDERER IS A DIRECT SUPPLIER OF LIGHTNING CONDUCTORS (WORK EXPERIENCE OF 3 YEARS OR MORE)

PROOF THAT AT LEAST TWO TEAM MEMBERS HAS LIGHT CURRENT ELECTRICAL EXPERTISE (MINIMUM OF 3 YEARS)

PROOF THAT MEMBERS HAVE PROJECT MANAGEMENT EXPERTISE (MINIMUM OF 3 YEARS)

COMPANY PROFILE

PROOF OF REGISTRATION WITH CENTRAL SUPPLIER DATABASE (CSD)

MRN NUMBER FROM CSD

PDF COPY OF PROPOSAL ON A DISC (COMPULSORY)

ANNEXURE 3

# CONTRACT FORM - RENDERING OF SERVICES

THIS FORM MUST BE FILLED IN DUPLICATE BY BOTH THE CONTRACTOR (PART 1) AND THE PURCHASER (PART 2).  BOTH FORMS MUST BE SIGNED IN THE ORIGINAL SO THAT THE CONTRACTOR AND THE PURCHASER WOULD BE IN POSSESSION OF ORIGINALLY SIGNED CONTRACTS FOR THEIR RESPECTIVE RECORDS.

# PART 1 (TO BE FILLED IN BY THE SERVICE PROVIDER)

- I hereby undertake to render services described in the attached bidding documents to KwaZulu-Natal (hereinafter called the “Province”), Co-operative Governance and Traditional Affairs. in accordance with the requirements and task directives / proposals specifications stipulated in Bid Number………….……….. at the price/s quoted.  My offer/s remain binding upon me and open for acceptance by the Purchaser during the validity period indicated and calculated from the closing date of the bid.

- The following documents shall be deemed to form and be read and construed as part of this agreement:

- Bidding documents, viz

- Invitation to bid;

- Tax clearance certificate;

- Pricing schedule(s);

- Filled in task directive/proposal;

- Preference claims for Broad Based Black Economic Empowerment Status Level of Contribution  in terms of the Preferential Procurement Regulations 2011;

- Declaration of interest;

- Declaration of bidder’s past SCM practices;

- Certificate of Independent Bid Determination;

- Special Conditions of Contract;

- General Conditions of Contract; and

- Other (specify)

- I confirm that I have satisfied myself as to the correctness and validity of my bid; that the price(s) and rate(s) quoted cover all the services specified in the bidding documents; that the price(s) and rate(s) cover all my obligations and I accept that any mistakes regarding price(s) and rate(s) and calculations will be at my own risk.

- I accept full responsibility for the proper execution and fulfilment of all obligations and conditions devolving on me under this agreement as the principal liable for the due fulfillment of this contract.

- I declare that I have no participation in any collusive practices with any bidder or any other person regarding this or any other bid.

- I confirm that I am duly authorised to sign this contract.

NAME (PRINT)	…………………………….

CAPACITY		…………………………….

SIGNATURE		…………………………….

NAME OF FIRM	…………………………….

DATE			…………………………….

CONTRACT FORM - RENDERING OF SERVICES

# PART 2 (TO BE FILLED IN BY THE PURCHASER)

I……………………………………………. in my capacity as……………………...……………………………….

accept your bid under reference number ………………dated………………………for the rendering of services indicated hereunder and/or further specified in the annexure(s).

- An official order indicating service delivery instructions is forthcoming.

- I undertake to make payment for the services rendered in accordance with the terms and conditions of the contract, within 30 (thirty) days after receipt of an invoice.

| DESCRIPTION OF SERVICE | PRICE (ALL APPLICABLE TAXES INCLUDED) | COMPLETION DATE | B-BBEE STATUS LEVEL OF CONTRIBUTION | MINIMUM THRESHOLD FOR LOCAL PRODUCTION AND CONTENT (if applicable) |
| --- | --- | --- | --- | --- |

4.	I confirm that I am duly authorised to sign this contract.

SIGNED AT ………………………………………ON………………………………..

NAME (PRINT)	………………………………………….

SIGNATURE		…………………………………………

OFFICIAL STAMP

ANNEXURE “B”

GENERAL CONDITIONS OF CONTRACT

THE NATIONAL TREASURY

Republic of South Africa

_____________________________________________________________________

GOVERNMENT PROCUREMENT:

GENERAL CONDITIONS OF CONTRACT

July 2010

NOTES

The purpose of this document is to:

(i) Draw special attention to certain general conditions applicable to government bids, contracts and orders; and

(ii)To ensure that clients be familiar with regard to the rights and obligations of all parties involved in doing                  business with government.

In this document words in the singular also mean in the plural and vice versa and words in the masculine also mean in the feminine and neuter.

1. The General Conditions of Contract will form part of all bid documents and may not be amended.

2. Special Conditions of Contract (SCC) relevant to a specific bid, should be compiled separately for every bid (if

(applicable) and will supplement the General Conditions of Contract. Whenever there is a conflict, the provisions in the SCC shall prevail.

GENERAL CONDITIONS OF CONTRACT

TABLE OF CLAUSES

1. Definitions

2. Application

3. General

4. Standards

5. Use of contract documents and information; inspection

6. Patent rights

7. Performance security

8. Inspections, tests and analysis

9. Packing

10. Delivery and documents

11. Insurance

12. Transportation

13. Incidental services

14. Spare parts

15. Warranty

16. Payment

17. Prices

18. Contract amendments

19. Assignment

20. Subcontracts

21. Delays in the supplier’s performance

22. Penalties

23. Termination for default

24. Dumping and countervailing duties

25. Force Majeure

26. Termination for insolvency

27. Settlement of disputes

28. Limitation of liability

29. Governing language

30. Applicable law

31. Notices

32. Taxes and duties

33. National Industrial Participation Programme (NIPP)

34. Prohibition of restrictive practices

ANNEXURE “B”

GENERAL CONDITIONS OF CONTRACT

DEFINITIONS:	The following terms shall be interpreted as indicated:

(a)	“Closing time” means the date and hour specified in the bidding documents for the receipt of bids.

(b)	“Contract” means the written agreement entered into between the Province and the Contractor, as recorded in the contract form signed by the parties, including all attachments and appendices thereto and all documents incorporated by reference therein.

(c)	“Contract price” means the price payable to the Contractor under the contract for the full and proper performance of his contractual obligations.

(d)	“Corrupt practice” means the offering, giving, receiving, or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution.

(e)	“Countervailing duties” are imposed in cases where an enterprise abroad is subsidized by its government and encouraged to market its products internationally.

(f)	“Country of origin” means the place where the goods were mined, grown or produced or from which the services are supplied.  Goods are produced when, through manufacturing, processing or substantial and major assembly of components, a commercially recognised new product results that is substantially different in basic characteristics or in purpose or utility from its components.

(g)	“Day” means calendar day.

(h)	“Delivery” means delivery in compliance with the conditions of the contract or order.

(i)	“Delivery ex stock” means immediate delivery directly from stock actually on hand.

(j)	“Delivery into consignees store or to his site” means delivery and unloaded in the specified store or depot or on the specified site in compliance with the conditions of the contract or order, the Contractor bearing all risks and charges involved until the supplies are so delivered and a valid receipt is obtained.

(k)	“Dumping” occurs when a private enterprise abroad market its goods and services on own initiative in the RSA at lower prices than that of the country of origin and which have the potential to harm the local industries in the RSA.

(l)	“Force majeure” means an event beyond the control of the Contractor and not involving the Contractor’s fault or negligence and not foreseeable. Such event may include, but is not restricted to, acts of the Province in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions and freight embargoes.

(m)	“Fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of any bidder, and includes collusive practice among bidders (prior to or after bid submission) designed to establish bid prices at artificial non-competitive levels and to deprive the bidder of the benefits of free and open competition.

(n)	“GCC” means the General Conditions of Contract.

(o)	“Goods” means all the equipment, machinery, and/or other materials that the supplier is required to supply to the purchaser under the contract.

(p)	“Imported content” means that portion of the bidding price represented by the cost of components, parts or materials which have been or are still to be imported (whether by the Contractor or his subcontractors) and which costs are inclusive of the costs abroad, plus freight and other direct importation costs such as landing costs, dock dues, import duty, sales duty or other similar tax or duty at the South African place of entry as well as transportation and handling charges to the factory in the Republic, where supplies covered by the bid will be manufactured.

(q)	“Local content” means that portion of the bidding price which is not included in the imported content provided that local manufacture does take place.

(r)	“Manufacture” means the production of products in a factory using labour, materials, components and machinery and includes other related value-adding activities.

(s)	“Order” means an official written order issued for the supply of goods or works or the rendering of a service.

(t)	“Project site” where applicable, means the place indicated in bidding documents.

(u)	“Province” means the procuring Department, incorporating the KwaZulu-Natal Provincial Legislature.

(v)	“Republic”  means the Republic of South Africa.

(w)	“SCC” means the Special Conditions of Contract.

(x)	“Services” means those functional services ancillary to the supply of the goods, such as transportation and any other incidental services, such as installation, commissioning, provision of technical assistance, training, catering, gardening, security, maintenance and other such obligations of the Contractor covered under the contract.

(y)	“Written” or “in writing” means handwritten in ink or any form of electronic or mechanical writing.

1.	CESSION OF CONTRACTS

1.1	The Contract is personal to the Contractor who shall not sub-let, assign, cede or make over the Contract or any part thereof, or any share of interest therein, to any other person without the written consent of the Province, and on such conditions as it may approve.

1.2	This sub-clause shall not apply to sub-contracts given to regular suppliers of the Contractor for materials and minor components relating to the goods or services supplied.  The Province reserves the right to require the Contractor to submit, for noting, the names of such sub-contractors in order to ascertain their registration on the Provincial Suppliers Database and they must be legal entities.

2.	DISCREPANCIES

Should there appear to be any discrepancies, ambiguities or want of agreement in description, dimensions, qualities or quantities in the Contract, the Contractor shall be obliged to refer the matter to the Provinces’ Representative for a decision, before proceeding to execute the Contract or part thereof in respect of which the said discrepancies, ambiguities or want of agreement appear to exist.

3.	QUALITY AND GUARANTEE

3.1	All Goods supplied shall be equal in all respects to samples, patterns or specifications where such are provided.  Any changes to quality or brands will have to be approved by the Province, as this is a change to the conditions of the contract.

3.2	Should the Province, after the award of the Contract and/or during the manufacture of the goods specified, decide on a variation or alteration to the specification, either at the suggestion of the Contractor or otherwise, which will be to the Province’s advantage, such variation or alteration shall be performed to the Province’s satisfaction. Any variation in the Contract Price arising there from shall be subject to agreement between the Province and the Service Provider.

3.3	The Contractor shall not be relieved of his obligations with respect to the sufficiency of the materials and workmanship and the quality of the Goods supplied by the reason of no objection having been taken thereto by the Province’s Representative at the time the Goods were delivered.

3.4	The Contractor warrants that the goods supplied under the contract are new, unused, of the most recent or current models, and that they incorporate all recent improvements in design and materials unless provided otherwise in the contract.  The Contractor further warrants that all goods supplied under this contract shall have no defect, arising from design, materials or workmanship (except when the design and/or material is required by the purchaser’s specifications) or from any act or omission of the Service Provider, that may develop under normal use of the supplied goods in the conditions prevailing in the country of the final destination.

3.5	This warranty shall remain valid for twelve (12) months after the goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the contract, or for eighteen (18) months after the date of shipment from the port or place of loading in the source country, whichever period concludes earlier, unless specified otherwise in the Special Conditions of Contract.

3.6	The Province shall promptly notify the Contractor in writing of any claims arising under this warranty. The Contractor shall immediately remedy the said defect free of cost to the Province. Should the Contractor delay remedial work in excess of time stipulated by the Province’s representative, the Province may have such remedial work executed at the Contractor’s expense. Should the Province decide that the defect is such that it cannot be remedied, the Goods may be rejected. Such rejected goods shall be held at the risk and expense of the Contractor and shall, on request of the Province, be removed by him immediately on receipt of notification of rejection. The Contractor shall be responsible for any loss the Province may sustain by reason of such action as the Province may take, in terms of this clause.

3.7	The risk in respect of the Goods purchased by the Province under the contract shall remain with the Contractor until such goods have been delivered to the Province.

3.8	The principle feature of the Goods and Work are described in the Goods or Services Information, but the Goods or Services Information does not purport to indicate every detail of construction, fabrication or arrangements of Goods and Works necessary to meet the requirements.  Omission from the Goods or Services information of reference to any part or parts shall not relieve the Contractor of his responsibility for carrying out the Work as required under the Contract.

3.9	If any dispute arises between the Province and the Contractor in connection with the quality and guarantee of the Goods, either party may give the other notice in writing of the existence of such dispute, and the same shall thereupon be referred to arbitration in South Africa by a person mutually agreed upon by both parties.  The submission shall be deemed to be a submission to arbitration within the meaning of the terms of the arbitration laws in force in the Republic of South Africa.

- FAILURE TO COMPLY WITH CONDITIONS AND DELAYED EXECUTION

4.1	If a bidder amends or withdraws his/her/their bid after the closing time but before the bidder is notified that his/her/their bid has been accepted, or when notified that his/her/their bid has been accepted, he/she/they fail/fails, within the period stipulated in the conditions of bid or such extended period as the Province may allow, to sign a contract or to provide security when requested to do so, he/she/they shall, unless the Province decides otherwise, and without prejudice to any other right which the Province may have under paragraphs 4.2 and 4.4, including the right to claim damages if a less favourable bid is accepted or less favourable arrangements are to be made, forfeit any deposit which may have been made with the bid.

4.2	Should the contractor fail to comply with any of the conditions of the contract, the Province shall be entitled, without prejudice to any of its other rights, to cancel the contract.

4.3	Upon any delay beyond the contract period in the case of a supplies contract, the Province shall, without canceling the contract, be entitled forthwith to purchase supplies of a similar quality and up to the same quantity in substitution of the goods not supplied in conformity with the contract and to return any supplies delivered later at the contractor’s expense and risk, or forthwith to cancel the contract and buy such supplies as may be required to complete the contract, and without prejudice to its rights, be entitled to claim damages from the contractor.

4.4	Upon any delay beyond the contract period in the case of a service contract, the Province shall, without prejudice to any other right and without canceling the contract, be entitled forthwith to arrange the execution of the service not rendered in conformity with the contract or to cancel the contract, and without prejudice to its other rights, be entitled to claim damages from the contractor.

4.5	In the event of the Province availing itself of the remedies provided for in paragraph 4.2 -

4.5.1	the contractor shall bear any adverse difference in price of the said supplies services and these amounts plus any other damages which may be suffered by the Province, shall be paid by the contractor to the Province immediately on demand, or the Province may deduct such amounts from moneys (if any) otherwise payable to the contractor in respect of supplies or services rendered or to be rendered under the contract or under any other contract or any other amounts due to the contractor; or

4.5.2		if the Contractor fails to supply the goods or render the service within the period stipulated in the contract, the Province shall have the right, in its sole discretion, to claim any damages or loss suffered.

4.6	No damages shall be claimed in respect of any period of delay which the contractor can prove to be directly due to a state of war, sanctions, strikes, lockouts, damage to machinery as a result of accidents, fire, flood or tempest or act of God, which could not be foreseen or overcome by the contractor, or to any act or omission on the part of persons acting in any capacity on behalf of the Province.

4.7	If the delivery of the supplies or the rendering of the service is likely to be delayed or is in fact being delayed on account of any of the reasons mentioned in paragraph 4.6, full particulars of the circumstances shall be reported forthwith in writing to the Province and at the same time the contractor shall indicate the extension of the delivery period which is desired.

5.	PATENTS

5.1	The Contractor shall pay all royalties and expenses and be liable for all claims in respect of the use of patent rights, trademarks or other protected rights, and hereby indemnifies the Province against any claims arising there from.

5.2	The Contractor shall indemnify the Province against all third-party claims of infringement of patent, trademark, or industrial design rights arising from the use of the goods or any part thereof by the Province.

# Footnotes

A copy of the complete document set containing the General Conditions of Contract is available on www.kzncogta.gov.za/bids

# Text boxes

# Bid No. : ZNT 1911/2018 LG

COMPANY OFFICIAL STAMP

……………………………………….

SIGNATURE(S) OF BIDDERS(S)

DATE:		…………………………………..

ADDRESS	…………………………………..

…………………………………..

…………………………………..

WITNESSES

- ……………………………………..

- …………………………………….

BID SPECIFICATION

ZNT 1911/2018: Establishment of a Panel of Service Providers to Supply and Install Lightning Conductors in the Province for a period of 3 Years

COMPANY STAMP

WITNESSES

- …….…………………………….

- ……….………………………….

DATE:	……………………………..

WITNESSES

- ….…………………………….

- …..…………………………….

DATE:	……………………………..