_______________________ MUNICIPALITY: ELECTRICITY SUPPLY, 2018

Adopted by Municipality on the:

Promulgated on:

ELECTRICITY SUPPLY BY-LAWS, 2018

To provide for the regulation of the supply of electricity; and to provide for matters incidental thereto.

PREAMBLE

WHEREAS there is a need for the Municipality to regulate the supply of electricity;

NOW THEREFORE the Municipal Municipality  of the ___________ Municipality, acting in terms of section 156(1)(a) read with Schedule 4 Part B of the Constitution of the Republic of South Africa, and read with section 11(3)(e) of the Local Government: Municipal Systems Act No. 32 of 2000, hereby makes the following By-law:

- TABLE OF CONTENTS

- CHAPTER 1

- INTERPRETATIONS

- Definitions

- Interpretation

CHAPTER 2

APPLICATION

3.  Application of By-law

CHAPTER 3

- GENERAL CONDITIONS OF SUPPLY

- 4. Supply by agreement

- 5. Application for supply

- 6. Wayleave

- 7. Electricity tariffs and fees

- 6. Deposits

- 8. Availability charges

- 9. Interest on overdue accounts

- 10. Leakage of electricity

- 11. Right to disconnect supply

- 12. Failure of supply

- 13. Temporary disconnection and reconnection

- 14. Temporary supplies

- 15.   Resale of electricity

- 16. Temporary work

- 17. Load reduction

- 18. Medium voltage and low voltage switchgear and equipment

- 19. Transformer substation accommodation

- 20. Wiring diagram and specification

- 21. Standby supply

- 22. Consumer's emergency standby supply equipment

- 23. Installation circular letters

- CHAPTER 4

- SPECIFIC CONDITIONS OF SUPPLY

- 24. Service connection

- 25. Metering accommodation

- CHAPTER 5

- RESPONSIBILITIES OF CONSUMERS

- 26. Consumer to erect and maintain electrical installation

- 27.  Fault in electrical installation

- 28.  Discontinuance of use of supply

- 29.  Change of occupier

- 30. Service apparatus

- CHAPTER 6

- UNAUTHORISED ACTIONS

- 31. Tampering with service connections or supply mains

- 32.  Removal of seals

- 33. Prevention of tampering with service connection or supply mains

- 34. Unauthorised connections

- 35. Unauthorised reconnections

- 36. Improper use

- 37. Protection of electrical distribution system

- CHAPTER 7

- SYSTEMS OF SUPPLY

- 38.  Load requirements

- 39. Load limitations

- 40. Interference with other consumers

- 41. Supplies to motors

- 42. Power factor

- 43.  Protection

- CHAPTER 8

- MEASUREMENT OF ELECTRICITY

- 44. Metering

- 45. Accuracy of metering

- 46.  Reading of conventional meters

- 47.  Prepayment metering

- CHAPTER 9

- ELECTRICAL CONTRACTORS

- 48. Electrical contractors

- 49. Right of admittance to inspect, test and/or do maintenance work

- 50. Refusal or failure to give information

- 51. Hindering officials

- CHAPTER 10

- PENALTIES

- 52. Penalties

- CHAPTER 11

- GENERAL

- 53. Arbitration

- 54. Indemnity

- 55. Offences

- 56. Repeal of By-laws

- 57. Short title and commencement

CHAPTER 1

INTERPRETATION

Definitions

1. In these by-laws, unless inconsistent with the context, any term defined in the Electricity Act No. 41 of 1987 or Occupational Health and Safety Act No. 85 of 1993 and the regulations made in terms thereof must have the meaning given to it in that Act and -

"applicable standard specification" means-

- SABS 1607 Electromechanical watt-hour meters;

- SABS 1524 Parts 0,1 and 2-Electricity dispensing systems;

- SABS IEC 60211 Maximum demand indicators, Class 1.0;

- SABS IEC 60521 Alternating current electromechanical watt-hour meter (Classes 0.5, 1 and 2);

- SABS 0142 Code of practice for the wiring of premises;

- NRS 048 National Rationalised Specification for the Electricity Supply-Quality of Supply; and

- NRS 057 Electricity Metering;

"approved" means approved in writing, by the Engineer as defined in these By-laws;

"certificate of compliance" means a certificate issued in terms of these by-laws in respect of an electrical installation or part of an electrical installation by an accredited person;

"consumer" means the occupier of any premises to which the Municipality  has agreed to supply or is actually supplying electricity, or, if there is no occupier, any person who has entered into a current agreement with the Municipality  for the supply of electricity to such premises, or, if there is no such person, the owner of the premises;

"conventional meter" means a meter where an account is issued subsequent to the consumption of electricity;

“embedded generation” means the process of generating electricity at a specific location and then connecting that supply into the electricity network;

"engineer" means the official in charge of the electricity undertaking of the Municipality  or any other person duly authorised to perform this duty on his or her behalf;

"high voltage" means the set of nominal voltage levels that are used in power systems for bulk transmission of electricity in the range of 44kV and less than 220 kV [SABS 1019];

“kv ‘’ means  kilovolt;

‘’kVA’’ means Kilo Volts X Amps;

"low voltage" means the set of nominal voltage levels that are used for the distribution of electricity and whose upper limit is generally accepted to be an a.c. voltage of 1000V (or a d.c. voltage of 1500 V) [SABS 1019];

"medium voltage" means the set of nominal voltage levels that lie above low voltage and below high voltage in the range of 1 kV and less than 44 kV [SABS 1019];

“meter“ means a device for totalling  the  variable  consumption of electricity energy.

"motor load, total connected" means the sum total of the kW input ratings of all the individual motors connected to an installation;

"motor rating" means the maximum continuous kW output of a motor as stated on the maker's rating plate;

"motor starting current" in relation to alternating current motors means the root-mean-square value of the symmetrical current taken by a motor when energised at its rated voltage with its starter in the starting position and the rotor locked;

“Municipality” or “Municipality” means the ___________ municipal Municipality a municipal Municipality referred to in section 157(1) of the Constitution;

"NRS 047" means National Rationalised Specification 047: Electricity Supply-Quality of Service; or

“occupier”, in relation to any premises, means any person -

- occupying the premises;

- leasing the premises; or

- who is not occupying the premises but is entitled to do so;

“owner”, in relation to any premises, means -

- the person in whose name the title to the premises is registered; or

- if the person referred to in (a) is dead, insolvent, mentally ill, a minor or under any legal disability, the executor, guardian or other person who is legally responsible for administering that person’s estate;

"point  of metering" means the point at which the consumer's consumption of electricity is metered, whether at the point of supply or at any other point on the distribution system of the Municipality  or the electrical installation of the consumer, as specified by the Engineer; provided that it must meter all of, and only, the consumer's consumption of electricity;

"point of supply" means the point determined by the Engineer at which electricity is supplied to any premises by the Municipality ;

"premises" means any land or any building or structure above or below ground and includes any vehicle, aircraft or vessel;

"prepayment meter" means a meter that can be programmed to allow the flow of pre-purchased amounts of energy in an electrical circuit;

“public road reserved” means the full width of a public road, and includes the verge and the roadway;

“resale of  electricity” means where a person resells electricity supplied by the Municipality .

"safety standard" means the Code of Practice for the Wiring of Premises (SABS 0142 incorporated);

"service connection" means all cables and equipment required to connect the supply mains to the electrical installation of the consumer at the point of supply;

"service protective device" means any fuse or circuit breaker installed for the purpose of protecting the Municipality 's equipment from overloads or faults occurring on the installation or on the internal service connection;

"standby supply" means an alternative electricity supply not normally used by the consumer;

"supply mains" means any part of the Municipality 's electricity network;

"tariff" means the Municipality 's tariff of charges for the supply of electricity;

"token" means the essential element of a prepayment metering system used to transfer information from a point of sale for electricity credit to a prepayment meter and vice versa;

"voltage" means the root-mean-square value of electrical potential between two conductors; and

“wayleave “ means the formal approval to carry out work in the public road reserved or property belonging to the municipality or owner in specific positions and during a specific period.

Interpretations

2. If there is a conflict of interpretation between the English version of these by-laws and a translated version, the English version prevails.

CHAPTER 2

APPLICATION

Application of By-law

3. These by-laws apply to all land or properties falling under the jurisdiction of the_____________Municipality and are binding on all persons to the extent applicable.

CHAPTER 3

GENERAL CONDITIONS OF SUPPLY

Supply by agreement

2.(1) No person must use or be entitled to use an electricity supply from the Municipality  unless or until such person must have entered into an agreement in writing with the Municipality  for such supply.

(2) The agreement referred to in subsection (1) must, together with the provisions of these by-laws, govern all aspects of electricity supply.

(3) Any person who uses an electricity supply without entering into an agreement referred to in subsection (1) must be guilty of an offence and must be liable for the cost of electricity used as stated in these by-laws.

Application for supply

3.(1) Application for the supply of electricity must be made in writing by the prospective consumer on the prescribed form obtainable at the office of the Municipality , and the estimated load, in kVA, of the installation, must be stated therein.

- The Municipality may permit the bulk supply or retail wheeling of electricity through its electrical grid by another electricity supplier which is licensed to supply electricity in terms of the appropriate Act.

- An application for an electricity supply for a period of less than one year must be regarded as an application for a temporary supply and must be considered at the discretion of the Engineer, who may specify any special conditions to be satisfied in such case.

- Applications for the supply of electricity will be processed and the supply made available within the periods stipulated in the NRS 047.

- The Municipality may permit the embedded generation of electricity to its customers subject to—

(a)  A Supplemental Contract for Embedded Generation being entered into;

(b)  Compliance with the relevant requirements of the Municipality pertaining to the generation of electricity and the safety thereof; and

- Registration at the Municipality of all fixed installations where electricity is generated and compliance with the Municipality’s safety and quality requirements.

- The municipality may determine and publish norms, standards and guidelines which prescribe appropriate measures to save energy or to reduce the use of electricity and such norms, standards and guidelines must be kept in the form of an operational manual.

- The norms, standards and guidelines contemplated in (6) above may differentiate between communities, geographical areas and different kinds of premises.

- The surplus generation of electricity may be prohibited and the Municipality may determine conditions for such surplus generation pertaining to timing and quantity.

Wayleave

4.(1) The Municipality  may refuse to lay or erect a service connection or supply mains above or below ground on any thoroughfare not vested in the Municipality  or on any private property, unless and until the prospective consumer must have obtained and submitted with the Municipality  written permission granted by the owner of the said private property or by the person in whom is vested the legal title to the land upon which any such thoroughfare as aforesaid exists, as the case may be, authorising the laying or erection of a service connection or supply mains thereon.

(2) If such permission is withdrawn at any time or if the aforesaid private property or thoroughfare changes ownership and the new owner refuses to grant or continue such permission, the prospective consumer must inform the municipality of such withdrawal within seven days of the withdrawal of the permission, and  the cost of any alteration required to be made to a service connection or to supply mains in order that the supply may be continued, and of any removal thereof which may become necessary in the circumstances, must be borne by the consumer to whose premises the supply is required to be continued.

Electricity tariffs and fees

5.(1) The consumer must be liable for all charges for all electricity supplied to his or her premises at the prescribed tariff rates.

- The Municipality  must provide a statement of account indicating-

  - the meter reading;

  - the meter reading date;

  - the due date for payment; and

  - a warning that interest accrues on outstanding amounts and that the supply may be disconnected should the charges in respect of such supply remain unpaid after the due date.

(3) All accounts must be deemed to be payable when issued by the Municipality.

(4) An error or omission in any account or failure to render an account must not relieve the consumer of his obligation to pay the correct amount due for electricity supplied to the premises and the onus must be on the consumer to satisfy himself that the account rendered is in accordance with the prescribed tariff of charges in respect of electricity supplied to the premises.

Deposits

6.(1) The Municipality  reserves the right to require a consumer to deposit a sum of money as security for any charges which are due or may become due to the Municipality .

- The deposit referred to in subsection (1) must not be regarded as being in payment or part payment of any accounts due for the supply of electricity for the purpose of obtaining any discount provided for in the electricity tariff referred to in these by-laws.

- On cessation of the supply of electricity, the amount of such deposit, free of any interest, less any payments due to the Municipality must be refunded to the consumer.

Availability charges

7.(1) Availability charges as determined from time to time by the Municipality  are payable to the Municipality  by the owner of immovable property, with or without improvements, which is not connected to the electricity distribution system of the Municipality , if access to an electricity connection is available to such property.

(2) The provisions of subsection (1) are not applicable to-

- (a) immovable property which belongs to the Municipality; and

- immovable property in respect of which the Municipality  has granted written exemption or partial exemption of payment of the availability charges; provided that the Municipality  may at any time withdraw any such exemption.

Interest on overdue accounts

8.(1) The Municipality  may charge interest on overdue accounts at a rate of interest which is one percent higher than the rate of interest payable by the Municipality  to its bank in respect of an overdraft.

(2) The date on which the payment of interest on arrear accounts will come into effect must be the eighth day of the month if this day is a week day or the first week day after the eighth if the eighth falls on a weekend or a public holiday.

Leakage of electricity

9.  No rebate must be allowed on any account for electricity supplied and metered as a result of electricity wasted owing to leakage or any other fault in the electrical installation unless the leakage is a result of the negligence of the municipality.

Right to disconnect supply

10.(1) The Municipality  must have the right to disconnect electricity supply to any premises if the consumer fails to pay any amount due to the Municipality  in connection with such supply, or, where any of the provisions of these by-laws has been contravened, after 14 days’ notice has been given to the consumer of its intention to do so, or, in the case of a grave risk, without notice.

(2) After disconnection for non-payment of an account or a contravention of any provision of these by-laws, the prescribed fees and any amounts due for electricity consumed must be paid before reconnection is made.

(3) The Municipality  is not be liable for any loss or damage, direct or consequentially suffered or sustained by a consumer as a result of or arising from the cessation, interruption or discontinuation of the supply  of electricity, unless caused by negligence on the part of the Municipality.

Failure of supply

11.(1) The Municipality  does not undertake to attend to any failure of supply within a specified time, but must make all reasonable attempts to attend to any such failure.

(2) When any failure of supply is found to be due to a fault in the electrical installation of the consumer or to the faulty operation of apparatus used in connection therewith, the Municipality must have the right to charge the consumer the fee as prescribed by the Municipality for each restoration of the supply in addition to the cost of making good or repairing any damage which may have been done to the service main and meter by such fault or faulty operation as aforesaid.

Temporary disconnection and reconnection

12.(1) The Engineer must, at the request of the consumer, temporarily disconnect and reconnect the supply to the consumer's electrical installation upon payment of the fee as prescribed by the Municipality  for each such disconnection and subsequent reconnection.

(2) In the event of the necessity arising for the Engineer to effect a temporary disconnection and reconnection of the supply to a consumer's electrical installation and the consumer is in no way responsible for bringing about this necessity, the Engineer must waive payment of the fee hereinbefore referred to.

(3) The Engineer must give 14 days’ notice of any proposed temporary disconnection, but may only under exceptional circumstances temporarily disconnect the supply to any premises without notice, for the purpose of effecting repairs or carrying out tests or for any other legitimate purpose.

Temporary supplies

13. It must be a condition of the giving of any temporary supply, as defined in these by-laws, that, if such supply is found to interfere with the efficient and economical supply of electricity to other consumers, the Engineer must have the right, with notice, or under exceptional circumstances without notice, to terminate such temporary supply at any time and neither the Municipality  nor its employees or contractors must be liable for any loss or damage occasioned by the consumer by such termination.

Resale of electricity

14 (1) Unless otherwise authorised by the Engineer, no person must sell or supply electricity, supplied to his or her premises under an agreement with the municipality, to any other person or persons for use on any other premises, or permit or suffer such resale or supply to take place. If electricity is resold for use upon the same premises, such resale must be subject to the conditions laid down in the Electricity Act No. 41 of 1987.

(2) Where a person resells electricity supplied by the municipality—

- such electricity  must, in respect of each purchaser, be metered through a submeter approved by the Municipality;

- the Municipality must not be held liable for any inaccuracy or other defect in any submeter whether or not the Municipality has approved such submeter or the installation thereof, unless the approved submeter was supplied by the Municipality;

- the charge made by such seller must not exceed the tariff which would have been payable had the purchaser been a consumer of the Municipality. With the understanding that the reseller may divide his total units purchased into his total account received from Municipality to arrive at a cent per kWH unit charge. The reseller can then use this c/unit charge to bill his customers; and

- the conditions of resale must not be less favourable to the purchaser than the terms on which the Municipality supplies electricity. The reseller may however recover the administrative cost incurred in metering and billing, from the person so supplied with electricity, provided that at the request of such person, the reseller must furnish such person with such information as may be necessary to enable him to determine whether the administration costs are fair and reasonable and every such purchaser must be entitled to require the seller to furnish him with all such accounts.

Temporary work

15 Electrical installations requiring a temporary supply must not be connected directly or indirectly to the supply mains except with the special permission in writing of the Engineer.  Full information as to the reasons for and nature of such temporary work must accompany the application for the aforesaid permission, and the Engineer may refuse such permission or may grant the same upon such terms and conditions as may to him appear desirable and necessary.

Load reduction

16.1) At times of peak load, or in an emergency, or when, in the opinion of the Engineer, it is necessary for any reason to reduce the load on the electricity supply system of the Municipality, the Engineer may without notice interrupt and, for such period as the Engineer may deem necessary, discontinue the electricity supply to any consumer's electrically operated thermal storage water heater or any specific appliance or the whole installation. Neither the Municipality nor its employees or contractors must be liable for any loss or damage directly or consequentially due to or arising from such interruption and discontinuance of the electricity supply.

(2)The Municipality may install upon the premises of any consumer such apparatus and equipment as may be necessary to give effect to the provisions of subsection (1), and the Engineer or any duly authorized official of the Municipality may at any reasonable time enter any premises for the purpose of installing, inspecting, testing adjusting and/or changing such apparatus and equipment.

(3) Notwithstanding the provisions of sub-section (2), the consumer or the owner, as the case may be, must, when installing an electrically operated water storage heater, provide such necessary accommodation and wiring as the Engineer may require to facilitate the later installation of the apparatus and equipment referred to in sub-section (2).

Medium voltage and low voltage switchgear and equipment

17.1.(1) In cases where a supply is given at either medium voltage or low voltage, the supply and installation of the switchgear, cables and equipment forming part of the service connection must, unless otherwise approved, be paid for by the consumer.

(2) In the case of a medium voltage supply, all such equipment must be approved by the Engineer and installed by or under the supervision of the Engineer.

(3) No person must operate medium voltage switchgear at the points of supply without the written authority of the Engineer.

(4) All medium voltage switchgear operations at the points of supply or interconnecting the points of supply must be approved by the Engineer and all earthing and testing of medium voltage equipment linked to the Municipality's network must be conducted by or under the supervision of the Engineer.

(5) In the case of an low voltage supply, the consumer must provide and install an approved low voltage main switch and/or any other equipment required by the Engineer.

Transformer substation accommodation

18.(1) The Engineer may, on such conditions as may be deemed fit, require the owner to provide and maintain approved accommodation which must constitute a substation and which must consist of a separate room or rooms to be used exclusively for the purpose of housing:

- medium voltage cables and switchgear;

- transformers;

- low voltage cables and switchgear; and

- other equipment necessary for the supply requested by the applicant.

(2) The accommodation must be situated at a point to which free and unrestricted access can be had at all times for purposes connected with the operation and maintenance of the equipment.

(3) The Municipality reserves the right to supply its own networks from its own equipment installed in such accommodation, and if additional accommodation is required by the Municipality, such additional accommodation must be provided by the applicant at the cost of the Municipality.

Wiring diagram and specification

19.1 When more than one electrical installation or electricity supply from a common main or more than one distribution board or meter is required for any building or block of buildings, the wiring diagram of the circuits starting from the main switch and a specification must on request be supplied to the Engineer in duplicate for approval before the work commences.

(2) Where an electrical installation is to be supplied from a substation on the same premises on which the current is transformed from high voltage, or from one of the substations of the Municipality through mains separate from the general distribution system, a complete specification and drawings for the plant to be installed by the consumer must, if so required, be forwarded to the Engineer for his approval before any material in connection therewith is ordered.

Standby supply

20. No consumer must be entitled to a standby supply from the Municipality for any premises having a separate source of electricity supply except with the written consent of the Engineer and subject to such terms and conditions as may be laid down by the Engineer.

Consumer's emergency standby supply equipment

21.1 No emergency standby equipment provided by a consumer in terms of any by-laws must be connected to any installation without the prior written approval of the Engineer.

(2) Application for approval for the connection of emergency standby equipment, as contemplated in subsection (1), must be made in writing and must include a full specification of the equipment and a wiring diagram.

Installation circular letters

22. The Engineer may from time to time issue Installation Circulars to all contractors and/or consulting engineers and/or architects detailing the requirements of the Municipality  regarding matters not specifically covered in these by-laws but which are necessary for the safe, efficient operation and management of the supply of electricity.

CHAPTER 3

SPECIFIC CONDITIONS OF SUPPLY

Service connection

23. The consumer must bear the cost of the service connection, as determined by the Municipality.

- Notwithstanding the fact that the consumer bears the cost of the service connection, ownership of the service connection, laid or erected by the Municipality, must vest in the Municipality.

- The Municipality must be responsible for the maintenance of the service connection up to the point of supply.

- A service connection must be laid underground, whether the supply mains are laid underground or erected overhead, unless an overhead service connection is specifically required by the Engineer.

- The consumer must provide, fix and/or maintain on the consumer's premises such ducts, wireways, trenches and fastenings as may be required by the Engineer for the installation of the service connection.

- The conductor used for the service connection must have a cross-sectional area of not less than 10 mm2 and must be of copper or copper equivalent, and all conductors must have the same cross-sectional area, unless otherwise approved by the Engineer.

- Unless otherwise approved, the Municipality must only provide one service connection to each registered erf.

- Any covers of a wireway carrying the supply circuit from the point of supply to the metering equipment must be made to accept the seals of the Municipality.

- Within the meter box, the service conductor or cable, as the case may be, must terminate in an unobscured position and the conductors must remain visible throughout their length.

- In the case of blocks of buildings occupied by a number of individual consumers, separate wireways and conductors or cables must be laid from the common metering room or rooms to each individual consumer in the blocks of buildings. Alternatively, if bunking is used, the conductors of the individual circuits must be clearly identified (tied together every 1,5 m) throughout their length.

Metering accommodation

24.(1)  The consumer must provide –

- approved accommodation in an approved position;

- the meter board; and

- adequate conductors for the Municipality 's metering equipment, service apparatus and protective devices.

(2) The accommodation and protection referred to in subsection (1) must be provided and maintained, to the satisfaction of the Engineer, at the cost of the consumer or the owner, as the circumstances may demand, and must be situated, in the case of conventional meters, at a point to which free and unrestricted access can be had at all reasonable hours for the reading of meters but at all times for purposes connected with the operation and maintenance of the service equipment.

(3) Access at all reasonable hours must be afforded for the inspection of prepayment meters.

(4) Where submetering equipment is installed, accommodation separate from the Municipality's metering equipment must be provided.

(5) The consumer or, in the case of a common meter position, the owner of the premises must provide adequate electric lighting in the space set aside for accommodating the metering equipment and service apparatus.

(6) Where in the opinion of the Engineer the position of the meter, service connection, protective devices or main distribution board is no longer readily accessible or becomes a course of danger to life or property or in any way becomes unsuitable, the consumer must remove it to a new position, and the cost of such removal, which must be carried out with reasonable dispatch, must be borne by the consumer.

(7) The accommodation for the Municipality's metering equipment and protective devices may, if approved, include the consumer's main switch and main protective devices. No apparatus other than that used in connection with the supply and use of electricity must be installed or stored in such accommodation unless approved.

CHAPTER 4

RESPONSIBILITIES OF CONSUMERS

Consumer to erect and maintain electrical installation

25.(1)  Any electrical installation connected or to be connected to the supply mains, and any additions or amendments thereto which may be made from time to time, must be provided and erected and maintained and kept in good order by the consumer at the consumer's own expense and in accordance with these by-laws.

(2) Owners with premises composing of thatched roofs must ensure that lightening conductors, which must conform to the standards prescribed in the National Building Regulations and Building Standards Act No. 103 of 1977, are installed in the premises.

Fault in electrical installation

26.(1)  If any fault develops in the electrical installation, which constitutes a hazard to persons, livestock or property, the consumer must immediately disconnect the electricity supply. The consumer must without delay give notice thereof to the Municipality and must immediately take steps to remedy the fault.

(2) The Engineer may require the consumer to reimburse the Municipality for any expense to which it may be put in connection with a fault in the electrical installation.

Discontinuance of use of supply

27. In the event of a consumer desiring to discontinue using the electricity supply, he must give at least two full working days' notice in writing of such intended discontinuance to the Municipality, failing which the consumer must remain liable for all payments due in terms of the tariff for the supply of electricity until the expiration of two full working days after such notice has been given.

Change of occupier

28.(1) In the case of a change of occupier, the consumer must give the Municipality  not less than two full working days' notice in writing of the consumer's intention to discontinue using the electricity supply, failing which the consumer must remain liable for such supply.

(2) If the new consumer desires to continue using the electricity supply, the new consumer must make application in accordance with the provisions of section 3 of these by-laws. If the new occupier fails to make application for an electricity supply within ten working days of taking occupation of the premises, the supply must be disconnected, and the new occupier must be liable to the Municipality for the electricity supply from the date of occupation till such time as the supply is so disconnected.

Service apparatus

29.(1) The consumer must be liable for all costs to the Municipality  arising from damage to or loss of any metering equipment, service protective device, service connection or other apparatus on the premises, unless such damage or loss is shown to have been occasioned by an Act of God or an act or omission of an employee of the Municipality  or caused by an abnormality in the supply of electricity to the premises.

(2) If, during a period of disconnection of an installation from the supply mains, the service main, metering equipment or any other service apparatus, being the property of the Municipality and having been previously used, have been removed without its permission or have been damaged so as to render reconnection dangerous, the owner or occupier of the premises, as the case may be, during such period must bear the cost of overhauling and/or replacing them.

(3) Where there is a common metering position, the owner of the premises must be liable on the basis set out in subsection (1).

CHAPTER 5

UNAUTHORISED ACTIONS

Tampering with service connection or supply mains

30.(1) No person must in any manner or for any reason whatsoever tamper or interfere with any meter or service connection or service protective device or supply mains or any other equipment of the Municipality , housed on the property of the consumer.

- Where prima facie evidence of tampering exists, or where metering equipment has been by-passed, the Municipality must have the right to disconnect the supply immediately and without prior notice to the consumer.

- The consumer must be liable for all fees and charges levied by the Municipality for such disconnection.

(4) In cases where the tampering or by-passing has resulted in the metering equipment recording less than the true consumption, the Municipality must have the right to recover from the consumer the full cost of estimated consumption.

(5) No electricity generation equipment provided by a consumer in terms of any Regulations or for his own operational requirements shall be connected to any installation—

(a) without the prior written consent of the Electrical Engineer;

(b) Application for such consent shall be made in writing and shall include a full specification of the equipment and a wiring diagram;

(c) The electricity generation equipment shall be so designed and installed that it is impossible for the Service Provider's supply mains to be energized by means of a back -feed from such equipment;

(d) The position of the installed generating equipment shall not interfere with the supply mains the generating equipment must be installed entirely on the consumer's premises.

(f) The consumer shall be responsible for providing and installing all such protective

equipment and for obtaining a Certificate of Compliance issued in terms of the Regulations for the work carried out.

(g) Whereby special agreement with the Service Provider, the consumer's electricity generation equipment is permitted to be electrically coupled to, and run in parallel with the Service Provider's supply mains, the consumer shall be responsible for providing, installing and maintaining all the necessary synchronizing and protective equipment required for such safe parallel operation, to the satisfaction of the Electrical Engineer.

(h) Under normal operating conditions, any export of surplus energy from the consumer to the Service Provider's network shall be subject to special agreement with the Service Provider.

(i) In the event of a general power failure on the service provider's network protection equipment shall be installed by the consumer, subject to the Electrical Engineer's approval, so as to ensure that the consumer's installation is isolated from the Service Providers network until normal operating conditions are restored, the cost of any specialized metering equipment will be for the consumer's account.

Removal of seals

31. The meter, service protective devices and all apparatus belonging to the Municipality must be sealed or locked by a duly authorized official of the Municipality, and no person not being an official of the Municipality duly authorised thereto must in any manner or for any reason whatsoever remove, break, deface, or tamper or interfere with such seals or locks.

Prevention of tampering with service connection or supply mains

32. If the Engineer decides that it is necessary or desirable to take special precautions in order to prevent tampering with any portion of the supply mains, service connection or meter, the consumer must either supply and install the necessary protection or pay the costs thereof where such protection is supplied by the Municipality .

Unauthorised connections

33. No unauthorized person must directly or indirectly connect, attempt to connect or cause or permit to be connected any electrical installation or part thereof to the supply mains or service connection.

Unauthorised reconnections

34.(1) No unauthorized person must reconnect, attempt to reconnect or cause or permit to be reconnected to the supply mains or service connection any electrical installation or installations which has or have been disconnected by the Municipality.

(2) Where the supply that has previously been disconnected is found to have been reconnected, the consumer using the supply must be liable for all charges for electricity consumed between the date of disconnection and the date the supply was found to be reconnected and any other charges raised in accordance with the prescribed tariff.

(3) The Municipality reserves the right to remove part or all of the supply equipment until such time as payment has been received in full. The consumer will be responsible for all the costs associated with the reinstatement of such supply equipment.

Improper use

35.(1) If the consumer uses electricity for any purpose or deals with the electricity in any manner which the Engineer reasonable believes interferes in an improper or unsafe manner or is could interfere in an improper or unsafe manner with the efficient supply of electricity to any other consumer, the Municipality  may, with or without notice, disconnect the electricity supply but such supply must be restored as soon as the cause for the disconnection has been permanently remedied or removed.

(2) The fee as prescribed by the Municipality for the disconnection and reconnection must be paid by the consumer before the electricity supply is restored, unless it can be shown to the satisfaction of the Engineer that the consumer did not use or deal with the electricity in an improper or unsafe manner.

Protection of electrical distribution system

36.(1) No person must, except with the consent of the Engineer and subject to such conditions as may be imposed-

(a) construct, erect or permit the erection of any building, structure or other object, or plant trees or vegetation over or in such a position or in such a manner as to interfere with or endanger the electrical distribution system;

(b) excavate, open up or remove the ground above, next to or under any part of the electrical distribution system;

(c) damage, endanger, remove or destroy, or do any act likely to damage, endanger or destroy any part of the electrical distribution system;

(d) make any opening in any part of the electrical distribution system or obstruct or divert or cause to be obstructed or diverted any electricity there from;

(e) the owner must limit the height of trees or length of projecting branches in the proximity of overhead lines or provide a means of protection which in the opinion of the Engineer will adequately prevent the tree from interfering with the conductors should the tree or branch fall or be cut down. Should the owner fail to observe this provision the Municipality  must have the right, after prior written notification, or at any time in an emergency, to cut or trim the trees or other vegetation in such a manner as to comply with this provision and must be entitled to enter the property for this purpose;

(f) The Municipality may, subject to obtaining an order of court demolish, alter or otherwise deal with any building, structure or other object constructed, erected or laid in contravention with these by-laws.

(g) The municipality may in the case of an emergency or disaster remove anything damaging, obstructing or endangering or likely to damage, obstruct, endanger or destroy any part of the electrical distribution system.

(h) the cost of any such work carried out by the Municipality  which was necessary due to the contravention of these by-laws, must be to the account of the person who acted in contravention of these by-laws.

(2) The Engineer may-

(a) demolish, alter or otherwise deal with any building, structure or other object constructed, erected or laid in contravention with these by-laws;

(b) fill in and make good any ground excavated or removed in contravention with these by-laws;

(c) repair and make good any damage done in contravention of these by-laws or resulting from a contravention of these by-laws; and

(d) remove anything damaging, obstructing or endangering or likely to damage, obstruct, endanger or destroy any part of the electrical distribution system.

CHAPTER 6

SYSTEMS OF SUPPLY

Load requirements

37. Alternating current supplies must be given as prescribed by the Electricity Act, 1987 (Act No. 41 of 1987), and in the absence of a quality of supply agreement, as set out in NRS 048.

Load limitations Natal 1249

38.(1)  Where the estimated load, calculated in terms of the safety standard, does not exceed 15 kVA, the electrical installation must be arranged for a two-wire single-phase supply, unless otherwise approved by the Engineer.

(2) Where a three-phase four-wire supply is provided, the load must be approximately balanced over the three phases but the maximum out-of-balance load must not exceed 15 kVA, unless otherwise approved by the Engineer.

(3) No current-consuming appliance, inherently single phase in character, with a rating which exceeds 15 kVA must be connected to the electrical installation without the prior approval of the Engineer.

Interference with other consumers

39.(1) No consumer must operate electrical equipment having load characteristics which, singly or collectively, give rise to voltage variations, harmonic currents or voltages, or unbalanced phase currents which fall outside the standards determined by the Engineer.

(2) The assessment of interference with other consumers must be carried out by means of measurement taken at the point of common coupling.

Supplies to motors

40.  The following limitations are given as a guide in order to comply with section 50:

(1) Limited size for LOW VOLTAGE motors

The rating of an LOW VOLTAGE single-phase motor must be limited to 2 kW and/or the starting current must not exceed 70 A. All motors exceeding these limits must be wound for three phases at low voltage or such higher voltage as may be required.

(2) Maximum starting and accelerating currents of three-phase alternating current motors-

The starting current of three-phase LOW VOLTAGE motors permitted must be 	related to the capacity of the consumer's service connection, as follows:

________________________________________________________

Insulated   Maximum      Suggested maximum motor rating in kW l

service     permissible

cable,      starting

size in     current

mm2,

equiva-     A

lent

mm2

________________________________________________________

Direct on     Star/Delta    Other means

line (6x      (2,5 x        (1,5 x

full-load     full-load     full-load

current)      current)      current)

kW            kW            kW

________________________________________________________

16          72            6             13,5          23

25          95            7,5           18            30

35          115           9             22            36,5

50          135           10            25            45

70          165           13            31            55

95          200           16            38            67

120         230           18            46            77

150         260           20            52            87

_______________________________________________________

(3) Consumers supplied at medium voltage:

In an installation supplied at medium voltage the starting current of an LOW VOLTAGE motor must be limited to 1,5 times the rated full-load current of the transformer supplying such a motor.

Power factor

41.(1) If required by the Engineer, the power factor of any load must be maintained within the limits 0,85 lagging and 0,9 leading.

(2) Where, for the purpose of complying with subsection (1), it is necessary to install power factor corrective devices, such corrective devices must be connected to the individual appliance terminals unless the correction of the power factor is automatically controlled.

Protection

42. Electrical protective devices for motors must be of such a design as effectively to prevent sustained overcurrent and single phasing, where applicable.

CHAPTER 7

MEASUREMENT OF ELECTRICITY

Metering

43.(1)The Municipality  must, at the consumer's cost in the form of a direct charge or prescribed fee, provide, install and maintain appropriately rated metering equipment at the point of metering for measuring the electricity supplied.

(2) Except in the case of prepayment meters, the electricity used by a consumer during any metering period must be ascertained by the reading of the appropriate meter or meters supplied and installed by the Municipality and read at the end of such period except where the metering equipment is found to be defective, in which case the consumption for the period must be estimated.

(3) Where the electricity used by a consumer is charged at different tariff rates, the consumption must be metered separately for each rate.

(4) The Engineer reserves the right to meter the supply to blocks of shops and flats, tenement-houses and similar buildings for the buildings as a whole, or for individual units, or for groups of units.

(5) No alterations, repairs or additions or electrical connections of any description must be made on the supply side of the point of metering unless specifically approved in writing by the Engineer.

Accuracy of metering

44 (1) A meter must be conclusively presumed to be registering accurately if its error, when tested in the manner prescribed in sub-section (5) hereof, is found to be within the limits of error as laid down in NRS 057 Part 2: Electricity Metering: Minimum Requirements.

(2) The Municipality must have the right to test its metering equipment. If it is established by test or otherwise that such metering equipment is defective, the Municipality must-

- in the case of a conventional meter, adjust the account rendered;

(b) in the case of prepayment meters—

(i) render an account where the meter has been under-registering, or

(ii) issue a free token where the meter has been over-registering, in accordance with the provisions of subsection (6).

(3) The consumer must be entitled to have the metering equipment tested by the Municipality on payment of the prescribed fee. If the metering equipment is found not to comply with the system accuracy requirements laid down in NRS 057 Part 2, an adjustment in accordance with the provisions of subsections (2) and (6) must be made and the aforesaid fee must be refunded.

(4) In case of a dispute, the consumer must have the right at his own cost to have the metering equipment under dispute tested by an independent testing authority accredited by the South African Accreditation Services and the result of such test must be final and binding on both parties.

(5) Meters must be tested in the manner prescribed by NRS 057 Part 2: Electricity Metering: Minimum Requirements.

(6) When an adjustment is made to the electricity consumption registered on a meter in terms of sub-section (2) or (3), such adjustment must either be based on the percentage error of the meter as determined by the test referred to in sub-section (5) or upon a calculation by the Engineer from consumption data in his possession. Where applicable, due allowance must be made, where possible, for seasonal or other variations which may affect the consumption of electricity.

(7) When an adjustment is made as contemplated in subsection (6), the adjustment may not exceed a period of six months preceding the date on which the metering equipment was found to be inaccurate. The application of this section does not bar a consumer from claiming back overpayment for any longer period where the consumer is able to prove the claim in the normal legal process.

(8) Where the actual load of a consumer differs from the initial estimated load provided for under section 7(1) to the extent that the Municipality deems it necessary to alter or replace its metering equipment to match the load, the costs of such alteration or replacement must be borne by the consumer.

(9)(a) Prior to the Municipality making any upward adjustment to an account in terms of sub-section (6), the Engineer must-

(i) notify the consumer in writing of the monetary value of the adjustment to be made and the reasons therefore;

(ii) in such notification provide sufficient particulars to enable the consumer to submit representations thereon; and

(iii) call upon the consumer in such notice to provide him with reasons in writing, if any, within 21 days or such longer period as the Engineer may permit why his account should be adjusted as notified.

(b) The Engineer must consider any reasons provided by the consumer in terms of subsection (9)(a) and must, if satisfied that a case has been made out therefore, adjust the account appropriately.

(c) Should the consumer fail to make any representations during the said period or should the Engineer not be satisfied that a case exists for the variation of the account, the Municipality  must be entitled to adjust the account as notified in terms of subsection (9)(a)(i).

Reading of conventional meters

45(1) Unless otherwise prescribed, conventional meters must normally be read at intervals of one month and the fixed or minimum charges due in terms of the tariff must be assessed accordingly. The Municipality must not be obliged to effect any adjustments to such charges.

(2) If for any reason the conventional meter cannot be read, the Municipality may render an estimated account. The energy consumption must be adjusted in a subsequent account in accordance with the energy consumption actually used.

(3) When a consumer vacates a property and a final reading is not possible, an estimation of the consumption may be made and the final account rendered accordingly.

(4) If a special reading of the meter is desired by a consumer, this may be obtained upon payment of the prescribed fee.

(5) If any calculating, reading or metering error is discovered in respect of any account rendered to a consumer, the error must be corrected in subsequent accounts. Any such correction must only apply in respect of accounts for a period of three years preceding the date on which the error in the accounts was discovered, must be free of interest up to the date on which the correction is found to be necessary, and must be based on the actual tariffs applicable during the period.

Prepayment metering

46. (1) No refund of the amount tendered for the purchase of electricity credit must be given at the point of sale after initiation of the process by which the prepayment meter token is produced.

(2) Copies of previously issued tokens for the transfer of credit to the prepayment meter may be issued at the request of the consumer.

(3) When a consumer vacates any premises where a prepayment meter is installed, no refund for the credit remaining in the meter must be made to the consumer.

(4) The Municipality must not be liable for the reinstatement of credit in a prepayment meter lost due to tampering with, or the incorrect use or the abuse of, prepayment meters and/or tokens.

(5) Where a consumer is indebted to the Municipality for electricity consumed or to the Service Authority for any other service supplied by the Service Authority (including rates) or for any charges previously raised against him in connection with any service rendered, the Municipality may deduct a percentage from the amount tendered to offset the amount owing to the Service Authority and/or Service Provider, as set out in the section 4 agreement for the supply of electricity.

(6) The Municipality may, at its discretion, appoint vendors for the sale of credit for prepayment meters and must not guarantee the continued operation of any vendor.

CHAPTER 8

ELECTRICAL CONTRACTORS

In addition to the requirements of the By-laws the following requirements must apply:

47. (1)  Where an application for a new or increased supply of electricity has been made to the Municipality, the Engineer may at his discretion accept notification of the completion of any pan of an electrical installation, the circuit arrangements of which permit the electrical installation to be divided up into well-defined separate portions, and such pan of the electrical installation may, at the discretion of the Engineer, be inspected, tested and connected to the supply mains as though it were a complete installation.

(2) The examination, test and inspection that may be carried out at the discretion of the Municipality  in no way relieves the electrical contractor/accredited person or the user or lessor, as the case may be, from his responsibility for any defect in the installation. Such examination, test and inspection must not be taken under any circumstances (even where the electrical installation has been connected to the supply mains) as indicating or guaranteeing in any way that the electrical installation has been carried out efficiently with the most suitable materials for the purpose or that it is in accordance with these by-laws or the safety standard, and the Service Authority nor the Municipality  must be held responsible for any defect or fault in such electrical installation.

(3) The Service Authority nor the Municipality must be held responsible for the work done by the electrical contractor/accredited person on a consumer's premises and must not in any way be responsible for any loss or damage which may be occasioned by fire or by any accident arising from the state of the wiring on the premises.

Right of admittance to inspect, test and/or do maintenance work -

48. The Engineer or any duly authorised official of the Municipality  may at any reasonable time, or, in an emergency, at any time enter any premises when there are reasonable grounds for supposing that a breach of these by-laws has been or is being committed, and may remove any earth, bricks stone, iron or woodwork or other covering on any portion of the premises for purposes of inspection, and the Municipality  must not be liable for any damage as a result of such removal but must restore such premises to their former condition should no breach of these by-laws be discovered.

Refusal or failure to give information

49 No person must refuse or fail to give such information as may be reasonably required of him by any duly authorised official of the Municipality or render any false information to any such official regarding any electrical installation work completed or contemplated.

Hindering officials

50. No person must wilfully hinder, obstruct, interfere with or refuse admittance to the Engineer or any duly authorised official of the Municipality in the performance of his duty under these by-laws or of any duty connected therewith or relating thereto.

CHAPTER 9

PENALTIES

51. (1)  Any person who contravenes any of the provisions of sections 4, 6, 12, 13, 20, 25, 26, 27, 29 and 30 of these by-laws must be guilty of an offence and liable upon conviction to the penalties prescribed in the Municipal Systems Act No. 32 of 2000.

(2) Every person committing a breach of the provisions of these by-laws must be liable to recompense the Service Authority or the Municipality as the case may be for any loss or damage suffered or sustained by it in consequence of such breach.

(3) The occupier, as defined in section 1 of these by-laws, must be guilty of a contravention under section 26 unless he proves the contrary on a balance of probability.

- CHAPTER 10

GENERAL

Arbitration

52. If at any time any difference or question arises between the Municipality  and the consumer as to the construction, meaning or effect of these by-laws or as to the rights, obligations or liabilities of either party thereunder, such difference or question or matter or thing so subject to agreement or adjustment must be referred to the National Electricity Regulator for a decision, failing which must be determined by arbitration in terms of the provisions of the Arbitration Act No. 42 of 1965, as amended.

Indemnity

53. The Municipality  must not be liable for any loss or damage, direct or consequential, suffered or sustained by a consumer as a result of or arising from the cessation, interruption or discontinuance of the supply of electricity, unless caused by negligence on the part of the Municipality .

- Offences

54. Any person who -

- contravenes or fails to comply with any provisions of these by-laws;

(b) fails to comply with any notice issued in terms of these by-laws;

(c) fails to comply with any lawful instruction given in terms of these by-laws; or

(d) obstructs or hinders any authorised official in the execution of his or her duties under these by-laws –

is guilty of an offence and must be liable on conviction to imprisonment or a fine not exceeding a period of 2 years or R 40 000.00 respectively.

- Repeal of existing By-laws

55. The Municipality’s existing …………….. by-laws are hereby repealed.

Short title and commencement

56. These by-laws must be called the Electricity Supply By-laws, 20__, and must come into operation on publication in an official Provincial Gazette.